## Slide 1: RRS Adequacy Analysis
ERCOT Staff
6/24/2015 PDCWG Meeting

## Slide 2: Inertia from Jan 1, 2015 to June 22, 2015
Chart: 

## Slide 3: Inertia Variations

## Slide 4
However, another view shows there is a strong correlation between Inertia and Netload
Chart: netload (MW)

## Slide 5: Actual PFR required (NO FFR) calculated from historical inertia

## Slide 6: Actual Equivalent Ratio calculated from historical inertia

## Slide 7: PFR procurement (NO FFR) posted in MIS

## Slide 8: Equivalent Ratio Used in Procurement posted in MIS

## Slide 9: PFR Procurement-Actual Requirement
Positive: Over-procurement
Negative: Under-procurement

## Slide 10: Wind Production

## Slide 11: Hourly Wind Production (monthly average)
Chart: Monthly wind production (MW)
| H01 | H02 | H03 | H04 | H05 | H06 | H07 | H08 | H09 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24
Mar-14 | 5435.2614 | 5417.7714 | 5258.0554 | 5118.0088 | 5077.1737 | 5036.3646 | 4914.5719 | 4715.9044 | 4318.1561 | 4234.4869 | 4073.1186 | 3801.7092 | 3679.1678 | 3689.6914 | 3707.8954 | 3784.6806 | 3959.7225 | 4121.6845 | 3952.3664 | 4127.7656 | 4727.22 | 5210.4025 | 5482.9649 | 5532.8467
Mar-15 | 4236.8402 | 4223.1168 | 4153.4181 | 4017.9574 | 3868.2748 | 3623.7946 | 3391.4328 | 3084.3123 | 2525.4185 | 2295.9856 | 2339.1273 | 2319.4638 | 2305.158 | 2276.4805 | 2302.9887 | 2400.9228 | 2522.5366 | 2494.5198 | 2417.7445 | 2815.1312 | 3379.3937 | 3794.2276 | 4174.7519 | 4343.8932

## Slide 12: Effective Real-time PRC=PRC from Synchronous Condenser + PRC from Generation + Equivalent Ratio * PRC from Load

## Slide 13: Effective Real-time PRC- Actual PFR required (NO FFR)
Negative: a deficit in PRC

## Slide 14: Questions?