- Section 2:

NPRR668 – Updates to Texas SET Implementation Guide Process

This Nodal Protocol Revision Request (NPRR) updates the Texas Standard Electronic Transaction (TX SET) change control process for the Texas SET Implementation Guides to clarify classification of change requests and to remove redundant and outdated language.

Revised Subsection:	2.1

NPRR680 – Allow QSEs to Self-Arrange AS Quantities Greater Than Their AS Obligation

This Nodal Protocol Revision Request (NPRR) allows a QSE to submit Self-Arranged Ancillary Service Quantities in excess of its Ancillary Service Obligations by up to 100 MW for each of Responsive Reserve (RRS) and Non-Spinning Reserve (Non-Spin); up to 25 MW for each of Regulation Up Service (Reg-Up) and Regulation Down Service (Reg-Down); and to receive appropriate compensation for those self-arranged quantities.  This NPRR does not change the requirement that self-arranged RRS service provided by a Load Resource must be limited to 50% of a QSE’s RRS Ancillary Service Obligation, pursuant to paragraph (7) of Section 3.16, Standards for Determining Ancillary Service Quantities.

Revised Subsection:	2.1 [effective upon system implementation]

NPRR687 – Required Telemetry for Operational Awareness and PDCWG Analysis

This Nodal Protocol Revision Request (NPRR) enables, upon ERCOT approval, the telemetry of any Non-Frequency Responsive Capacity (NFRC) to ERCOT for operational awareness.  This NPRR allows the Performance, Disturbance, Compliance Working Group (PDCWG) to accurately measure the Primary Frequency Response (PFR) of Generation Resources while using ERCOT collected data necessary to analyze each Measurable Event.

Revised Subsection:	2.1

NPRR690 – Incorporation of Creditworthiness Standards into Protocols

This Nodal Protocol Revision Request (NPRR) incorporates the ERCOT Creditworthiness Standards (which currently reside in an Other Binding Document) into the Protocols, and deletes references to the Other Binding Document.  In addition, it corrects discrepancies between Protocols and the current ERCOT Creditworthiness Standards relating to requirements to receive unsecured credit and in certain terminology, eliminates the annual Finance and Audit Committee review process for letter of credit concentration limits in favor of the change control process used elsewhere in Protocols, corrects a discrepancy between requirements for Electric Cooperatives (ECs) and applicable regulatory standards, and aligns Protocol language with the current ERCOT Creditworthiness Standards to clarify that audited financial statements must be in accordance with Generally Accepted Accounting Principles (GAAP) or International Accounting Standards (IAS).

Revised Subsection:	2.1 [effective upon system implementation]

- Section 3:

NPRR674 – Clarification of Water Supply Rights Documentation

This Nodal Protocol Revision Request (NPRR) clarifies that an Interconnecting Entity (IE) meets the water supply condition for including a non-wind Generation Resource in the total capacity estimate when it demonstrates that it has obtained rights to water supplies by way of a contract or permit.

Revised Subsection:	3.2.6.2.2

NPRR681 – Clarifications to Dynamic Ratings

This Nodal Protocol Revision Request (NPRR) adds clarification for Dynamic Ratings provided via Inter-Control Center Communications Protocol (ICCP).

Revised Subsections:	3.10.8.1 and 3.10.8.2

NPRR682 – Changes to Notification Method when ERCOT Intends to Procure Additional Ancillary Services

This Nodal Protocol Revision Request (NPRR) changes the notification to Market Participants from the Market Information System (MIS) Secure Area to the MIS Public Area when ERCOT intends to procure additional Ancillary Services through a Supplemental Ancillary Service Market (SASM).

Revised Subsection:	3.16 [effective upon system implementation]

NPRR686 – Changing the IRR Forecast from Next 48 Hours to Next 168 Hours

This Nodal Protocol Revision Request (NPRR) requires QSEs representing Wind-powered Generation Resources (WGRs) or PhotoVoltaic Generation Resources (PVGRs) to limit the HSL values submitted for the entire 168-hour range of the Current Operating Plan (COP) to the values provided in the most recent Short-Term Wind Power Forecast (STWPF) or Short-Term PhotoVoltaic Power Forecast (STPFF), as applicable.  As required by the Protocols, ERCOT will post these extended forecasts to the MIS, as is done with the current 48-hour forecasts.

Revised Subsection:	3.9.1 [effective upon system implementation]

NPRR688 – Black Start Services Testing Clarifications

This Nodal Protocol Revision Request (NPRR) clarifies Black Start testing periodicity and Black Start random testing requirements.

Revised Subsection:	3.14.2

NPRR698 – Clarifications to NPRR595, RRS Load Resource Treatment In ORDC

This Nodal Protocol Revision Request (NPRR) clarifies ERCOT’s intended implementation of NPRR595, RRS Load Resource Treatment In ORDC, and allows the use of currently telemetered values to provide the intent of NPRR595 at a lower project cost.

Revised Subsection:	3.9 [effective upon system implementation]

- Section 4:

NPRR680 – Allow QSEs to Self-Arrange AS Quantities Greater Than Their AS Obligation

See Section 2 above.

Revised Subsections:	4.4.7.1, 4.6.4.2.1, 4.6.4.2.2, 4.6.4.2.3, and 4.6.4.2.4 [effective upon system implementation]

NPRR686 – Changing the IRR Forecast from Next 48 Hours to Next 168 Hours

See Section 3 above.

Revised Subsections:	4.2.2 and 4.2.3 [effective upon system implementation]

- Section 5:

NPRR679 – ONOPTOUT for RUC Given After the Adjustment Period

This Nodal Protocol Revision Request (NPRR) allows for the telemetering of ONOPTOUT status for a Resource where a Reliability Unit Commitment (RUC) instruction is given after the close of the Adjustment Period.

Revised Subsection:	5.5.2 [effective upon system implementation]

- Section 6:

NPRR662 – Proxy Energy Offer Curves

This Nodal Protocol Revision Request (NPRR) addresses proxy Energy Offer Curves generated by ERCOT for a Resource that does not submit an Energy Offer Curve or submits an incomplete Energy Offer Curve.  For a Resource without an Energy Offer Curve, a monotonically increasing proxy Energy Offer Curve will be created such that the last point on the curve is extended.  For a Resource with an incomplete Energy Offer Curve (typically cogeneration facilities that update their High Sustained Limit (HSL), but not their offer curve), a proxy Energy  Offer Curve will be created to extend the offer price from last point on the submitted Energy Offer Curve up to the Resource’s HSL.

Revised Subsection:	6.5.7.3 [effective upon system implementation]

NPRR680 – Allow QSEs to Self-Arrange AS Quantities Greater Than Their AS Obligation

See Section 2 above.

Revised Subsections:	6.4.9.2 and 6.7.3 [effective upon system implementation]

NPRR687 – Required Telemetry for Operational Awareness and PDCWG Analysis

See Section 2 above.

Revised Subsection:	6.5.5.2

NPRR698 – Clarifications to NPRR595, RRS Load Resource Treatment In ORDC

See Section 3 above.

Revised Subsections:	6.5.5.2 and 6.7.4 [effective upon system implementation]

- Section 8:

NPRR688 – Black Start Services Testing Clarifications

See Section 3 above.

Revised Subsection:	8.1.1.2.1.5

NPRR698 – Clarifications to NPRR595, RRS Load Resource Treatment In ORDC

See Section 3 above.

Revised Subsections:	8.1.1.1, 8.1.1.2, 8.1.1.2.1.6, 8.1.1.4.2, and 8.1.1.4.4 [effective upon system implementation]

- Section 16:

NPRR683 – Revision to Available Credit Limit Calculation

This Nodal Protocol Revision Request (NPRR) revises the calculation of Available Credit Limit for the CRR Auction (ACLC) and Available Credit Limit for the DAM (ACLD) by replacing the existing 10% discount to the ACL based on the Counter-Party’s unused letter of credit amount with a 10% gross up of the sum of the Total Potential Exposure Any (TPEA) and the Total Potential Exposure Secured (TPES).

Revised Subsections:	16.11.4.6, 16.11.4.6.1, and 16.11.4.6.2 [effective upon system implementation]

NPRR690 – Incorporation of Creditworthiness Standards into Protocols

See Section 2 above.

Revised Subsections:	16.11.2, 16.11.3, 16.11.4.3, 16.11.5, 16.16.1, and 16.16.3 [effective upon system implementation]

- Section 19:

NPRR668 – Updates to Texas SET Implementation Guide Process

See Section 2 above.

Revised Subsections:	19, 19.1, 19.2, 19.3.2 (delete), 19.4, 19.4.1, 19.4.2, 19.4.3, 19.4.4 (delete), 19.4.5 (delete), 19.4.6, 19.4.7 (delete), 19.4.7.1, and 19.4.7.2 (delete)

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

- Revised Subsections:	19.3.1, 19.5.1, 19.6.1, and 19.7