## Slide 1: Congestion Management Working Group: Update to WMS
Mark Soutter
July 8th, 2015

## Slide 2: CMWG meeting of June 29th
Dynamic Line Rating Telemetry Procedures
Notice of GTLs Related to New Generation Interconnection
Other business
  Future CRR market updates
  Managing Voltage Stability Limits

## Slide 3: Dynamic Line Rating Telemetry Procedures
CMWG was tasked with reviewing current procedures and making suggestions for potential improvements
Current process:
  Dynamic limits – static rating table modified by ambient conditions
  Twice weekly, ERCOT tool looks for difference between dynamic ratings table and telemetry (looking for difference of more that 15%)
  Temperature is not necessarily the only determinate for TSPs in real-time
    Strain gauges, wind speed, wind direction can also be used
  If ERCOT sees a constraint, the ratings are checked prior to activating the constraint

## Slide 4: Dynamic Line Rating Telemetry Procedures
Long term solution will be in place in August
  Part of EMS R4
Production tool will be doing a similar comparison, but will be running in real-time
  As opposed to twice a week like the interim solution

## Slide 5: Notice of GTLs Related to New Generation Interconnection
CMWG will be circulating an Issues List via the email exploder
  What should trigger a market notice
  Which information should be included
  What steps need to be taken to protect the Interconnecting Entity’s confidentiality
CMWG may propose a stand-alone PGRR to address the issue instead of through PGRR 044

## Slide 6: Other issues
LTAS results will be out on or before July 16th – the next CMWG update will include an analysis on the Impact of NPRR779
Is there a way to give a proper price signal to folks who are solving a stability problem?