## Slide 1
Ancillary Services Replacement
Presenter: Ino González
Wholesale Market Subcommittee
July 8, 2015

## Slide 2: Replacement of Undeliverable Ancillary Services
NP 6.4.9.1.2 Replacement of Undeliverable Ancillary Service Due to Transmission Constraints
Within the two-hour advance notice period, each affected QSE may do one or more of the following:
(a) Substitute capacity from other Resources represented by that QSE to meet its Ancillary Services Supply Responsibility;
(b) Substitute capacity from other QSEs using Ancillary Service Trades; or
(c) Inform ERCOT that all or part of the Ancillary Services capacity needs to be replaced.

## Slide 3: Replacement of Undeliverable Ancillary Services
NP 6.4.9.1.2 Replacement of Undeliverable Ancillary Service Due to Transmission Constraints
(4) If ERCOT procures additional Ancillary Services for the amount of substituted capacity that is deemed infeasible or the amount of Ancillary Services capacity that each affected QSE does not replace, then all QSEs that bought the specific Ancillary Service in the DAM are charged for their share of the net cost incurred for the Ancillary Service procured by ERCOT as part of the multiple procurement processes (DAM and SASMs) , in accordance with Section 6.7.3, Adjustments to Cost Allocations for Ancillary Services Procurement.

## Slide 4: Replacement of Undeliverable Ancillary Services
NP 6.4.9.1.2 Replacement of Undeliverable Ancillary Service Due to Transmission Constraints
(6) If the QSE’s Ancillary Service capacity that is undeliverable because of a transmission constraint identified by ERCOT, as set forth in (1) above, was awarded in the DAM or any SASM, then the QSE is not compensated for the quantity of the Ancillary Service capacity that is undeliverable.

## Slide 5: Replacement of Undeliverable Ancillary Services
NP 6.7.3 Adjustments to Cost Allocations for Ancillary Procurement
Each QSE’s share of the net total costs for Reg-Up for the Operating Hour is calculated as follows:
RUCOST q = RUPR * RUQ q
Where:
RUPR = RUCOSTTOT / RUQTOT
RUQTOT = RUQ q
RUQ q = RUO q – SARUQ q
RUO q = Sum[SARUQ q + (RTPCRU q, m) + PCRU q – RURP q – RUFQ q] * HLRS q + RURP q
SARUQ q = DASARUQ q + RTSARUQ q

## Slide 6: Replacement of Undeliverable Ancillary Services
NP 6.4.9.1.2
  QSEs with DAM AS obligations are charged as per section 6.7.3
  QSEs with undeliverable AS “are not compensated” (intent: claw back AS payments)
NP 6.7.3
  Divides costs between all QSEs with DAM AS obligations and any QSE with undeliverable AS
    Generally, equation charges QSEs with undeliverable AS more than the value of the QSE’s DAM AS payment.
    QSEs with DAM AS obligations only pay for some part of the net costs of AS
  This result is workable, but it is also internally inconsistent because it reflects both an uplift principle and a direct-assignment principle.
  This result is also inconsistent with NP 6.4.9.1.2 to the extent it directly assigns, rather than uplifts, the additional AS cost.
  ERCOT settles per section 6.7.3.
  NPRR needed to clarify market intent.

## Slide 7
Any Questions?