DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, May 7, 2015 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Firestone, Joel | Topaz Power |  |
| Greer, Clayton | Morgan Stanley | Via Teleconference |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Nelson, Stuart | LCRA | Alt. Rep. for B. Hatfield |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Soutter, Mark | Invenergy |  |
| Vo, Trieu | CPS Enery |  |

The following proxy was assigned:

- Billy Lee to James Armke

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bell, Brad | E.ON |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Blevins, Chad | The Butler Firm | Via Teleconference |
| Brandt, Adrianne | Austin Energy |  |
| Bunch, Kevin | EDF Trading |  |
| Chatlani, Varsha | LCRA | Via Teleconference |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Denney, Kristi | Potomac Economics |  |
| Donohoo, Ken | Oncor |  |
| Doty, Jeanie | Austin Energy |  |
| Evans, Doug | STEC | Via Teleconference |
| Galiunas, Al | EY | Via Teleconference |
| Garza, Sergio | LCRA |  |
| Graeff, Verona | Oxy | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hampton, Brenda | Luminant |  |
| Harvey, Julia | PUCT | Via Teleconference |
| Hughes, Alshare | Luminant | Via Teleconference |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos Electric | Via Teleconference |
| Lane, Rob | Luminant |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Mandavilli, Jagan | Texas Reliability Entity |  |
| Matthews, Roy | LCRA |  |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Nashawati, Eithar | Oncor |  |
| Noth, Mike | LCRA |  |
| Owens, Frank | Cross Texas Transmission |  |
| Palen, John | NRG | Via Teleconference |
| Pieniazek, Adrian | NRG |  |
| Penny, David | Texas Reliability Entity |  |
| Peters, Patrick | CenterPoint Energy | Via Teleconference |
| Rake, Stewart | Luminant | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Stephenson, Randa | LCRA |  |
| Trimble, Randy | BTU |  |
| Trout, Seth | CES | Via Teleconference |
| Tu, Feng | AEP | Via Teleconference |
| Turner, David | Lone Star |  |
| Velasquez, Ivan | Oncor | Via Teleconference |
| White, Lauri | AEP Texas |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Giarratano, Alex |  |  |
| Hartmann, Jimmy |  | Via Teleconference |
| Manning, Brian |  |  |
| Solis, Stephen |  |  |
| Tan, Paul |  | Via Teleconference |
| Thompson, Chad |  |  |
| White, Steve |  |  |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. 2015 ROS Chair Joel Firestone called the May 7, 2015 ROS meeting to order at 9:32 a.m. Antitrust Admonition Mr. Firestone directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Approval of ROS Meeting Minutes March 12, 2015 This item was postponed. Technical Advisory Committee (TAC) Update Mr. Firestone reminded Market Participants that TAC, in lieu of the April 30, 2015 meeting, conducted and email vote and approved Nodal Operating Guide Revision Request (NOGRR) 135, Constraint Management During Energy Emergency Alert, and NOGRR138, Delete Grey Box for Reporting of Back-up Control Plan Submittal. ERCOT Reports to ROS – (see Key Documents) System Planning Reports Jeff Billo presented the System Planning report. Operations Reports Alex Gerritano presented the ERCOT Operations Report. Market Participants requested ERCOT review oscillation in South Texas to ensure wind farms are not changing controls at the same time. Potential Energy Management System (EMS) Working Group Steve White noted Texas Regional Entity (Texas RE) interest in the formation of an EMS Working Group for lessons learned, best practices, system event analysis and reporting to ROS. Market Participants expressed some concern for function redundancy among existing ROS working groups. Mr. Firestone requested further discussion at the next ROS meeting. Voltage Workshop Stephen Solis reported on the April 7-8, 2015 Voltage Workshop at ERCOT Austin and suggested the formation of a Voltage Profile Working Group. Mr. Firestone asked that the topic be discussed at the next ROS meeting. Recommendation re LCRA/Austin Energy Application for Permanent Site-Specific Exemption from Compliance with ERCOT Nodal Metering Protocols, Section 10.3.2.3 (2) (b) and 10.3.2.3 (5) (see Key Documents) On behalf of LCRA and Austin Energy, Randa Stephenson reviewed the application for permanent site-specific exemption. Randy Ryno moved that ROS endorse the LCRA/Austin Energy application for Permanent Site-Specific Exemption from Compliance with ERCOT Nodal Metering Protocols, Section 10.3.2.3 (2) (b) and 10.3.2.3 (5). John Moore seconded the motion. The motion carried unanimously. NERC-Related System and Protocol Changes Mr. Firestone noted that this item would be taken-up during the Performance Disturbance Compliance Working Group (PDCWG) Report. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities. NERC Reliability Working Group (NRWG) (see Key Documents) Revised NRWG Scope Jeanie Doty presented proposed changes to the NRWG Scope. Randy Jones moved to approve the revised NRWG Scope as submitted. Rick Keetch seconded the motion. The motion carried unanimously. Outage Coordination Improvement Task Force (OCITF) (see Key Documents) Liz Jones encouraged Market Participants to participate in the afternoon’s OCITF meeting, noting that the group is actively moving through issues in the OCITF Scope and hopes to bring a report back to ROS after one additional meeting. Phasor Measurement Task Force (PMTF) Kris Koellner proposed revisions to NOGRR142, Phasor Measurement. Operations Working Group (OWG) (see Key Documents) John Warren reviewed recent OWG activities. NOGRR142 Market Participants discussed the need for a specific effective date. Mr. R. Jones moved to recommend approval of NOGRR142 as recommended by OWG in the 4/26/15 OWG Report and as revised by ROS. Mr. Ryno seconded the motion. The motion carried unanimously. PDCWG Report Mike Noth reviewed recent PDCWG activities and noted that the Control Performance Score 1 (CPS1) for March 2015 set the high record for ERCOT. North American Electric Reliability Corporation (NERC) Standard MOD-025-2 Testing Requirements Sherry Looney presented a review of issues related to the integration of requirements of NERC Standard MOD-025-2 with ERCOT Protocols and Operating Guides, and noted possible future study topics. Mr. R. Jones reiterated concerns for volatile testing in the ERCOT market. After some discussion, Market Participants determined that the issues would be best vetted in OWG, and expressed concern for misalignments between NERC Standards and ERCOT requirements. Adrian Pieniazek and Walter Reid recommended that the NERC Standard should be met, and that ERCOT requirements not diverge from them without amply demonstrated reason. Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities and noted that the group will work with the Resource Data Working Group (RDWG) for a list of data that will need to be added to the Resource Asset Registration Form (RARF). Planning Working Group (PLWG) (see Key Documents) Brad Schwarz reviewed recent PLWG activities. Planning Guide Revision Request (PGRR) 040, Clarification of Water Supply Rights Attestation Obligation Mark Soutter moved to recommend approval of PGRR040 as recommended by PLWG in the 3/25/15 PLWG Report. Mr. Ryno seconded the motion. Mr. Kunkel expressed concern that PGRR040 is insufficient for planning purposes, but offered to address the issues in a separate PGRR. The motion carried with one abstention from the Independent Generator (Calpine) Market Segment. RDWG (see Key Documents) John Palen reviewed recent RDWG activities and noted Resource Registration Glossary Revision Request (RRGRR) 006, Clarification of Descriptions and Alignment with Resource Asset Registration Forms, may require an implementation project. Mr. Palen expressed concern for the lack of participation at RDWG meetings, and recommended ROS evaluate alternate methods of reviewing RRGRRs if participation does not increase. Market Participants suggested that RDWG not schedule meetings unless there is an initiative requiring RDWG attention. Mr. Firestone reiterated Mr. Palen’s request that ROS consider other ways to serve the need met by RDWG, or to increase meeting attendance. Steady State Working Group (SSWG) (see Key Documents) No questions were offered regarding the posted SSWG report. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities. Other Business No Reports - Black Start Working Group (BSWG) - Dynamics Working Group (DWG) - Operations Trainers Working Group (OTWG) - System Protection Working Group (SPWG) Adjournment Mr. Firestone adjourned the May 7, 2015 ROS meeting at 11:40 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/5/7/31913-ROS