DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 12, 2015 – 1:00 p.m.

Attendance

Members:

| DeTullio, David | Air Liquide |  |
| --- | --- | --- |
| Dillard, Jesse | City of Dallas |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Firestone, Joel | Topaz Power |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Jones, Randy | Calpine |  |
| Jones, Liz | Oncor | Alt. Rep. for A. Bern |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Soutter, Mark | Invenergy |  |
| Staples, Boone | Tenaska Power Services |  |
| Tzartzev, Rouslan | EDP Renewables |  |
| Vo, Trieu | CPS Enery |  |
| Woitt, Wes | CenterPoint Energy | Alt. Rep. for Ebby John |

Guests:

| Bell, Brad | E.ON |  |
| --- | --- | --- |
| Blackwell, John | LST |  |
| Bunch, Kevin | EDF Trading |  |
| Gross, Blake | AEPSC |  |
| Juricek, Michael | Oncor |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Sharyland |  |
| Turner, David | LST |  |
| Warren, John | LCRA |  |
| White, Lauri | AEP Texas |  |
| Woitt, Wes | CenterPoint Energy |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Giarratano, Alex |  |  |
| Manning, Brian |  |  |
| Thompson, Chad |  |  |
| Weatherly, Joe |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. 2015 ROS Chair Joel Firestone called the March 12, 2015 ROS meeting to order at 1:00 p.m. Antitrust Admonition Mr. Firestone directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Approval of ROS Meeting Minutes October 30, 2014 January 8, 2015 February 5, 2015 Randy Jones moved to approve the October 30, 2014, and the January 8 and February 5, 2015 ROS meeting minutes. David DeTullio seconded the motion. The motion carried with one abstention from the Investor Owned Utility (IOU) (Oncor) Market Segment. Technical Advisory Committee (TAC) Update 2015 TAC Goals Mr. Firestone noted that TAC posted its 2015 Goals. 2015 Strategic Initiatives assigned to ROS Mr. Firestone noted 2015 Strategic Initiatives assigned to ROS by TAC - Subsynchronous Oscillation (SSO) - Outage Coordination Improvements - Review of Planning Processes 2015 ROS Goals (see Key Documents) Mr. R. Jones moved to approve the 2015 ROS Goals as amended by the Calpine comments as revised by ROS. Wes Woitt seconded the motion. The motion carried unanimously. ERCOT Reports to ROS – (see Key Documents) Dan Woodfin reported personnel changes in ERCOT Compliance and Operations Control groups, and noted that ERCOT will host another Energy Emergency Alert (EEA) workshop in the coming month. System Planning Reports Jeff Billo presented System Planning reports. Mr. Hatfield requested ERCOT Staff return with a summary report on how Annual Load Data Request (ALDR) is formulated. Mr. Firestone requested ERCOT Staff respond at the next ROS meeting as to what is possible to report. Operations Reports Alex Giarratano presented the ERCOT Operations Reports. Under Frequency Load Shed (UFLS) Testing Gene Lowrie reviewed the timeline and results of the 2014 UFLS Survey, and the proposed scheduled for 2015 UFLS testing. Referrals (see Key Documents) Nodal Protocol Revision Request (NPRR) 681, Clarifications to Dynamic Ratings Mr. Hatfield moved to endorse NPRR681 as submitted. Mr. Greer seconded the motion. The motion carried unanimously. NPRR685,Change Criteria for Resource Opportunity Outages Mr. Firestone noted that NPRR685 was tabled at the morning’s Protocol Revision Subcommittee (PRS) meeting, and referred to ROS. Mr. Firestone requested the Outage Coordination Improvement Task Force (OCITF) review NPRR685. There were no objections. OCITF (see Key Documents) OCITF Scope Liz Jones presented the draft OCITF Scope for ROS consideration. Market Participants offered revisions. Ms. L. Jones moved to approve the OCITF Scope as amended by ROS. Mr. Hatfield seconded the motion. The motion carried unanimously. Operations Working Group (OWG) (see Key Documents) John Warren reviewed recent OWG activities and presented Revision Requests for ROS consideration. Nodal Operating Guide Revision Request (NOGRR) 135, Constraint Management During Energy Emergency Alerts NOGRR138, Delete Grey Box for Reporting of Back-up Control Plan Submittal NOGRR139, Under/Over-Frequency Relaying Requirements Mr. R. Jones moved to approve NOGRR135, NOGRR138, and NOGRR139 as recommended by OWG in the respective 2/19/15 OWG Reports. Mr. Ryno seconded the motion. The motion carried unanimously. EEA Language in Protocols and Operating Guides Market Participants discussed whether EEA language should be maintained in both the Nodal Protocols and Operating Guides, or housed in one or the other set of documents. Some Market Participants favored maintaining EEA language in both documents, and recommended that PRS develop additional language to ensure version control and mirror language. Other Market Participants questioned whether the requirement would apply to only EEA language, or address any Protocol language replicated in other documents. Still other Market Participants expressed a preference that the majority of EEA language be housed in the Operating Guides, and referenced in the Protocols, noting that the Guides are managed within the bounds of the Protocols. Ms. L. Jones moved to request that PRS take up the discussion of how to ensure the harmony of the Protocols and Operating Guides as they pertain to EEA language. Mr. R. Jones seconded the motion. The motion carried unanimously. Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Mike Noth reviewed recent PDCWG activities. North American Electric Reliability Corporation (NERC) Standard MOD-01-025 Testing Requirements Market Participants requested ERCOT Staff discuss with ROS NERC Standard MOD-1-025. Mr. R. Jones suggested that historical data be substituted for volatile testing, where appropriate, and that the ERCOT region reconfigure its testing requirements to be no more stringent than NERC requirements, unless it can be demonstrated that the more-stringent ERCOT requirement is necessary. Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities. Planning Working Group (PLWG) (see Key Documents) Brad Schwarz reviewed recent PLWG activities. Planning Guide Revision Request (PGRR) 041, Revise and Add Requirements for NERC TPL-001-4 Standard Market Participants discussed PGRR041 and the 3/3/15 ERCOT comments. John Moore expressed concern for the proposed eight percent stead-state voltage deviation, on the grounds that it contradicts planning criteria. Ms. L. Jones moved to recommend approval of PGRR041 as recommended by PLWG in the 2/16/15 PLWG Report and as amended by the 3/3/15 ERCOT comments. Mr. Kunkel seconded the motion. The motion carried with one abstention from the Cooperative (STEC) Market Segment. Steady State Working Group (SSWG) (see Key Documents) No questions were offered regarding the posted report. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reported extension of the deadline for the VRTF-issued survey regarding circuit availability for voltage reduction. Mr. Nashawati noted that the extension was requested by several of the participating Entities. Other Business Mothball Status Ms. L. Jones expressed concern for transparency regarding Generation Resources moving from mothball status, and reported her request that ERCOT develop Revision Request language to clarify market notification in such instances. Voltage Workshop Mr. Woodfin noted that the Voltage Workshop is rescheduled for April 7-8, 2015 at ERCOT Austin. No Reports - Black Start Working Group (BSWG) - Dynamics Working Group (DWG) - Network Data Support Working Group (NDSWG) - Operations Trainers Working Group (OTWG) - Phasor Measurement Task Force (PMTF) - Resource Data Working Group (RDWG) - System Protection Working Group (SPWG) Adjournment Mr. Firestone adjourned the March 12, 2015 ROS meeting at 3:14 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/3/12/57811-ROS