DWG Report to ROS, July 9, 2015

- The 2014 Stability Book (documenting 2014 ERCOT-wide dynamic modeling data) was completed on 3-27-2015.

- Of the three flatstart dynamics base cases scheduled to be supplied in 2015, two are completed:

FY2021 long-term planning horizon (summer peak load condition) was completed on 3-31-2015.

NT2017 near-term planning horizon (summer peak load condition) was completed on 6-05-2015.

The third is in progress:

HWLL2018 near-term planning horizon (high wind – low load) is in progress and is scheduled to be completed on 9-04-2015.

- PGRR041 & TPL Requirements – DWG intends to review and propose PGGr41 revisions on TPL-001-4 fill-in-the-blank requirements following the August 5, 2015 scheduled meeting.

- MOD-026 & MOD-027 & RARF – DWG discussed if and how the RARF data/process might be involved in MOD-026 and MOD-027 GO to TP required communications.  It was determined that the MOD-026 and MOD-027 model validation final products should be completed and only then entered into RARF.  GOs will have to communicate validated modeling data directly to TPs in order to satisfy the requirements of these standards.  ERCOT, as a Planning Coordinator, would not be involved.

End of Report