## Slide 1
2016 LTSA Introduction

## Slide 2: Outline
Background
2016 LTSA Process
Summary of first LTSA Workshop
Topics and Speakers

## Slide 3: Background
Senate Bill 20 (79th Legislature, 1st Called Session [2005]) requires that the PUCT and ERCOT study long-term system needs and report to the Legislature each even numbered year
ERCOT has been conducting a Long Term System Assessment (LTSA) on a biennial basis since 2006
ERCOT uses a scenario based approach to Long Term System Assessment
Scenarios are developed based on Stakeholder feedback after a review of trends and forecasts of a variety of drivers influencing the future of ERCOT grid

## Slide 4: 2016 LTSA Scope and Process
Scenario Development
Stakeholder driven review of previous LTSA
Load forecasting
Develop 8760-hour load forecasts for each scenario with 50th percentile weather assumptions
Generation Expansion
Identify amount of generation added and retired by technology based on scenario description
Expert presentations with focus on key drivers for current LTSA
Finalize scenario descriptions and assumptions for current LTSA
Develop 90th percentile summer peak forecast for each scenario
Identify potential sites for new generation
Transmission Analysis
Build start cases based on the LTSA Scope and scenario descriptions
Perform reliability analysis
Perform economic analysis
Identify transmission projects to address economic and reliability needs

## Slide 5: Summary of First Workshop
First LTSA Workshop was conducted on April 21
Workshop participants got together to review the drivers and scenarios studied in the 2014 LTSA
Following drivers were identified as the once that need more information
  Environmental regulations and their impact to ERCOT grid
  End use – Impact and growth of demand side management activities across the grid
  Technology – Improvements in technologies related to solar, storage, wind etc.
  Economy – What drives Texas economy?
  Impact of oil and gas development

## Slide 6: Speakers for 2016 LTSA Workshop
Speaker | Topic
Technology | 
Michael Goggin, AWEA | Cost and capabilities of future wind technologies
Colin Meehan, First Solar | Solar growth trends
End Use | 
Michele Allen, Walmart | Demand side management at big retail stores like Walmart
Dr. Varun Rai, Lyndon B. Johnson School of Public Affairs | Adoption of residential roof-top PV
Mike Legatt, ERCOT | Growth in Electric vehicle with respect to the price of storage

## Slide 7: Speakers for 2016 LTSA Workshop
Speaker | Topic
Environmental Regulations | 
Susana Hildebrand, EFH | Environmental regulations: Overview
Dana Lazarus, ERCOT | Environmental regulations impacting ERCOT region
Oil and Gas | 
Gurcan Gulen-Bureau of Economic Geology | Oil and gas growth – impact on other industries
Modeling | 
Doug Murray, ERCOT | Modeling data and sources currently available to ERCOT
Calvin Opheim, ERCOT | Load forecasting for LTSA Scenarios
Economy | 
Tom Currah, Texas Comptroller of Public Accounts | Texas Economy

## Slide 8: Questions?