| PGRR Number | 042 | PGRR Title | Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology |
| --- | --- | --- | --- |

| Date | July 15, 2015 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Amanda J. Frazier |
| E-mail Address | amanda.frazier@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | 512-349-6442 |
| Cell Number | 512-364-3275 |
| Market Segment | Investor-Owned Utility (IOU) |

Comments

Luminant Energy Company LLC (Luminant) appreciates the opportunity to comment on the 7/2/15 ERCOT comments to Planning Guide Revision Request (PGRR) 042.  Luminant supports many aspects of ERCOT’s comments, but remains concerned that some of the changes proposed will represent a step backward from the last several years’ progress toward creating a planning process that more closely aligns with Real-Time operational needs.

Luminant’s comments are provided to ensure that:

- ERCOT continues to utilize a consistent methodology to perform Regional Transmission Plan (RTP) studies and Regional Planning Group (RPG) project reviews;

- Transmission Service Providers continue to retain the ability to reflect new large load additions (e.g. new oil and gas developments, large new LNG facilities, etc.) in the Steady State Working Group and RTP cases that may be missed by an econometric load forecast; and

- The planning process more closely forecasts operational realities.

In paragraph (3) of Section 3.1.3, Project Evaluation, Luminant suggests aligning the RTP and RPG review processes removing specific discussion of how load can be scaled for the RPG review process and integrating and harmonizing ERCOT’s proposal into Section 3.1.4.1.1, Regional Transmission Plan Cases, to ensure that a consistent methodology is retained.

The changes Luminant proposes in paragraph (7) of Section 3.1.4.1.1 are intended to ensure that the planning process is flexible enough to account for higher load forecasts for loads that are known by the TSPs, but not accounted for in ERCOT’s Load forecast.  TSPs are frequently involved in active discussion with new large profile loads that ERCOT may not be aware of and which may be missed by an econometric forecast.  We have experienced this time and again in ERCOT, such as with the oil and gas development that occurred quickly in West and South Texas.

Moreover, Luminant agrees with the following statement from the 3/19/15 LCRA comments on PGRR042:

The guidelines for development of the Regional Transmission Plan must allow enough flexibility to meet the requirements of the NERC TPL-001-4 Reliability Standard. The ability to assess the range of load and system conditions required by Requirement 2.1 of NERC TPL-001-4 must be maintained. As stated in R2.1.4, sensitivity analysis “must vary one or more of the following conditions by a sufficient amount to stress the System within a range of credible conditions that demonstrate a measurable change in System response:” The listed conditions include load, expected transfers, generation additions, retirements, dispatch scenarios, and controllable loads and Demand Side Management.

Luminant also proposes a third category of Load forecasts that can be used only for local study area projects that is not explicitly delineated in the RTP, but is a long recognized and utilized reasonable variation of Load for local area transmission projects (e.g., end-to-end line loading upgrade projects).

In paragraphs (8) and (9) of Section 3.1.4.1.1, Luminant adds language from the current RTP to describe how ERCOT should model load and generation inside the study region, and to describe the use of dynamic ratings.  Luminant also adds a subparagraph under paragraph (8) requiring ERCOT to use sensitivities, as appropriate, to ensure that sufficient import capacity exists to securely provide Ancillary Services inside the study region.  This is needed to minimize the risk of undeliverable Ancillary Services during Real-Time operations.  Luminant’s comments in paragraph (8) also restore ERCOT’s proposed language [from paragraph (3) of Section 3.1.3] regarding the treatment of DC Ties, Mothballed Generation Resources and Proposed Generation Resources outside the study region.

Finally, Luminant’s comments restore the text in Section 3.1.4.2, Use of Regional Transmission Plan, which was deleted in the 7/2/15 ERCOT comments.  Retaining as much harmony as possible between the ERCOT conducted RTP and RPG review process is critical to the efficiency of RPG project review.  The reinserted language clearly states that intent.

Luminant appreciates the opportunity to comment and looks forward to further discussion of PGRR042.

Revised Proposed Guide Language

- 3.1.1.2	Regional Transmission Plan

(1)	The Regional Transmission Plan is developed annually by ERCOT, in coordination with the RPG and Transmission Service Providers (TSPs).  The Regional Transmission Plan addresses regional and ERCOT-wide reliability and economic transmission needs and the planned improvements to meet those needs for the upcoming six years starting with the SSWG base cases.  These planned improvements include projects previously approved by the ERCOT Board, projects previously reviewed by the RPG, new projects that will be refined at the appropriate time by TSPs in order to complete RPG review, and the local projects currently planned by TSPs.  Combined, these projects represent ERCOT’s plan which addresses the reliability and efficiency of the ERCOT System in order to meet North American Electric Reliability Corporation (NERC) Reliability Standards, the Protocols, Operating Guides and this Planning Guide.  Projects that are included in the Regional Transmission Plan are not considered to have been endorsed by ERCOT until they have undergone the appropriate level of RPG Project Review as outlined in Protocol Section 3.11.4, Regional Planning Group Project Review Process, if required.  The process used by ERCOT to develop the Regional Transmission Plan is outlined in Section 3.1.4, Regional Transmission Plan Development Process.

(2)	ERCOT shall post the Regional Transmission Plan to the Market Information System (MIS) Secure Area by December 31 of each year.

(3)	ERCOT shall include in the Regional Transmission Plan report a list of Transmission Facilities that are loaded above 95% of their applicable Ratings for the following conditions:

(a)	Normal system conditions; or

(b)	Following the contingency loss of a single generating unit, transmission circuit, transformer, or common tower outage.

- 3.1.3	Project Evaluation

(1)	ERCOT and the RPG shall evaluate proposed transmission projects using a variety of tools and techniques to ensure that the system is able to meet applicable reliability criteria in a cost-effective manner.  For most proposed projects, several alternatives will be identified to meet the reliability criteria or other performance improvement objectives that the proposed project is designed to meet.  The project alternative with the expected lowest cost over the life of the project is generally recommended, subject to consideration of the expected long-term system needs in the area (as identified in the LTSA), and consideration of the relative operational impacts of the alternatives.

(2)	In some cases, one alternative may be to dispatch the system in such a way that all reliability requirements are met, even without the proposed transmission project or any transmission alternative, resulting in a less efficient dispatch than what would be required to meet the reliability requirements if the proposed project was in place.  Consideration of the merits of this alternative relative to the proposed transmission project is more complex.  To facilitate the discussion and consideration of these alternatives, ERCOT has adopted certain definitions and practices, described in paragraph (4) of Protocol Section 3.11.2, Planning Criteria, and Sections 3.1.3.1, Definitions of Reliability-Driven and Economic-Driven Projects, and 3.1.3.2, Reliability-Driven Project Evaluation below.

(3)	In its independent review of reliability-driven projects classified as Tier 1 or 2 pursuant to Protocol Section 3.11.4, Regional Planning Group Project Review Process, ERCOT shall utilize the same study cases and processes as defined in Planning Guide Section 3.1.4.1.1, Regional Transmission Plan Cases; however, these cases may be updated as appropriate based on the most recently available information.

(4) 	For informational purposes only, as part of its independent review of projects classified as Tier 1 or 2 pursuant to Protocol Section 3.11.4, Regional Planning Group Project Review Process, ERCOT may perform a sensitivity analysis to evaluate the effect on a recommended transmission project of proposed Generation Resources in the area of the study that have signed SGIAs but were not included in the study cases.

- 3.1.3.1	Definitions of Reliability-Driven and Economic-Driven Projects

(1)	Proposed transmission projects are categorized for evaluation purposes into two types:

(a)	Reliability-driven projects; and

(b)	Economic-driven projects.

(2)	The differentiation between these two types of projects is based on whether a simultaneously-feasible, security-constrained generating unit commitment dispatch is expected to be available for all hours of the planning horizon that can resolve the system reliability issue that the proposed project is intended to resolve.  If it is not possible to simulate a dispatch of the Generation Resources such that all reliability criteria are met without the project, and the addition of the project allows the reliability criteria to be met, then the project is classified as a reliability-driven project.  If it is possible to simulate a dispatch of the Generation Resources in such a way that all reliability criteria are met without the project, but the project may allow the reliability criteria to be met at a lower total cost, then the project is classified as an economic-driven project.  When performing a simulation of the generating unit commitment and dispatch, only contingencies and limits that would be considered in the operations horizon shall be simulated.

- 3.1.4.1	Development of Regional Transmission Plan

(1)	The planning process begins with computer modeling studies of the generation and Transmission Facilities and substation Loads under normal conditions in the ERCOT System.  Contingency conditions along with changes in Load and generation that might be expected to occur in operation of the ERCOT Transmission Grid are also modeled.  To maintain adequate service and minimize interruptions during Outages, model simulations are used to identify adverse results based upon the planning criteria and to examine the effectiveness of various problem-solving alternatives.

(2)	The effectiveness of each alternative will be evaluated under a variety of possible operating environments because Loads and operating conditions cannot be predicted with certainty.  As a result, repeated simulations under different conditions are often required.  In addition, options considered for future installation may affect other alternatives so that several different combinations must be evaluated, thereby multiplying the number of simulations required.

(3)	Once feasible alternatives have been identified, the process is continued with a comparison of those alternatives.  To determine the most favorable, the short-range and long-range benefits of each alternative must be considered including operating flexibility and compatibility with future plans.

- 3.1.4.1.1	Regional Transmission Plan Cases

(1)	The starting base cases for the Regional Transmission Plan development are created by removing all Tier 1, 2 and 3 projects that have not undergone RPG Project Review from the most recent SSWG base cases to address the planning horizon.

(2)	ERCOT shall set all non-seasonal Mothballed Generation Resources to out of service in the Regional Transmission Plan reliability base cases. ERCOT shall add proposed Generation Resources that have met the criteria for inclusion according to Section 6.9, Addition of Proposed Generation Resources to the Regional Transmission Plan cases.

(3)	In the Regional Transmission Plan reliability base cases, ERCOT shall set the output from the DC Ties at the Seasonal net max sustainable ratings for DC Tie Resources as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.

(4)	In the Regional Transmission Plan reliability base cases, ERCOT shall dispatch hydro Generation Resources up to the Hydro Unit Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.

(5)	In the Regional Transmission Plan economic base cases, 8,760-hour profiles shall be used for hydro Generation Resources, WGRs, PVGRs and DC Ties.  ERCOT profiles shall be used for WGRs and PVGRs.  Average historical output for the past three years shall be used to create the hydro Generation Resource and DC Tie profiles.

(6)	ERCOT shall update the Regional Transmission Plan reliability and economic base cases to reflect any updates to the amount of Switchable Generation Resource capacity available to the ERCOT Region.

(7)	The Load utilized in the Regional Transmission Plan reliability base cases shall be organized and evaluated by Weather Zone.  ERCOT shall use the highest of:

(a)	Each Weather Zone’s 90th percentile peak Load forecast, plus self-serve Load, for the study year.  ERCOT may adjust this Load forecast to reflect specific, pnown Load additions or subtractions that ERCOT reasonably anticipates, or

(b)	The aggregated Weather Zone load in the SSWG base cases, if the TSP(s) within the Weather Zone have provided to ERCOT a description of any new discrete load additions or other key econometric considerations that have not been considered in the development of ERCOT’s 90th percentile peak Load forecast, or

(c)	For local study area projects only, the TSP’s non-coincidental substation peak Load forecast.

(8)	If the total generation capacity in a Regional Transmission Plan reliability base case is less than the peak Load in the case plus losses plus an operating reserve equal to the two largest units in the case, ERCOT shall group one or more Weather Zones into multiple study regions and create a separate base case for each study region for the season and year being studied.

(a)	Inside the study region:

(i)	ERCOT shall not change Load or total generation capacity inside a study region.  The Load shall be modeled at the level determined by the methodology described in paragraph (7), above.

(ii)	Dispatchable Generation Resources shall be modeled based on each Resource’s Seasonal Net Maximum Sustainable Rating.  WGRs shall be modeled based on the AWS Truepower profile 15th percentile output captured when ERCOT system load is higher than its 95th percentile Load on an annual basis.  PVGRs shall be modeled at 70% of their rated capacity.

(iii)	In order to ensure reliable delivery of generation capacity, ERCOT may not redispatch dispatchable Generation Resources inside a study region

(iv)	Sensitivity studies shall be developed and utilized as appropriate to ensure that sufficient import capacity exists into the study region to securely maintain the study region’s load ratio share of ERCOT’s Ancillary Service products, such that the risk of system conditions described in Protocol Section 6.4.9.1.2, Replacement of Undeliverable Ancillary Service Due to Transmission Constraints, may be minimized.

(b)	Outside the study region, ERCOT shall use the following procedures in the order listed below to balance the case:

(i)	Reduce Load such that the total load in the case is approximately equal to ERCOT’s 90th percentile system-wide coincident peak Load forecast plus self-serve Load.

(ii)	Increase the Dispatch level of each WGR and PVGR outside the study region to a level that does not exceed the following maximums.

(A)	For a WGR, the maximum Dispatch level is the Seasonal Peak Average Wind Capacity as a Percent of Installed Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.

(B)	For a PVGR, the maximum Dispatch level is the Solar Unit Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.

(iii)	Increase the output from the Direct Current Ties (DC Ties) that are not in any of the study Weather Zones to their full Seasonal Net Max Sustainable Ratings for DC Tie Resources importing into the ERCOT Region

(iv)	Add any or all Mothballed Generation Resources that have not yet announced their return to service during the study period and that are outside of any study Weather Zones.

(v)	Add any or all proposed Generation Resources that are outside of any study Weather Zone and have signed Standard Generation Interconnection Agreements (SGIAs) but have not yet met the other requirements of Section 6.9, Addition of Proposed Generation Resources to the Planning Models.

(vi)	If the Load reductions in paragraph (8)(b)(i) are still not enough to balance the case, Load outside the study region may be reduced to a level sufficient to balance the case.

(9)	Dynamic ratings will be used for both the reliability and economic portions of the analysis.  These ratings will be based on the 90th percentile temperature as determined for the Weather Zone associated with the transmission element.  The Weather Zone 90th percentile temperatures will be included in the RTP for transparency.

- 3.1.4.2	Use of Regional Transmission Plan

(1)	The Regional Transmission Plan will generally serve as the basis for all subsequent RPG Project Reviews, both of projects included within the Regional Transmission Plan and of other proposed projects.  Stakeholders are encouraged to submit, at the start of the Regional Transmission Plan development process, any known transmission projects that are not in the current SSWG base cases and are likely to be submitted within the next year, as work on RPG Project Reviews will be limited while the Regional Transmission Plan is being developed and documented.  Projects submitted for RPG Project Review after the Regional Transmission Plan development has begun and which need ERCOT Independent Review may be delayed.  Inputs to the Regional Transmission Plan, such as new Generation Resources and updated local transmission projects, may be updated at the time these subsequent studies are performed if ERCOT or stakeholders identify such updates as being needed to appropriately consider the need for the specific project under review.  If a project submitted for RPG review is included in the Regional Transmission Plan, and no changes are identified which would affect the need for the proposed project through the 21-day comment period described in Section 3.1.5, Regional Planning Group Comment Process, then the Regional Transmission Plan may serve as the ERCOT Independent Review of the proposed project, if required.

(2)	Tier 1, 2, and 3 projects that are included in the Regional Transmission Plan should be submitted for RPG Project Review at an appropriate lead time.  Generally, this lead time should be sufficient to allow the review to be completed before the TSP reaches the decision point at which it must initiate the engineering and procurement in order to meet the required in-service date, but not farther in advance than is necessary.  In general, these lead times will be three to four months for Tier 3 projects and six to seven months for Tier 1 and 2 projects.

(3)	Tier 1, 2 and 3 projects that are included in the Regional Transmission Plan but do not reach this decision point before the development of the next year’s Regional Transmission Plan begins will be removed from the case used to develop the Regional Transmission Plan and will be re-evaluated as a part of the development of this subsequent Regional Transmission Plan.