| NPRR Number | 711 | NPRR Title | Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA |
| --- | --- | --- | --- |
| Date |  | July 16, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Michelle Trenary on behalf of the Commercial Operations Subcommittee (COPS) |  |
| E-mail Address |  | mtrenary@tnsk.com |  |
| Company |  | Tenaska Power Services Co. |  |
| Phone Number |  | 817-303-3613 |  |
| Cell Number |  | 682-551-3044 |  |
| Market Segment |  | Not applicable |  |

Comments

At its July 15, 2015 meeting, the Commercial Operations Subcommittee (COPS) voted to endorse Nodal Protocol Revision Request (NPRR) 711.  The COPS collaborated with the Retail Market Subcommittee (RMS) during the IDR Meter Protocol Requirements Threshold Workshops.  COPS supports the increase of the Interval Data Recorder (IDR) Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA implemented by NPRR711.

NPRR711 will allow Loads up to 1.5 MW/MVA to receive daily meter reads, making meter data available through the Smart Meter Texas (SMT) system and making it available for ERCOT Initial Settlement.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

None.