| NPRR Number | 703 | NPRR Title | Clarification of Disclosure Requirements for GINR Study Information |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | June 11, 2015 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | 1.3.1.1, Items Considered Protected Information 1.3.1.2, Items Not Considered Protected Information 1.3.3, Expiration of Confidentiality 2.1, Definitions 2.2, Acronyms and Abbreviations |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | Planning Guide Revision Request (PGRR) 044, MIS Classification of GINR Study Information |  |  |
| Revision Description |  | As part of the process of interconnecting a new All-Inclusive Generation Resource, Interconnecting Entities (IEs) are required to obtain a Full Interconnection Study (FIS) from the interconnecting Transmission Service Provider (TSP). The FIS typically includes a dynamic and transient stability study (“stability study”) and may include a subsynchronous oscillation study. Stability studies and subsynchronous oscillation studies often contain data and descriptions of unique generator characteristics that may credibly be considered “Resource-specific . . . design [or] engineering data” under paragraph (m) of Protocols Section 1.3.1.1, Items Considered Protected Information, and thus protected from disclosure. However, paragraph (l) in this same Section provides that the “Protected Information status of [information related to generation interconnection requests] shall expire when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a [TSP]”). Given the unclear interplay of these two provisions, ERCOT submits this Nodal Protocol Revision Request (NPRR) and an associated PGRR to clarify ERCOT’s disclosure obligations concerning FIS studies. Until recently, ERCOT’s practice had been to post all generator interconnection study information (including the FIS and the initial Resource Asset Registration Form) to the Planning and Operations Information website, which was accessible by any entity that had been granted access to the site. However, in October 2014, ERCOT decommissioned this website and, pursuant to new Section 7.1 of the Planning Guide, began posting generator interconnection information only to the Market Information System (MIS) Certified Area for each TSP. While the use of the MIS has given ERCOT the ability to precisely control access to generation interconnection information, some Market Participants have expressed concerns about these restrictions. A number of developers and consultants have raised a concern that the more limited availablility of FIS studies impedes their ability to evaluate potential project locations. Additionally, some participants at the April 23, 2015 meeting of the Congestion Management Working Group (CMWG) expressed concerns that withholding broader access to FIS studies might give IEs an unfair market advantage if those studies provide information that has not already been made public. Given these concerns, ERCOT recognizes a need for prompt stakeholder discussion of this issue so that the appropriate scope of disclosure can be determined as soon as possible. As proposed, this NPRR would allow disclosure of all FIS studies except stability studies and subcynchronous oscilation studies. However, ERCOT understands that stakeholders may ultimately have a different view of this issue and that there may be other ways to safeguard this information short of restricting all public access to these studies. ERCOT therefore requests its stakeholders’ thoughtful and candid input on this proposal. Additionally, this NPRR proposes revisions to Sections 1.3.1.1(5), 1.3.1.2(3), and 1.3.3(5) to eliminate inconsistency and reduce duplication of language. This NPRR also proposes a definition of “Full Interconnection Study.” Finally, this NPRR proposes revisions to Section 1.3.3(4)—regarding information to be posted after an FIS is requested—to clarify that the information should be posted to the MIS Public Area rather than the MIS Certified Area. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Work Group Review |  | To be determined. |  |  |
| Procedural History |  | - On 4/29/15, NPRR703 and an Impact Analysis were posted. - On 5/13/15, CenterPoint Energy comments were posted. - On 5/14/15, PRS considered NPRR703. - On 6/4/15, Planning Working Group (PLWG) comments were posted. - On 6/11/15, PRS again considered NPRR703. |  |  |
| PRS Decision |  | On 5/14/15, PRS unanimously voted to table NPRR703 and refer the issue to ROS. All Market Segments were present for the vote. On 6/11/15, PRS unanimously voted to recommend approval of NPRR703 as amended by the 5/13/15 CenterPoint Energy comments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/14/15, partcipants agreed to refer the issue to ROS for further review alongside PGRR044. On 6/11/15, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Establishes appropriate protections for Resource-specific design and engineering data while providing adequate visibility of planned generation projects |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Credit Implications |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Prabhu Gnanam, Nathan Bigbee |
| E-mail Address | gnanaprabhu.gnanam@ercot.com, nathan.bigbee@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3146, (512) 225-7093 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| CenterPoint Energy 051315 | Added additional clarifying revisions to better reflect the changes proposed in PGRR044. |
| PLWG 060415 | Endorsed NPRR703 as amended by the 5/13/15 CenterPoint Energy comments. |

Comments

Please also note that the following NPRRs also propose revisions to the following Sections:

- NPRR695, Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation

  - Section 1.3.1.1

- NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process

  - Section 1.3.1.2

  - Section 1.3.3

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or any Supplemental Ancillary Services Market (SASM);

(ii)	The quantity of Ancillary Service offered by Operating Hour for each Resource for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (5) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service Schedules identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(i)	Wholesale Storage Load (WSL) data identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(j)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(k)	Number of Electric Service Identifiers (ESI IDs) identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(l)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of certain generation interconnection request information expires as provided in Section 1.3.3, Expiration of Confidentiality;

(m)	Resource-specific costs, design and engineering data;

(n)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (n) shall expire six months after the end of the year in which the CRR was effective.

(o)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(p)	Credit limits identifiable to a specific QSE;

(q)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information that is expressly designated not to be Protected Information by Section 1.3.1.2 or that, pursuant to Section 1.3.3, Expiration of Confidentiality, is no longer confidential;

(r)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(s)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(t)	QSE, TSP, and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(u)	Direct Current Tie (DC Tie) information provided to a TSP or DSP under Section 9.17.2, Direct Current Tie Schedule Information;

(v)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(w)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Generation Resource Return to Service Updates;

(x)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(y)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(z)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support;

(aa)	ESI ID, identity of Retail Electric Provider (REP), and MWh consumption associated with transmission-level Customers that wish to have their Load excluded from the Renewable Portfolio Standard (RPS) calculation consistent with Section 14.5.3, End-Use Customers, and subsection (j) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy;

(bb)	Generation Resource emergency operations plans and weatherization plans;

(cc)     Information provided by a Counter-Party under Section 16.16.3, Verification of Risk Management Framework; or

(dd)	Any data related to Load response capabilities that are self-arranged by the LSE or pursuant to a bilateral agreement between a specific LSE and its Customers, other than data either related to any service procured by ERCOT or non-LSE-specific aggregated data.  Such data includes pricing, dispatch instructions, and other proprietary information of the Load response product.

(ee)	Status of Non-Modeled Generators and Distributed Generation, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day.

1.3.1.2	Items Not Considered Protected Information

(1)	Notwithstanding the definition of “Protected Information” in Section 1.3.1.1, Items Considered Protected Information, the following items are not Protected Information even if so designated:

(a)	Data comprising Load flow cases, which may include estimated peak and off-peak Demand of any Load;

(b)	Existence of Power System Stabilizers (PSSs) at each interconnected Generation Resource and PSS status (in service or out of service);

(c)	RMR Agreements;

(d)	Studies, reports and data used in ERCOT’s assessment of whether a Reliability Must-Run (RMR) Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability but only if they have been redacted to exclude Protected Information under Section 1.3.1.1;

(e)	Status of RMR Units;

(f)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 3.14.1, Reliability Must Run;

(g)	Black Start Agreements;

(h)	Within two Business Days of a request from a potential generating Facility for a full resource interconnection study, the county in which the Facility is located, Facility fuel type(s), Facility nameplate capacity, and anticipated in-service date(s) and signed generation interconnection agreements; and

(i)	Any other information specifically designated in these Protocols or in the PUCT Substantive Rules as information to be posted to the Market Information System (MIS) Public Area or MIS Secure Area that is not specified as information that is subject to the requirements of Section 1.3, Confidentiality.

(2)	Protected Information that Receiving Party is permitted or required to disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required disclosure or use under these Protocols or such agreement.

(3)	Within ten Business Days of executing a generator interconnection agreement, the TSP shall provide a copy to ERCOT.

1.3.3	Expiration of Confidentiality

(1)	If PUCT Substantive Rules or other sections of the ERCOT Protocols require public posting (or posting to all Market Participants) of information identified as Protected Information in Section 1.3.1.1, Items Considered Protected Information, the Protected Information status of such information shall expire at the time such information is required to be posted.

(2)	ERCOT shall make the following information available on the MIS Public Area in a standard reporting format:

(a)	Ancillary Service Obligation and Ancillary Service Supply Responsibility for each QSE.  This information shall be made available 180 days after the Operating Day; and

(b)	Complete COP data for each QSE snapshot on each hour.  This information shall be made available 60 days after the Operating Day.

(3)	ERCOT shall make available the AML for each QSE by LSE, by Load Zone and by Settlement Interval, from the True Up settlement.  This data shall be made available within two Business Days of the 180 day expiration of confidentiality date.  Data for the posting will remain accessible for six months after the Operating Day.

(4)	The Protected Information status of the following information related to generation interconnection requests expires once ERCOT receives a request from an Interconnecting Entity (IE) for a Full Interconnection Study (FIS):

(a)	County in which the Facility is located;

(b) 	Facility fuel type(s);

(c) 	Facility nameplate capacity; and

(d) 	Anticipated in-service date(s).

This information will be updated and posted at least once per month on the ERCOT MIS Public Area.

(5)	For each generation interconnection or change request, the Protected Information status of the security screening study and  all parts of the FIS except for the dynamic and transient stability study and any subsynchronous oscillation study expires when the Interconnecting Entity and TSP have executed a generation interconnection agreement, or if no interconnection agreement is required, when ERCOT receives a letter from the Municipally Owned Utility (MOU) or Electric Cooperative (EC) indicating an intention to interconnect a new All-Inclusive Generation Resource to the MOU’s or EC’s transmission facilities.

(6)	Upon the expiration of the Protected Information status of any data specified in Section 1.3.1.1, which does not have specific posting requirements, that data must be made available to the extent required under Section 12, Market Information System.

(7)	Information that is no longer Protected Information, but not posted, including Dispatch Instructions, is available on request under the ERCOT Request for Records and Information Policy.  Requested information must be provided within a reasonable timeframe.  For Dispatch Instructions, the information may be requested with respect to a specific Resource, where applicable, and by service type and Settlement Interval or as integrated over each Settlement Interval for Dispatch Instructions with sub-Settlement Interval frequency.

2.1	DEFINITIONS

Full Interconnection Study (FIS)

The set of studies conducted by a Transmission Service Provider (TSP) for the purpose of identifying any electric system improvements or enhancements required to reliably interconnect  a new All-Inclusive Generation Resource consistent with the  provisions of Planning Guide Section 5, Generation Resource Interconnection or Change Request. These studies may include steady-state studies, system protection (short-circuit) studies, dynamic and transient stability studies, facility studies, and sub-synchronous oscillation studies.

2.2 ACRONYMS AND ABBREVIATIONS

FIS		Full Interconnection Study