## Sheet1
Component | Units | Technical Info Currently Requested | Amplyfing Questions/Comments
Inverter | p.u. | Subtransient Reactance X'',(Instantaneous Fault Current Period) (unsaturated) | Is data applicable to this technology? Is it readily available from manufacturer/EPC?
Inverter | p.u. | Transient Reactance, X' (First 2-3 cycles of the Fault) (unsaturated) | "
Inverter | R in p.u. | Negative Sequence Z (unsaturated) | "
Inverter | X in p.u. | Negative Sequence Z (unsaturated) | "
Inverter | R in p.u. | Zero Sequence Z (unsaturated) | "
Inverter | X in p.u. | Zero Sequence Z (unsaturated) | "
Inverter | p.u. | Subtransient Reactance X'',(Instantaneous Fault Current Period) (saturated | "
Inverter | p.u. | Transient Reactance, X' (First 2-3 cycles of the Fault) (saturated) | "
Inverter | R in p.u. | Positive Sequence Resistance (saturated) | "
Inverter | X in p.u. | Synchronous Reactance X (After 4 cycles of the fault) (saturated) | "
Inverter | R in p.u. | Negative Sequence Z (saturated) | "
Inverter | X in p.u. | Negative Sequence Z (saturated) | "
Inverter | R in p.u. | Zero Sequence Z (saturated) | "
Inverter | X in p.u. | Zero Sequence Z (saturated) | "
Inverter | p.u. | Grounding Resistance For An Impedance Grounded Generator In p.u. (100 MVA Base) | "
Inverter | p.u. | Grounding Reactance For An Impedance Grounded Generator In p.u. (100 MVA Base) | "
Inverter | p.u. | Instantaneous Controlled Fault Current Magnitude (Multiple of full Load current) for Turbine Types 3 & 4 | "
Inverter | p.u. | Controlled Fault Current Magnitude At 2 to 3 cycles after fault (Multiple of full Load current) for Turbine Types 3 & 4 | "
Inverter | p.u. | Controlled Fault Current Magnitude At 4 plus cycles after fault (Multiple of full Load current) for Turbine Types 3 & 4 | "
Inverter | p.u. | Impedance Z | Original request referenced wind turbine pad-mount transformers. Is data applicable to this technology? Is it readily available from manufacturer/EPC?
Inverter |  | X/R Ratio | Original request referenced wind turbine pad-mount transformers. Is data applicable to this technology? Is it readily available from manufacturer/EPC?
Inverter | p.u. | Zero Sequence Z | Original request referenced wind turbine pad-mount transformers. Is data applicable to this technology? Is it readily available from manufacturer/EPC?
Inverter |  | Zero Sequence X/R Ratio | Original request referenced wind turbine pad-mount transformers. Is data applicable to this technology? Is it readily available from manufacturer/EPC?
Most Limiting | Deg F | Design Max Ambient Temperature
Most Limiting | Deg F | Design Min Ambient Temperature
? | % | Governor Droop Settings
? | Hz | Goverrnor Dead-band
Entire Facility | MW | PVGR nameplate DC Capacity | The request presupposes that the panels are the limiting power generating element. Is this always true?
Entire Facility | MW | PVGR nameplate AC Capacity | The request presupposes that the panels are the limiting power generating element. Is this always true?
Panels | % | Panel Efficiency | Readibly available from manufacturer?
Panels | % / degrees C | Panel temperature Coefficient of power
Panels | Degrees C | Nominal Operating Cell Temperature
Entire Facility | MW | MW1 | For PV technology, is reactive power output dependant on real power output?
Entire Facility | MVAr | Lagging MVAr limit associated with MW1 output | "
Entire Facility | MVAr | Leading MVAr limit associated with MW1 output | "
Entire Facility | MW | MW2 | "
Entire Facility | MVAr | Lagging MVAr limit associated with MW2 output | "
Entire Facility | MVAr | Leading MVAr limit associated with MW2 output | "
Entire Facility | MW | MW3 | "
Entire Facility | MVAr | Lagging MVAr limit associated with MW3 output | "
Entire Facility | MVAr | Leading MVAr limit associated with MW3 output | "
Entire Facility | MW | MW4 | "
Entire Facility | MVAr | Lagging MVAr limit associated with MW4 output | "
Entire Facility | MVAr | Leading MVAr limit associated with MW4 output | "
Entire Facility | MW | MW5 - Unity Power Factor | "
Collector System | Integer | From | Provided that ALL cables are identified in the power generating portion of the site, and the cable characteristics are known, is the wiring scheme simple enough to identify a "From" element and "To" element to calculate meaningful collection system impedance values.
Collector System | integer | To | "
Static VAR Compensator |  |  | Are shunt capacitors/reactors, or SVCs normally installed at solar facilities?