## Slide 1: NERC Operating Committee Update ERCOT NRWG Meeting
Alan Bern
July 16, 2015

## Slide 2: NERC Standing Committees
Operating Committee (OC)
Planning Committee (PC)
Compliance & Certification Committee (CCC)
Critical Infrastructure Protections Committee (CIPC)
Reliability Issues Steering Committee (RISC)

## Slide 3: OC Members
Chair (Jim Case) and Vice-chair (Lloyd Linke)
RE representatives (Alan Bern – Texas RE Representative)
Cooperatives
Electricity Marketer
Federal/Provincial
State Government
Investor Owned Utility
ISO-RTO
Large End-use Electricity Customer
Merchant Electricity Generator
Small End-Use Electricity Customer
State/Municipal
Transmission Dependent Utility
All members are on two year terms and are voted into membership

## Slide 4: NERC OC Strategic Plan (Five Years)
Purpose
The purpose of NERC OC’s Strategic Plan is to establish strategic direction for the NERC OC, in conjunction with the ERO’s vision. The Plan seeks to focus the OC onto operational reliability matters and outlines the Guiding Principles under which the NERC OC will operate over the next five years.
Guiding Principles
Coordinate with the Reliability Issues Steering Committee (RISC) identified priorities and align the OC strategic plan with ERO’s strategic plan.
Continually strive for excellence in event analysis (EA), emerging cause code trending and information sharing.
Maintain the structure, processes and relationships with other NERC standing committees, and foster relationships with other forums, to achieve high levels of reliability for the BES.
Maintain and enhance reliability through the pursuit of clear NERC Reliability Standards, reliability guidelines, NERC Alerts, interpretations, lessons learned, and other operational compliance clarifications.
Maintain high levels of expertise to provide sound conclusions and opinions on operational issues.

## Slide 5: Goal – OC 1
To investigate emergent issues impacting the reliability of the BES.
Action Plan – OC 1
The OC will actively participate, recommend emergent operating issues, and help establish the priorities to RISC, while engaging with the appropriate parties to develop the necessary mitigation process.
The OC will review the issues at each standing committee meeting for status and progress and re-prioritize (as necessary).
The OC will assess and inform the industry on the evolving reliability impacts of the continuous changes in the topology of the Interconnection.
  The OC will continue to identify operating challenges, reliability impacts, and operating trends associated with generation and demand-side resource changes.
  The OC will continue to assess and inform the industry on the reliability impacts of natural gas/electric generation interdependences.
The OC will assess and inform the industry on the evolving reliability impacts of the fundamental changes to interconnected operations, such as changes to the footprints of reliability coordinators, balancing authorities, transmission operators, Interconnections, and HVDC ties, etc.
The OC will assess and inform the industry on the reliability impacts from possible high-impact, low-frequency events that could have unacceptable operational consequences on the BES.

## Slide 6: Goal – OC 2
Utilize the results of the Event Analysis Process to improve the reliable operation of the BES.
Accomplishing this goal requires a two-pronged approach. First, the OC will focus on event prevention by providing industry with information associated with good industry practices and emerging tools, technology and techniques. Hence, information can be shared with the intended benefit of avoiding events. Second, the OC will continue to champion and enhance the EA program and use it to rapidly disseminate lessons learned, from which industry may profit through enhanced operational reliability.
Action Plan – OC 2
The OC will assure the Events Analysis Subcommittee (EAS) is staffed with technical leaders allowing EAS to inform the industry of good industry practices as well as emerging trends identified through the EA process.
    Through emerging lessons learned, the EAS may recommend:
    Development of reliability guidelines
    Development of NERC Alerts
    Improvements to existing Reliability Standards
    New Reliability Standards
    The EAS will present root causes and lessons learned at OC meetings with the objective of sharing information on industry improvement opportunities.
    The EAS will manage the dissemination of information such as lessons learned and good industry practices.
    The EAS will leverage industry groups (such as the North American Transmission Forum and Generation Forum) in the development of quality lessons learned.
    The EAS, in coordination with the Personnel Subcommittee, will recommend training and education as a result of lessons learned and emerging cause code trends.
    The EAS will annually survey the Regional Entities to determine if recommendations associated with lessons learned are being implemented and if not why. The EAS will report the survey results to the OC.
The OC will encourage the use of lessons learned by continuing to inform the industry of current and past lessons learned, through the use of NERC news letter, and other open forms of communications (such as industry webinars and reliability guidelines).

## Slide 7: Goal – OC 3
The OC will be proactive in the review of the proposed Reliability Standards under development or improvement.
Action Plan – OC 3
The OC will:
Review, discuss, and develop recommendations for the standard development teams
Recommend to Standards Committee revisions to standards or the retirement of existing standards as appropriate
Encourage appropriate OC involvement in the informal standards development process
Prepare responses to requests for interpretations
Establish and maintain a method for active management of field trials associated with standards development, including the leadership of the field trial (as necessary).

## Slide 8: Goal – OC 4
Improve the depth of NERC reports to include operations perspectives.
The OC will be proactively engaged in the development of NERC reports by assigning subcommittees or appointing representatives to groups in which operations reliability perspectives will be beneficial. Key findings and recommendations within NERC reports serve as the technical basis for NERC Reliability Standards, project prioritization, compliance improvement, assessments, and critical infrastructure protection, as well as a roadmap into the future. By providing early input into NERC efforts, the OC can provide a valuable service to the industry, as well as support NERC in addressing its top priorities.
Action Plan – OC 4
  The OC will direct the Resources Subcommittee to coordinate with the NERC Performance Analysis Subcommittee to provide seasonal reports that include operational risk analyses, assessments, metrics, and risk evaluation associated with frequency including post analysis of most recent operating season.
  The OC will direct the Operating Reliability Subcommittee to coordinate with the NERC Reliability Assessment Subcommittee to provide seasonal reports that include operational risk analyses and evaluation.
  The OC will review and endorse NERC’s annual State of Reliability report.
  The OC will assure OC representation, and will collaborate, with the appropriate subgroups on issues such as:
    Reliability metrics
    Operational Security
    Interconnection frequency response
    Performance analysis
    Essential Reliability Services

## Slide 9: Reports
State of Reliability Report
AC Substation Equipment Task Force Report
Integration of Variable Generation Task Force Report
Essential Reliability Services Report
    Simplify the ERS message and make it less technical for policymakers, but keep the technical language for justification.
    Aggressive schedule to complete for OC review by December 2015.
    ERCOT input

## Slide 10: Reliability Guidelines
Generating Unit Operations During Complete Loss of Communications
    Issued for comments and approved
    GOs unhappy with confusion
    OC re-wrote and issued for comments a second time
    Approved
    Key is that GOs should work with their RCs and use recommendation or develop plan that meets their needs.

## Slide 11: Field Tests:
Conclusions
The BAAL Requirement focuses on Frequency Control for the Interconnection
The correlation between CPS1 and BAAL always drives corrective actions to support frequency
The BAAL is a proportional allocation of responsibility across all BAs.
BAAL captures all conditions that impact frequency
The SDT believes the BAAL time duration of 30 consecutive clock minutes has proven to be appropriate
The SDT believes the BAAL Field Trial results validate the FTLs at 3 times Epsilon 1
The BAAL design does not appear to have any effect on NERC Inadvertent Interchange
The BAAL design does not appear to have any effect on congestion management/unscheduled flow within the WI
The BAAL does not appear to have an adverse impact on Frequency Error
Recommendation
Continue the Field Trial until BAL-001-2 becomes effective
Encourage additional BA participation
Next Steps
Provide the preliminary Field Trial Report to the NERC OC
BAL-002-2

## Slide 12: Presentations
EAP Lessons Learned
  Cognitive Overload:
    Putting more and more on system operators. Need to emphasize not adding tasks to real-time operators.
    Information overload
  Westar Energy Lesson Learned:
    Generator trip lead to complete loss of power to plant due to inadequate handling of emergent work
  Toronto Blackout on July 8, 2013
    Storms and flooding lead to loss of AC station service, communications, mechanical/pneumatic equipment issues and eventually to voltage reduction and rolling blackouts.
  Hydro Quebec Summer 2013
    Severe drought, forest fires and abnormally closed breaker led to fault that lasted 4:21 minutes followed by another fault that lasted 2:05 minutes.
      Loss of 3,950 MW of internal load, Tripped 5 HVDCs ties (3,200 MW), tripped 12 SVCs and 1 SC, Tripped 4 735kV lines (overvoltage protection)
      Situational awareness, communicate with other entities, magnitude of fires, maintenance protection procedures.
New York ISO winter 2013 – 2014 Electric / Gas Coordination

## Slide 13: Presentations Continued
  Risk Based Registration
  2014 Polar Vortex Report Update
  GridEx III
2014 Long-Term Reliability Assessment
Key Finding #1: Reserve Margin Projections Are Declining in Several Assessment Areas across North America
Key Finding #2: Environmental Regulations Pose New Uncertainties for System Planners and Require Further Assessment
Key Finding #3: A Rapidly Changing Resource Mix Highlights the Need for New Approaches to Assess Reliability
RRM Dashboard
Lessons learned by RE, event analysis categories by RE, NERC Alerts issued,
DOE WWSIS – 3: Western Frequency Response and Transient Stability Study
FAC-003 Research Project: Overview of Validation Testing of Minimum Vegetation Clearance Distances
Standards Under Development
    CIP-014-1 Update, TOP/IRO Reliability Standards Update, PRCs Update

## Slide 14: December 9-10 NERC Operating Committee Meeting Texas RE Update
Approved the revised Reliability Guideline: “Generating Unit Operations during Complete Loss of Communications” for a 45-day comment period.
Approved the new Reliability Guideline: “Reliability Coordinators / Balancing Authorities / Transmission Operators Communication: Loss of Real-time Reliability Tool Capability / Loss of Equipment Significantly Affecting ICCP Data” for 45-day comment period.
Endorsed the ACSETG (AC Substation Equipment Task Force) final report – Subject to recommendations being refined into actionable business plan with defined priorities for implementation purposes.
Endorsed the initial draft of the ERSTF (Emergency Response Services Task Force) Phase 2 document and requirement added to include a proof of concept associated with the four measures and a detailed project schedule and timeline.
2015 – 2019 NERC OC Strategic Plan review and update led by Alan Bern

## Slide 15
You could be the next Texas RE representative on the NERC Operating Committee!
Elections will be held next year for
June 2016 – June 2018 term.