Date:	July 30, 2015

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR684, Remove Annual RUC Impact Report Requirement [ERCOT] - NPRR692, Removal of MIS Posting Requirement of DAM Credit Parameters [ERCOT] - NPRR693, Incorporation of “Threshold Values for Competitive Constraint Test” into the Protocols [ERCOT] - NPRR694, Non-Spin Schedule Requirements [GDF Suez] - NPRR695, Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation [ERCOT] - NPRR699, Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other [RCWG] - NPRR700, Utilizing Actual Fuel Costs in Startup Offer Caps [RCWG] - NPRR701, As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market [ERCOT] - NPRR703, Clarification of Disclosure Requirements for GINR Study Information [ERCOT] - NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity [ERCOT] - NPRR710, Removal of ORDC Phase 2 Language and Modification to HASL Calculation [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR684, Remove Annual RUC Impact Report Requirement [ERCOT] Proposed Effective Date: September 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the requirement for ERCOT to report to TAC every January on the market impacts of Reliability Unit Commitment (RUC). PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR684 as amended by the 5/8/15 WMS comments. On 6/11/15, PRS unanimously vote to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR684. - NPRR692, Removal of MIS Posting Requirement of DAM Credit Parameters [ERCOT] Proposed Effective Date: Upon System Implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Market Information System (MIS) and ERCOT.com; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the posting requirement for Day-Ahead Market (DAM) Credit Parameters to the MIS Public Area. PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR692 as submitted. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR692. - NPRR693, Incorporation of “Threshold Values for Competitive Constraint Test” into the Protocols [ERCOT] Proposed Effective Date: Upon System Implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to MIS and ERCOT.com; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates the Other Binding Document “Threshold Values for Competitive Constraint Test” into the Protocols. PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR693 as submitted. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report as amended by the 6/1/15 ERCOT comments and Impact Analysis for NPRR693. - NPRR694, Non-Spin Schedule Requirements [GDF Suez] Proposed Effective Date: September 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR defines the Real-Time Inter-Control Center Communications Protocol (ICCP) scheduling requirements for Off-Line Non-Spinning Reserve (Non-Spin), On-Line Non-Spin, and On-Line Non-Spin using Off-Line power augmentation technology. PRS Decision: On 5/14/15, PRS voted to recommend approval of NPRR694 as submitted. There was one abstention from the Cooperative Market Segment. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR694. - NPRR695, Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation [ERCOT] Proposed Effective Date: September 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to post all Notifications of Suspension of Operations (except those for units on Forced Outage) and all Notifications of Change of Generation Resource Designation to the MIS Secure Area and to issue a Market Notice within five Business Days of receipt; clarifies that retirements of Generation Resources are subject to the modeling timelines in Section 3.10.1, Time Line for Network Operations Model Changes; proposes revisions to address the Protected Information status of information concerning Mothballed Generation Resources; and clarifies the definitions of Decommissioned Generation Resource and Mothballed Generation Resource. PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR695 as submitted. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR695. - NPRR699, Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other [RCWG] Proposed Effective Date: Upon System Implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR sets the Energy Offer Curve Caps for make-whole calculations for “Other” Resources to the System-Wide Offer Cap (SWCAP), and creates Energy Offer Curve Caps for make-whole calculations for Wind Generation Resources and Photovoltaic Generation Resources (PVGRs) set at $0.00/MWh. PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR699 as submitted. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR699. - NPRR700, Utilizing Actual Fuel Costs in Startup Offer Caps [RCWG] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1340 ERCOT Impact Analysis: Between $20k and $30k; no impacts to ERCOT staffing; impacts to S&B and Commercial Systems Integration (CSI); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates actual fuel costs into the DAM and RUC procurement process and DAM Make-Whole Payment calculation. If approved, this NPRR should be implemented with NPRR 617, Energy Offer Flexibility. PRS Decision: On 5/14/15, PRS unanimously voted to recommend approval of NPRR700 as submitted. On 6/11/15, PRS unanimously voted to endorse and forward to TAC the 5/14/15 PRS Report as amended by the 6/4/15 ERCOT comments, and Impact Analysis for NPRR700 with a recommended priority of 2015 and rank of 1340. - NPRR701, As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market [ERCOT] Proposed Effective Date: September 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds additional billing determinants to clarify the Settlement calculations and to show distinction between the subscript (m), which denotes a Supplemental Ancillary Services Market (SASM) and subscript (rs) used to describe a Reconfiguration SASM (RSASM). PRS Decision: On 6/11/15, PRS unanimously voted to recommend approval of NPRR701 as amended by the 6/4/15 ERCOT comments. On 7/16/15, PRS unanimously voted to endorse and forward to TAC the 6/11/15 PRS Report as amended by the 6/26/15 ERCOT comments and as revised by PRS, and the Impact Analysis for NPRR701. - NPRR703, Clarification of Disclosure Requirements for GINR Study Information [ERCOT] Proposed Effective Date: Upon system implementation of Planning Guide Revision Request (PGRR) 044, MIS Classification of GINR Study Information. ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies ERCOT’s disclosure obligations concerning Full Interconnection Study (FIS) studies, allowing disclosure of all FIS studies except stability studies and sub-synchronous oscillation studies via the MIS Public Area. PRS Decision: On 6/11/15, PRS unanimously voted to recommend approval of NPRR703 as amended by the 5/13/15 CenterPoint Energy comments. On 7/16/15, PRS unanimously voted to endorse and forward to TAC the 6/11/15 PRS Report and Impact Analysis for NPRR703. - NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity [ERCOT] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1350 ERCOT Impact Analysis: Between $20k and $30k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the calculation of Physical Responsive Capability (PRC) to more accurately indicate the amount of capacity that is available to respond to a frequency disturbance, as discussed during the Energy Emergency Alert (EEA) Workshop. PRS Decision: On 6/11/15, PRS unanimously voted to recommend approval of NPRR706 as amended by the 6/4/15 WMS comments. On 7/16/15, PRS unanimously voted to endorse and forward to TAC the 6/11/15 PRS Report and Impact Analysis for NPRR706 with a recommended priority of 2015 and rank of 1350. - NPRR710, Removal of ORDC Phase 2 Language and Modification to HASL Calculation [ERCOT] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1360 ERCOT Impact Analysis: Between $20k and $30k; no impacts to ERCOT staffing; impacts to EMS and Enterprise Information Services (EIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes Operating Reserve Demand Curve (ORDC) Phase 2; changes the High Ancillary Service Limit (HASL) calculation to remove Non-Frequency Responsive Capacity (NFRC) included in a Generation Resource’s High Sustained Limit (HSL), thereby creating the opportunity for an ORDC payment for the NFRC capacity through Ancillary Service imbalance Settlement; and clarifies the HASL definition between use in the Resource limit calculator, RUC optimization, and the capacity shortfall ratio share. PRS Decision: On 6/11/15, PRS unanimously voted to recommend approval of NPRR710 and its accompanying Other Binding Document, Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder (Attachment 1) as submitted. On 7/16/15, PRS unanimously voted to endorse and forward to TAC the 6/11/15 PRS Report as amended by the 7/8/15 ERCOT comments and as revised by PRS; its accompanying Other Binding Document, Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder, (Attachment 1) as amended by the 7/8/15 ERCOT comments; and the revised Impact Analysis for NPRR710 with a recommended priority of 2015 and rank of 1360. Revision Requests Rejected None. Revision Requests Withdrawn None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the August 13, 2015 PRS Meeting - NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides [ERCOT] - NPRR704, Revisions to the Size of Aggregate Generation Resources [STEC] - NPRR714, Real-Time Make-Whole Payment for Exceptional Fuel Cost [GDF Suez] - SCR786, Retail Market Test Environment [TDTWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources [ERCOT] - NPRR663, Ancillary Service Insufficiency Actions [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR689, Settlement of Ancillary Service Assignment in Real-Time Operations [QMWG] - NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 [PDCWG] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral [ERCOT] - NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process [ERCOT] - NPRR707, Provision of Transmission System Voltage Telemetry to QSEs [Luminant] - NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts [ERCOT] - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA [IDR Meter Protocol Requirement Threshold Workshop] - NPRR712, Clarification of RUC Process [NRG] - NPRR713, Reactive Power Testing Requirements [Luminant] - NPRR715, Clarification of Generator Modeling in the Market System [ERCOT] New Revision Requests Scheduled for Consideration at the August 13, 2015 PRS Meeting - NPRR716, Corrections to Aggregated Load and Participant Specific Generation Data Requirements [ERCOT] - NPRR717, Clarification of EPS Metering Exception for ERS Generation [Austin Energy] - NPRR718, Correct Requirement for Posting AML Data [ERCOT] - NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold [COPS] - NPRR720, Update to Settlement Stability Reporting Requirements [COPS] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr