## Slide 1: Retail Market Subcommittee Update to TAC
Kathy Scott
July 30, 2015
<number>
Notes: <number>

## Slide 2: RMGRR129 Voting Recommendation:
RMGRR129, Revision to Customer Rescission Completion Timeline (Vote)
  This Retail Market Guide Revision Request (RMGRR) provides additional guidelines regarding specific timing and responsibilities for a Competitive Retailer (CR) to complete a Customer Rescission MarkeTrak issue after completion of a Switch Request. Once a Customer Rescission MarkeTrak issue has been submitted, the losing CR has two Business Days to agree to the Customer Rescission MarkeTrak issue, and another two Business Days to send a backdated 814_16, Move-In Request, once the Transmission and/or Distribution Service Provider (TDSP) has updated the MarkeTrak issue status to “Ready to Receive.”
    05/28/15: TAC unanimously approved to “Table” RMGRR129 to allow MPs attending RMS time to develop an implementation schedule that works for all affected MPs.
    07/30/15: Since RMS didn’t meet in July, therefore, TAC should continue to “Table” RMGRR until RMS considers the MarkeTrak Taskforce’s recommended implementation timeline that will be presented during the August 4th RMS meeting.
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 3: RMGRR130 Voting Recommendation:
RMGRR130, Alignment of Section 7, Market Processes, with TDSP Terms & Conditions Tariff Effective 01/15/2015 (Vote)
  This Retail Market Guide Revision Request (RMGRR) synchronizes Section 7, Market Processes with Public Utility Commission of Texas (PUCT), Rulemaking Proceeding to Amend PUC SUBST. R. §25.214 Relating to Terms and Conditions of Retail Delivery Service Provided by Investor Owned Transmission and Distribution Utilities (TDUs) and Pro-Forma Retail Delivery Tariff effective 01/15/2015.
    05/05/15 RMS Discussion/Vote: Motion to Approve as amended by the April 22, 2015 TX SET comments and the May 5, 2015 RMS edits:
    06/02/15: RMS Unanimously Approved RMGRR130 Impact Analysis
    07/30/15: There are two timeline corrections needed for Table 15.
      Payments Made on a Retail Business Day: Between 8:00 and (replace with Before1200)
      Payments Made on a Retail Business Day: Between 1900 and 0800 (replace with 2400)
      If TAC agrees to these edits, TAC’s motion would be to Approve RMGRR130 as amended by TAC
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 4: RMGRR131-- An RMS Voting Update:
RMGRR131, Guidelines for Notification of Invoice Dispute (Vote)
  This Retail Market Guide Revision Request (RMGRR) will align the Retail Market Guide with current market practices.
    7.8.2, Guidelines for Notification of Invoice Dispute
    Market efficiencies or enhancements
  There were two sets of comments submitted to ERCOT’s Revision Listserv for RMGRR131 –
    ERCOT’s and TXU Energy’s comments required additional review and discussions by the MarkeTrak Taskforce Subject Matter Experts (SME’s) during their May 7th scheduled meeting.
  06/02/15: RMS unanimously Approved RMGRR131 language with MTTF comments. Impact Analysis will be returned to RMS for consideration during the 8/4/15 RMS meeting.
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 5: RMGRR132 – An RMS Voting Update:
RMGRR132, NOIE Disconnect and Reconnect Process (Vote)
  Description: This Retail Market Guide Revision Request (RMGRR) provides Non Opt-In Entities (NOIEs) with the ability to disconnect retail Customers for non-payment by integrating them into Section 7.6, Disconnect and Reconnect for Non-Payment Process. It also exempts NOIEs from the Texas Standard Electronic Transaction (TXSET) process if they utilize it less than 25 times per month.
  06/02/15 RMS Discussion/Vote: Tom Burke, Golden Spread Electric Cooperative, is trying to develop a market solution that allows a method of Disconnecting Wind Units for Non-Payment that are energized by TDSP’s (Retail) transmission lines through a by-directional meter. Currently because the disconnection may not occur for several months Golden Spread Electric Cooperatives requires deposits that covers 6 months of potential usage, which could be significant cost to end the use customer. GSEC provided the following additional details on this issue:
    Motion to Table RMGRR132 and Refer to TX SET for discussion and recommendation was unanimously Approved .
    TX SET discussed on July 21st and their recommendation to RMS will be to continue to “Table RMGRR132” and Refer to ROS – Concerns: Does ERCOT need to be involved when a disconnection for non-payment affects a Generation Resource?
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 6: NPRR711– An RMS Voting Update:
NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA (Vote)
  This Nodal Protocol Revision Request (NPRR) increases the Interval Data Recorder (IDR) Meter mandatory installation requirement from 700 kW/kVA to1.5 MW/MVA. In stakeholder discussions during the joint RMS/COPS IDR Meter Protocol Requirement Threshold Workshops, there were concerns expressed regarding the elimination of the mandatory IDR Meter threshold.
    These concerns included: unknown and known impacts to Transmission and/or Distribution Service Providers (TSDPs) based upon their current Tariff concerning the application and invoicing of 4CP, unknown impacts to current 4CP Demand response volumes; and impacts to ERCOT’s Load forecasting processes unless these Loads were identified by a new profile assignment. Task Force participants indicated a desire that new profile codes not be introduced due to the cost impacts to their organizations resulting from IT development, testing, and implementation of multiple new Load Profiles when that may not be the best use of budget dollars.
  06/02/15 RMS : RMS unanimously directed Workshop leadership to submit Draft NPRR to PRS Revision Request Listserv for number assignment and 21 day comment period.
  07/16/15 PRS: NPRR711 was “Tabled” at PRS to give Market Participants additional review time and in addition for RMS Leadership to address any of the Market’s concerns during the August 4th RMS meeting.
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 7: SCR786: An RMS Voting Update
SCR786, Retail Market Test Environment (Vote)
  This System Change Request (SCR) instructs ERCOT to develop a new retail market test environment, in addition to the current Certification (CERT) environment, that mimics ERCOT’s production environment functionality. This new retail market testing environment will provide flexibility and availability for ad-hoc testing requests by Market Participants and will reduce the overall risk to the retail market by allowing Market Participants to fully test internal projects before going live in production.
    06/02/15 RMS: Motion to direct TDTWG to submit Draft SCR to the PRS Revision Request Listserv for number assignment was unanimously approved.
    07/16/15 PRS: PRS approved SCR 786, however, there were concerns voiced about the cost to implement. ERCOT stated it will take 2 months to bring IA back to PRS in order for ERCOT to fully examine all options to minimize cost.
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 8: Advanced Metering Working Group (AMWG)
July 30, 2015
06/02/15 RMS: Three Motions were considered by RMS for AMWG’s Change Request 2015-029, 2015-035, 2015-036, 2015-037 and 2015-039. Motions were as follows:
  Motion to Approve all five as a group was superseded by a Motion to Table all five for 2 months until the August 4th RMS meeting.
    Motion to Table Failed: 35.5 (Y) 57.5 (N) 7 Abstain
  Motion to divide and vote for each one individually:
    Motion to Divide Failed: 38.5 (Y) 58.0 (N) 4 Abstain
  Original Motion to Approve all five Change Requests as a group and RMS will review all Change Requests previously approved by RMS at the August or September RMS based on the results of the PUCT Memo recommendations in reference to the SMT Transition Project:
    Motion to Approve all five Change Requests 2015-029, 2015-035, 2015-036, 2015-037 and 2015-039 carried with 6 Abstentions.
    http://www.ercot.com/content/wcm/key_documents_lists/54210/09.__AMWG_Supporting_Docs_RMS_20150602.zip
RMS Update to TAC
<number>

## Slide 9: AMWG and Smart Meter Texas (SMT)
Change Requests Implementation Cost Estimates (Vote)
  AMWG Change Requests 2014-018
    Motion to Table until the August 4th RMS meeting due to SMT transition project still pending at PUCT (Project 42786) and Distributed Generation Workshop scheduled June 18th, , therefore, Market Participants would like to see those events concluded before moving this Change Request forward.
      Motion to Table until the August 4th RMS meeting was approved with 1 abstention.
Smart Meter Texas (SMT)
  Any new SMT projects, system enhancements and/or new functionality is currently “On Hold” at SMT due to PUCT Project 42786 “REVIEW OF ADVANCED METERING SYSTEM WEB PORTALS” is still pending recommendations and PUCT Approval.
  Under PUCT Project 42786, the Retail Market Subcommittee (RMS) , the Joint TDSPs (JDOA) and ERCOT are looking for guidance from Commissioners concerning : ” What will be the Future of SMT?”
    http://interchange.puc.state.tx.us/WebApp/Interchange/application/dbapps/filings/pgControl.asp?TXT_UTILITY_TYPE=A&TXT_CNTRL_NO=42786&TXT_ITEM_MATCH=1&TXT_ITEM_NO=&TXT_N_UTILITY=&TXT_N_FILE_PARTY=&TXT_DOC_TYPE=ALL&TXT_D_FROM=&TXT_D_TO=&TXT_NEW=true
July 30, 2015
RMS Update to TAC
<number>

## Slide 10: MarkeTrak Taskforce (MTTF)
06/02/15 RMS: RMS agreed to remand RMGRR129 to the MarkeTrak Taskforce (MTTF) and to delay Sunsetting MTTF due to additional action items, such as:
    Expecting a recommendation to RMS from MTTF on an implementation timeline for RMGRR129 during the August 4th 2015 RMS meeting
    Compile attendance and summarize the Inadvertent Gain (IAG) Post-Training survey responses for all three IAG Training Sessions held in Austin, Houston and Dallas during May and June 2015.
    IAG Training reached:
July 30, 2015
RMS Update to TAC
<number>

## Slide 11: Retail Market Training Taskforce (RMT TF)
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 12: ERCOT’s IT Updates!
ERCOT’s Retail System’s Unplanned Outage Red Flag Notification:
    http://www.ercot.com/content/wcm/key_documents_lists/54210/10.__Communication_of_unplanned_retail_system_issues.pptx
    What is it?
      First alert of unplanned retail system issues
      A flag on ERCOT.com
      Coupled with a system generated notice
      During and after normal business hours
      Removed when issue is resolved
    What type of outages / issues?
      Retail transaction processing, this includes NAESB unplanned outages
      MarkeTrak
      Retail MIS
    How will I be notified of unplanned retail system issues?
      System generated notice RetailOperationIssues@lists.ercot.com
July 30, 2015
RMS Update to TAC
<number>

## Slide 13: ERCOT’s IT Updates!
ERCOT’s Retail System’s Unplanned Outage Red Flag Notification:
    What will the system generated notice contain?
      A predetermined message that ERCOT is experiencing issues with:
        Retail Transaction Processing
        MarkeTrak
        Retail MIS
    Will a follow up market notice be sent?
      Yes
        During business hours
        For issues lasting 30 minutes or longer
    Next steps?
      ERCOT
        Finalize procedures
        Create e-mail distribution list
        Market Notice
      RMS/COPS(CSWG)
        COPMG changes
July 30, 2015
RMS Update to TAC
<number>
Notes: <number>

## Slide 14: Joint RMS/WMS Workshop I:
“Improving 3rd Party Access to Smart Meter Texas”
    July 23, 2015 Workshop I Day 1-
      Attendance includes ERCOT, TDSPs, CRs, PUCT Staff and various 3rd Party Representatives from in and outside of Texas—GREAT Turnout!!!
        78 Attendees : Conference Room 206 ERCOT Met Center
        Key Documents reviewed and discussed:
        http://www.ercot.com/content/wcm/key_documents_lists/64992/Day_1_07_23_15_Workshop_I_FINALv2.pptx
        http://www.ercot.com/content/wcm/key_documents_lists/64992/Joint_RMS_WMS__Workshop_1_Meeting_Agenda_07_23_15_FINALv2.docx
July 30, 2015
RMS Update to TAC
<number>

## Slide 15: Joint RMS/WMS Workshop I:
“Improving 3rd Party Access to Smart Meter Texas”
    July 24, 2015 Workshop I Day 2-
      Attendance includes ERCOT, TDSPs, CRs, PUCT Staff and various 3rd Party Representatives from in and outside of Texas—it was another GREAT Turnout, especially for a Friday Workshop!!!
        64 Attendees: Conference Room 206 ERCOT Met Center
        Key Documents reviewed and discussed:
        http://www.ercot.com/content/wcm/key_documents_lists/64998/Day_2_07.24.15_Workshop_I_FINALv2.pptx
        http://www.ercot.com/content/wcm/key_documents_lists/64998/Joint_RMS_WMS__Workshop_1_Meeting_Agenda_Day_2_07_24_15_FINALv2.docx
        http://www.ercot.com/content/wcm/key_documents_lists/64998/20141020_Third_Party_Access_to_SMT_v1_0_FINAL.docx
    Announcement:
        RMS/WMS Workshop II: Improving 3rd Party Access tentatively scheduled for Friday, October 16, 2015.
July 30, 2015
RMS Update to TAC
<number>

## Slide 16: Questions?
<number>
July 30, 2015
RMS Update to TAC