| NPRR Number | 684 | NPRR Title | Annual RUC Impact Report Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 30, 2015 |  |  |
| Proposed Effective Date |  | September 1, 2015 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 5.8, Annual RUC Reporting Requirement (new) 6.4.4.1, Energy Offer Curve for RUC-Committed Resources |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the requirement for ERCOT to report to the Technical Advisory Committee (TAC) every January on the market impacts of Reliability Unit Commitment (RUC). |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: |  |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR684 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 2/18/15, NPRR684 and an Impact Analysis were posted. - On 3/12/15, PRS considered NPRR684. - On 4/7/15, WMS comments were posted. - On 4/9/15, Luminant comments were posted. - On 5/5/15, ERCOT comments were posted. - On 5/8/15, a second set of WMS comments were posted. - On 5/14/15, PRS again considered NPRR684. - On 6/11/15, PRS considered the 5/14/15 PRS Report and Impact Analysis for NPRR684. - On 7/30/15, TAC considered NPRR684. |  |  |
| PRS Decision |  | On 3/12/15, PRS unanimously voted to table NPRR684 and refer the issue to WMS. All Market Segments were present for the vote. On 5/14/15, PRS unanimously voted to recommend approval of NPRR684 as amended by the 5/8/15 WMS comments. All Market Segments were present for the vote. On 6/11/15, PRS unanimously vote to endorse and forward to TAC the 5/14/15 PRS Report and Impact Analysis for NPRR684. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/12/15, participants acknowledged the current report may no longer be needed, but requested WMS discuss what type of RUC report would be useful. On 5/14/15, there was no discussion. On 6/11/15, there was no discussion. |  |  |
| TAC Decision |  | On 7/30/15, TAC unanimously voted to recommend approval of NPRR684 as recommended by PRS in the 6/11/15 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/30/15, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR684. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Provides a more detailed view into the market impacts of RUC activities. |
| Quantitative Benefits | - None. |
| Impact to Market Segments | - None. |
| Credit Implications | - None. |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Resmi Surendran / David Thompson |
| E-mail Address | Resmi.Surendran@ercot.com / David.Thompson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3033 / 512-248-4519 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 040715 | Requested PRS continue to table NPRR684 for further review. |
| Luminant 040915 | Proposed a new Protocol section to detail relevant RUC-related impacts for an annual report to TAC. |
| ERCOT 050515 | Removed of some of the reporting items introduced in the 4/9/15 Luminant comments. |
| WMS 050815 | Restored some of the reporting items removed by the 5/5/15 ERCOT comments. |

Proposed Protocol Language Revision

5.8	Annual RUC Reporting Requirement

(1)

ERCOT shall report to the Technical Advisory Committee (TAC), each January, an assessment of market impacts and Settlements for the aggregate Reliability Unit Commitment (RUC) activity, delineated by type of RUC instruction as follows:

(a) 	RUC instructions issued for Ancillary Service shortages (failure to sufficiently procure one or more Ancillary Service markets in the Day-Ahead Market (DAM) or subsequent Supplemental Ancillary Service Markets (SASMs));

(b)	RUC instructions issued for irresolvable transmission system constraints;

(c) 	RUC instructions issued in anticipation of extreme cold weather/startup failures;

(d)	RUC instructions issued for capacity;

(e)	RUC instructions issued for system inertia; and

(f)	A summary of RUC Settlements;

(i)	RUC charges associated with RUC Make-Whole Amount Total per RUC, as defined in Section 5.7.4.1, RUC Capacity-Short Charge; and

(ii)	RUC Shortfall Total, as defined in Section 5.7.4.1.1, Capacity Shortfall Ratio Share.

6.4.4.1	Energy Offer Curve for RUC-Committed Resources

(1)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource has been committed by ERCOT as part of a Reliability Unit Commitment (RUC) process, the QSE shall ensure that an Energy Offer Curve that prices all energy from LSL to HSL at or above $1,500 per MWh for the Operating Hours in the RUC commitment period, has been submitted and accepted by ERCOT.

(2)	If the QSE receives a RUC Dispatch Instruction from ERCOT for its Generation Resource during the Operating Period that includes a RUC-Committed Hour, then the QSE shall be exempt from the submission timeline requirement specified in paragraph (1) above for the RUC-Committed Hours during the Operating Period.  The QSE shall submit the required Energy Offer Curve as soon as reasonably practicable after receipt of the RUC Dispatch Instruction for the RUC-Committed Hours in the Adjustment Period.

(3)	The requirement in paragraph (1) above is not applicable for Weekly Reliability Unit Commitment (WRUC)-instructed hours during which the Resource was Day-Ahead Market (DAM)-committed or QSE self-committed.