APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 4, 2014 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor Electric Delivery |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Firestone, Joel | Topaz Power |  |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative |  |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Weiss, Spencer | EDP Renewables |  |
| Vo, Trieu | CPS Energy |  |

Guests:

| Bell, Brad | E.ON |  |
| --- | --- | --- |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Feng, Zhihong | Powertech Labs |  |
| Gross, Blake | AEPSC |  |
| Hampton, Brenda | Luminant |  |
| Henry, Mark | Texas Reliability Entity |  |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos Electric Cooperative |  |
| Lane, Rob | Luminant |  |
| Nashawati, Eithar | Oncor |  |
| Niemeyer, Sydney | NRG |  |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Sharyland |  |
| Shaw, Pamela | CES |  |
| Turner, David | Lone Star Transmission |  |
| White, Laurie | AEP |  |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Conto, Jose |  |  |
| Frosch, Colleen |  |  |
| Lavas, Jamie |  |  |
| Manning, Brian |  |  |
| Springer, Agee |  |  |
| Stout, Matt |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. Bill Hatfield called the September 4, 2014 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Agenda Review There were no changes to the agenda.

Approval of ROS Meeting Minutes April 3, 2014 June 5, 2014 July 10, 2014 David DeTullio moved to approve the April 3, June 5, and July 10 2014 ROS meeting minutes as posted. Randy Ryno seconded the motion. The motion carried unanimously.

Technical Advisory Committee (TAC) Update Dana Showalter reviewed the disposition of items considered at the August 28, 2014 TAC meeting. Annual TAC/Subcommittee Structural and Procedural Review Mr. Hatfield reviewed discussion at the Annual TAC/TAC Subcommittee Structural and Procedural Review; noted the TAC request that subcommittees provide a 2014 Goals update, and that ROS would be able to preview that update at the next ROS meeting; and requested feedback regarding any efficiencies that might be achieved by combining groups. Mr. Hatfield also noted brief discussion of documents referenced in Other Binding Documents that are not, of themselves, an Other Binding Document, such as working group procedure documents; and that ERCOT would initiate an effort to move language from Other Binding Documents into the Protocols and Market Guides.

ERCOT Updates (see Key Documents) Maintenance/Improvement of Operational Checklist for Resource Interconnection Chad Thompson noted that most concern with the Resource Interconnection Handbook is related to the Stage 3: Synchronizing, Commissioning, and Commercial Operations checklist; reported that an internal effort is underway to improve the process; and offered to bring proposed revisions to ROS or a working group for initial review and comment. Ted Hailu added that Market Participants have expressed concern regarding the process for making and communicating changes with the Stage 3 checklist, and that he would report to ROS in October on efforts to make the checklist transparent, predictable, and traceable to the Protocols. Small Signal Stability Analysis of the ERCOT System Zhihong Feng presented Power Tech Labs’ Small Signal Stability Analysis of the ERCOT system. System Planning Report – June and July 2014 Jeff Billo presented the June and July 2014 System Planning Reports. Operations Report – June and July 2014 Agee Springer presented June and July 2014 Operations Reports. Update – Unit Start-up Failures, Trips, De-rates Mr. Thompson reported that, upon review of daily deltas in temperature, ERCOT Staff finds no high correlation to Reliability Unit Commitment (RUC) to address unit start-up failures, trips and de-rates. Mr. Thompson recommended that ERCOT Staff present its data to a working group, such as the Operations Working Group (OWG), for review before further discussion at ROS. The issue was not referred to a specific working group. Update – Future Ancillary Services Team (FAST) Dan Woodfin provided an update on the FAST Request For Proposal for a Cost Benefit Analysis. Update – North American Electric Reliability Corporation (NERC) Transmission Planning (TPL) Compliance Matt Stout provided an update on the planned January 1, 2015 implementation of NERC TPL-001-004, and committed to providing monthly updates. Mr. Stout noted that a cross-functional team of transmission planners and ERCOT Staff would likely be formed to develop any necessary changes to the Protocols Guides. Planning and Operations Information Transition Jamie Lavas reported on efforts to transition from the Planning and Operations Information site to the Market Information System (MIS). Critical Infrastructure Protection Working Group (CIPWG) (see Key Documents) Christine Hasha provided an update regarding topics under discussion at CIPWG. Referrals (see Key Documents) Protocol Revision Subcommittee: Nodal Protocol Revision Request (NPRR) 642, Constraint Management During Energy Emergency Alerts Mr. Hatfield noted that PRS also referred NPRR642 to the Wholesale Market Subcommittee (WMS) and requested that ROS and WMW meet jointly to recommend language. Mr. Thompson requested Market Participants file comments to NPRR642 in advance of the joint meeting. Clayton Greer moved to recommend that NPRR642 remain tabled to allow for further discussion by WMS and ROS. Mr. Ryno seconded the motion. The motion carried unanimously. PRS: NPRR643, Clarification of MIS Postings for Outages Upon Implementation of SCR774, Enhancement to Outage Scheduler and Reports Market Participants briefly discussed how Private Use Networks are addressed in Outage reporting. Mr. Greer moved to endorse NPRR643 as submitted. Joel Firestone seconded the motion. The motion carried unanimously. Texas Reliability Entity (Texas RE) (see Key Documents) David Penney presented Texas RE’s review of reliability performance data for the ERCOT region.

Black Start Working Group (BSWG) Market Participants discussed that any proposals to change the process by which Black Start units are selected with come to ROS through the Black Start Working Group. Dynamics Working Group (DWG) (see Key Documents) Carol Chessmore reviewed recent DWG activities. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities. In response to a Texas RE request, Ms. Showalter opined that it would be useful for the Texas RE to host Energy Management System (EMS) Applications Lessons Learned sessions at NDSWG meetings. James Armke requested that agendas be published in time for the appropriate personnel to attend. Telemetry Standards State Estimator Standards Mr. Ryno moved to recommend the maintenance of the current Telemetry and State Estimator Standards. Alan Bern seconded the motion. The motion carried unanimously. List of 20 Important State Estimator Buses Dennis Kunkel moved to approve the list of 20 important State Estimator buses as posted. Mr. Ryno seconded the motion. The motion carried unanimously. OWG (see Key Documents) Nodal Operating Guide Revision Request (NOGRR) 132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration ROS took no action on this item. Mr. Hatfield requested that NOGRR132 return for consideration at the next ROS meeting. Operations Trainers Working Group (OTWG) Kelly Blackmer presented the draft OTWG scope document. Market Participants requested clarification of the role of the ERCOT Fundamentals Exam Task Force or that the references be removed from the document; and discussed that other working group scopes may need to be revised due to the formation of the OTWG. In consideration of time, Mr. Hatfield suggested the OTWG scope be considered at the next ROS meeting. ROS took no action on this item. Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Sydney Niemeyer reviewed recent PDCWG activities. Planning Working Group (PLWG) (see Key Documents) Brad Bell reviewed recent PLWG activities. Resource Data Working Group (RDWG) (see Key Documents) Taylor Woodruff reviewed recent RDWG activities and presented Revision Requests for ROS consideration. Resource Registration Glossary Revision Request (RRGRR) 003, Modifications to Improve Wind Forecasting Mr. Kunkel moved to grant RRGRR003 Urgent status. Mr. DeTullio seconded the motion. The motion carried unanimously. Mr. Ryno moved to recommend approval of RRGRR003 as recommended by RDWG in the 8/19/14 RDWG Report, with a recommended priority of 2015 and a rank of 1230. Mr. DeTullio seconded the motion. The motion carried unanimously. RRGRR004, Steam Pressure Curve Information for Implementation of Regional Reliability Standard BAL-001-TRE-1 Rick Keetch moved to grant RRGRR004 Urgent status. Cyrus Reed seconded the motion. The motion carried unanimously. Mr. Keetch moved to recommend approval of RRGRR004 as amended by the 9/2/14 NRG comments, and to forward RRGRR004 to TAC. Mr. Reed seconded the motion. Market Participants discussed that while RRGRR004 was not posted in time for specific review by the RDWG, RDWG does have a sense of the issue and timing constraints. The motion carried with one abstention from the Independent Power Marketer (IPM) Market Segment (Tenaska Power Services). Voltage Reduction Task Force (VRTF) (see Key Documents) Final Report Eithar Nashawati presented the VRTF Final Report to ROS. Disband VRTF Market Participants discussed whether to revise the VRTF scope to explore issues such costs to employ voltage reduction; and that ROS may wish to first seek direction from TAC. ROS took no action on this item. Phasor Measurement Task Force (PMTF) (see Key Documents) Bill Blevins reviewed recent PMTF activities. Steady State Working Group (SSWG) (see Key Documents) Basileo Rocha reviewed recent SSWG activities.

Other Business Mr. Hatfield noted efforts to schedule a joint meeting with WMS to consider NPRR642 and NOGRR165, Constraint Management During Energy Emergency Alerts. ERCOT Staff noted they would present the 2015 Ancillary Service Methodology at the next ROS meeting.

Adjournment Mr. Hatfield adjourned the September 4, 2014 ROS meeting at 3:22 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/09/20140904-ROS