APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 8, 2015 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor | Alt. Rep. for A. Bern |
| Firestone, Joel | Topaz Power |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Enery |  |
| Warren, John | LCRA | Alt. Rep. for B. Hatfield |

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bell, Brad | E.ON |  |
| Blackwell, John | Lone Star Transmission |  |
| Bunch, Kevin | EDF Trading |  |
| Chessmore, Carol | Oncor | Via Teleconference |
| Clawson, Jim | Texas Reliability Entity | Via Teleconference |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Gross, Blake | AEP |  |
| Helton, Bob | GDF Suez |  |
| Jones, Liz | Oncor |  |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos Electric | Via Teleconference |
| Lane, Rob | Luminant |  |
| Le, Don | NextEra Energy | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Mattei, Andrew | Brazos Electric |  |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Owens, Frank | Cross Texas Transmission |  |
| Penny, David | Texas Reliability Entity |  |
| Pieniazek, Adrian | NRG Energy |  |
| Rocha, Basileo | CPS Energy |  |
| Sandidge, Clint | Noble Americas | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Shaw, Pamela | CES | Via Teleconference |
| Soutter, Mark | Invenergy |  |
| White, Lauri | AEP |  |
| Woitt, Wes | CenterPoint Energy |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bezzam, Joseph |  |  |
| Billo, Jeff |  |  |
| Borkar, Sandeep |  | Via Teleconference |
| Butterfield, Lindsay |  | Via Teleconference |
| Chatlani, Varsha |  | Via Teleconference |
| Deller, Art |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Giarrantano, Alex |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Landry, Kelly |  |  |
| Lavas, Jamie |  |  |
| Levine, Jonathan |  | Via Teleconference |
| Lowrie, Gene |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| McIntyre, Ken |  | Via Teleconference |
| Mereness, Matt |  |  |
| Peters, Patrick |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Springer, Agee |  |  |
| Steffan, Mark |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, David |  | Via Teleconference |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote. Brittney Albracht called the January 8, 2015 ROS meeting to order at 9:30 a.m. Antitrust Admonition Ms. Albracht directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Election 2015 ROS Chair and Vice Chair Randy Jones nominated Joel Firestone for 2015 ROS Chair; John Warren nominated Alan Bern for 2015 ROS Vice Chair. Mr. Firestone and Mr. Bern accepted the nominations and were named 2015 ROS Chair and Vice Chair, respectively, by acclamation. Agenda Review There were no changes to the agenda. Approval of ROS Meeting Minutes (see Key Documents) September 4, 2014 Mr. R. Jones moved to approve the September 4, 2014 ROS meeting minutes as posted. David DeTullio seconded the motion. The motion carried unanimously. October 30, 2014 This item was postponed. Technical Advisory Committee (TAC) Update Mr. Firestone noted the disposition of items considered at the December 18, 2014 TAC meeting. ERCOT Updates (see Key Documents) System Planning Reports Operations Reports No questions were offered regarding the System Planning Report or the Operations Report. Economic Impacts of Outage Scheduling Woody Rickerson requested that ROS consider establishing a task force to review the benefits of considering economic criteria in Outage coordination. Mr. Rickerson said his request is based on discussions at ERCOT Board meetings, advances in software capabilities, and interactions of Congestion Revenue Rights (CRRs) and Outages. Market Participants discussed whether the task force would include both Transmission and Resource Outage coordination; whether commercial information might risk exposure in directing a Resource to alter its Outage schedule; and that diminished access to trades and crafts, due to the rescheduling of an Outage, cannot be hedged. Mr. R. Jones reminded Market Participants that the purpose of the Locational Marginal Price (LMP) market is to send unambiguous price signals to the market where warranted by the system, and cautioned against mechanisms that mute those signals. Market Participants suggested that the task force be housed at ROS, but also engage Wholesale Market Subcommittee (WMS) participation. Mr. Firestone requested that ERCOT Staff develop a preliminary task force scope for discussion at the first organizing meeting, and that leadership for the task force be considered at the February 5, 2015 ROS meeting. Project Update – North American Electric Reliability Corporation (NERC) Standard BAL-001-TRE-1 Matt Mereness provided an update regarding the NERC Standard BAL-001-TRE-1 implementation at ERCOT. Referrals (see Key Documents) Nodal Protocol Revision Request (NPRR) 654, Discontinue Ancillary Service Requirement Methodology Assessment Report NPRR655, Discontinue Contingency List Changes Due to Weather Report NPRR661, Discontinue Posting Profile Data Evaluation Report Mr. R. Jones moved to endorse NPRR654, NPRR655, and NPRR661 as submitted. Mr. Greer seconded the motion. The motion carried unanimously. Black Start Working Group (BSWG) (see Key Documents) NPRR657, Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, and Backup Control Plan Test Dates and Results Summary Reports John Blackwell reported BSWG’s support for NPRR657. Mr. R. Jones moved to endorse NPRR657 as submitted. Mr. Greer seconded the motion. The motion carried unanimously. Dynamics Working Group (DWG) (see Key Documents) Carol Chessmore reviewed recent DWG activities. Network Data Support Working Group (NDSWG) Tony Kroskey reported that NDSWG has not met since October 2014 and would next meet January 20, 2015. Operations Working Group (OWG) (see Key Documents) Frank Owens reviewed recent OWG activities, presented Revision Requests for ROS consideration, and reminded Market Participants of the Voltage Workshop scheduled for February 23-24, 2015 at ERCOT Austin. Nodal Operating Guide Revision Request (NOGRR) 132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration Ebby John requested that NOGRR132 be returned to OWG for consideration of pending CenterPoint Energy comments. Mr. John moved to remand NOGRR132 to OWG. Trieu Vo seconded the motion. The motion carried unanimously. NOGRR136, Verifying QSE Capability to Operate in CFC Mr. R. Jones moved to recommend approval of NOGRR136 as recommended by OWG in the 11/19/14 OWG Report. Randy Ryno seconded the motion. The motion carried unanimously. NOGRR140, Posting of the ERCOT Geomagnetic Disturbance Operating Plan Market Participants discussed the purpose of NOGRR140 and reviewed the anticipated system impacts in its implementation. Mr. R. Jones moved to recommend approval of NOGRR140 as submitted, and to endorse and forward to TAC NOGRR140 and the related Impact Analysis. Mr. Ryno seconded the motion. The motion carried unanimously. Energy Emergency Alert (EEA) Language in Protocols and Operating Guides Market Participants noted the TAC direction for ROS to take up the broader discussion of duplicative language in the Protocols and Operating Guides, in addition to the specific language pertaining to EEAs. Mr. Owens noted that the discussion would be on the January 26, 2015 OWG agenda. Operations Trainers Working Group (OTWG) OTWG Leadership Mr. Greer moved to endorse James Stone and Steve Rainwater as 2015 OTWG Chair and Vice Chair respectively. Mr. R. Jones seconded the motion. The motion carried unanimously. Performance Disturbance Compliance Working Group (PDCWG) Mr. R. Jones reported that PDCWG is reviewing how to reconfigure its monthly analysis in light of NERC Standard BAL-003. Planning Geomagnetic Disturbance Task Force (PGTF) Mike Juricek reviewed recent PGTF activities. PGTF Leadership Mr. Greer moved to endorse Mike Juricek and Larisa Loyferman as PGTF Chair and Vice Chair respectively. Mr. R. Jones seconded the motion. The motion carried unanimously. Planning Working Group (PLWG) Brad Schwarz reported on recent PLWG activities. Market Participants briefly discussed review of the Load Scaling Methodology and a proposed related Planning Guide Revision Request (PGRR). Phasor Measurement Task Force (PMTF) Kris Koellner reported on recent PMTF activities. Resource Data Working Group (RDWG) Taylor Woodruff reported on recent RDWG activities and presented a Revision Request for ROS consideration. Resource Registration Glossary Revision Request (RGRR) 005, Clarify Data Necessary for Planning Models Mr. R. Jones moved to recommend approval of RRGRR005 as recommended by RDWG in the 12/9/14 RDWG Report. Mr. Ryno seconded the motion. The motion carried unanimously. MP Online Update Mr. Woodruff noted that RDWG would provide ROS quarterly reports on the progress of the MP Online project, and welcomed interim questions. System Protection Working Group (SPWG) (see Key Documents) Andrew Mattei reviewed recent SPWG activities. Steady State Working Group (SSWG) (see Key Documents) Basileo Rocha reviewed recent SSWG activities. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities. Update – Survey/Estimate of Load Participation/Cost Mr. Nashawati reviewed elements of the voltage reduction applicability and cost survey. Mr. Greer noted discussion at the QMWG that the program would be small volume and occurring at the point where the system is already at the Value of Lost Load (VOLL), adding that to the extent the program grows or would ever be applied outside of EEA Step 2, VOLL would need to be accounted for. Mr. Nashawati noted that the survey didn’t approach any market-side issues, and that voltage reduction is a pre-existing tool available to ERCOT. Adjournment Mr. Firestone adjourned the January 8, 2015 ROS meeting at 11:38 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/1/8/31992-ROS