| PGRR Number | 044 | PGRR Title | MIS Classification of GINR Study Information |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 30, 2015 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Sections Requiring Revision |  | 5.4.8, FIS Study Report and Follow-up 7.1, Planning Data and Information |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 703, Clarification of Disclosure Requirements for GINR Study Information |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) proposes to change the Market Information System (MIS) classification of certain studies undertaken as part of the Generation Interconnection of Change Request (GINR) process. Specifically, this PGRR would require ERCOT to post ERCOT’s security screening study and three parts of the Transmission Service Provider’s (TSP’s) Full Interconnection Study (FIS)—the steady-state, system protection, and facility study—to the MIS Secure Area, making that information available to all Market Participants. However, consistent with NPRR 703, this PGRR would continue to require ERCOT to post all dynamic and transient stability studies and any subsynchronous oscillation studies to the MIS Certified Area for TSPs only. ERCOT expects that this PGRR will be revised in accordance with the categorization of interconnection study information stakeholders ultimately find appropriate in NPRR703. In addition, this PGRR would clarify that economic studies for transmission projects proposed as a result of a new GINR project must be posted to the MIS Secure Area. This PGRR would also add the appropriate Market Participant category to the data set table where it indicates that certain information will be posted to the MIS Certified Area. Finally, this PGRR would clarify that the final stability study and any subsynchronous oscillation study should be submitted to ERCOT separately from the remainder of the FIS to facilitate posting on the appropriate areas of the MIS. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Procedural History |  | - On 4/29/15, PGRR044 and an Impact Analysis were posted. - On 5/20/15, the Planning Working Group (PLWG) considered PGRR044. - On 6/22/15, PLWG considered the 5/20/15 PLWG Report and the Impact Analysis for PGRR044. - On 7/9/15, ROS considered PGRR044. - On 7/30/15, TAC considered PGRR044. |  |  |
| PLWG Decision |  | On 5/20/15, PLWG was in consensus to recommend approval of PGRR044 as submitted. On 6/22/15, PLWG was in consensus to endorse and forward to ROS the 5/20/15 PLWG Report and the Impact Analysis for PGRR044. |  |  |
| Summary of PLWG Discussion |  | On 5/20/15, participants discussed the need for PGRR044 while acknowledging additional revisions are likely in the future. On 6/22/15, there was no discussion. |  |  |
| ROS Decision |  | On 7/9/15, ROS unanimously voted to recommend approval of PGRR044 as recommended by PLWG in the 6/22/15 PLWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 7/9/15, there was no discussion. |  |  |
| TAC Decision |  | On 7/30/15, TAC unanimously voted to recommend approval of PGRR044 as recommended by ROS in the 7/9/15 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/30/15, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR044. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Provides greater clarity as to availability of information about pending GINRs - Provides greater transparency about pending GINRs |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Prabhu Gnanam, Nathan Bigbee |
| E-mail Address | gnanaprabhu.gnanam@ercot.com, nathan.bigbee@ercot.com |
| Company | ERCOT |
| Phone Number | 512-225-3146, 512-225-7093 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

5.4.8	FIS Study Report and Follow-up

(1)	The TSP(s) will present a preliminary report of its findings and recommendations for each of the study elements to ERCOT, to the IE and to the other TSP(s) via the confidential Transmission Owner Generation Interconnection email list.

(2)	Any questions, comments, proposed revisions, or clarifications by any party shall be made in writing to the TSP(s) within ten Business Days after the issuance of each study report, which may cover one or more study elements.  ERCOT can extend this review period by an additional 20 Business Days by notifying the affected TSP(s) and the IE that it needs additional time to review the report.

(3)	After considering the information received from ERCOT and other TSPs, the study element(s) report will be deemed complete and the TSP(s) conducting the FIS shall provide a final report to the IE, ERCOT, and all TSPs.  The TSP(s) conducting the FIS shall submit the dynamic and transient stability analysis and any sub-synchronous oscillation analysis as separate documents from the remainder of the report.  The ten Business Day review period will be used by ERCOT to determine if any transmission upgrades proposed and clearly identified in the Steady-State Study Report need to be submitted to the RPG review process.  Section 3.11, Transmission Planning, of the Protocols provides more information on the process to review transmission upgrades that are unrelated to the direct connection of new or modified generation.

(4)	The TSP issuing the final FIS element report shall indicate that the report is the final report required by the FIS.  At the end of the ten Business Day review period following the issuance of the final FIS element report, the FIS will be deemed complete and the IE and TSP may execute an SGIA.  If an economic study of the direct interconnection facilities is required, pursuant to Section 5.4.7, Economic Study, and has not yet been completed, the IE and TSP may agree that the completion of the economic study is not required before the FIS is deemed complete.

(5)	Should the IE wish to proceed with the proposed GINR, the IE must execute an SGIA with the respective TSP within 180 days following the completion of the FIS (includes all major study element reports).

(6)	If during the time after the FIS is completed, and before the SGIA is executed, changes occur that substantially differ from the assumptions used for the FIS, ERCOT and the TSP(s) shall determine the impact of the changes on the results of the FIS.  All changes shall be submitted to ERCOT through the Resource Registration process for a change comparison.  If the proposed direct interconnection is negatively affected by the changes, the TSP(s) will make appropriate modifications to the FIS.

7.1	Planning Data and Information

(1)	The information available on the applicable Market Information System (MIS) (i.e., Public, Secure or Certified Areas) includes, but is not limited to, planning information pertaining to the following:

(a)	Long-term planning;

(b)	Regional transmission planning;

(c)	Steady state data;

(d)	Resource integration;

(e)	Case studies and files used in planning;

(f)	Model information; and

(g)	Data and information available to specific groups of Market Participants.

(i)	Market Participants with a nondisclosure agreement with ERCOT have designated sections on the MIS that allow access to the certified posting of group information.

(ii)	Market Participants may access the artifacts posted for their respective groups on the MIS Secure Area.

(2)	The list below includes both data set and designated MIS classification of the available planning data and information.  Where the information is classified as “Certified,” the appropriate Market Participant category or group is also indicated.

| Data Set | Classification |
| --- | --- |
| Aggregated Wind Output | Public |
| Annual Planning Model Data Submittal Schedule | Secure |
| Demand and Energy Monthly Reports | Secure |
| Dynamic Data Information | Certified (all TSPs) |
| Economic Studies of Transmission Projects for New Generation | Secure |
| ERCOT Long-Term System Assessment | Secure |
| ERCOT Steady State Planning Contingency Files | Secure |
| ERCOT System Operating Limit (SOL) Methodology | Public |
| Generation Data Forms | Secure |
| Documents Initiating a Generation Interconnection or Change Request | Certified (all TSPs) |
| GINR Security Screening Studies and Supporting Documents | Secure |
| FIS: Stability and Sub-Synchronous Oscillation Studies and Supporting Documents | Certified (all TSPs) |
| FIS: Steady-State, System Protection, and Facility Studies and Supporting Documents | Secure |
| IMM and Topology Processor Supporting Documents | Certified (all TSPs) |
| PDCWG Group Documents and Project Files | Certified (PDCWG members) |
| Planning Horizon Transmission Capability Methodology | Public |
| Public Generation Information | Public |
| RAP Review Cases | Certified (all TSPs) |
| RARF Generator Data | Certified (specific Resource Entity) |
| Regional Planning Group Projects | Secure |
| Regional Transmission Plan Postings | Secure |
| Seasonal Voltage Profile Studies | Certified (all TSPs) |
| Special Planning Studies | Secure |
| Steady State Power Flow Base Cases | Secure |
| Steady State Power Flow Case Data | Certified (all TSPs) |
| Steady State Topology Processor Files | Secure |
| Steady State TPIT Procedures | Secure |
| System Protection Short Circuit Data | Secure |
| Transient Stability Screening Study for ERCOT System | Certified (all TSPs) |
| TSP Planning Criteria and Procedures | Secure |
| Voltage Stability Screening Study for ERCOT System | Certified (all TSPs) |