| NPRR Number | 711 | NPRR Title | Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA |
| --- | --- | --- | --- |
| Date |  | August 6, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Patterson / Don Tucker |  |
| E-mail Address |  | Mark.Patterson@ercot.com / Donald.Tucker@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3912 / 512-248-3913 |  |
| Cell Number |  | 512-569-5539 / 512-560-2378 |  |
| Market Segment |  | Not Applicable. |  |

Comments

ERCOT respectfully submits these comments regarding Nodal Protocol Revision Request (NPRR) 711, to expand on the spirit of this NPRR and address some of the concerns expressed by Market Participants, specifically from Load Resources, that the increased threshold to require installation of an Interval Data Recorder (IDR) Meter might have the unintended consequence of limiting their participation in Ancillary Service markets.

Current requirements in Section 10.9, Standards for Metering Facilities, state an IDR Meter is required for Resources participating in the Ancillary Service market.  This is inconsistent with other sections of the Protocols such as Section 8.1.1.1, Ancillary Service and Reserves Qualification and Testing, which currently allows 90-day provisional qualification of Load Resources for participation in Ancillary Service markets with only an IDR.  ERCOT proposes removal of the IDR Meter requirement on Load Resources participating in Ancillary Service markets.

Advanced Metering System (AMS) meter, or in the case of Non-Opt-In Entities (NOIEs), AMS equivalent, provides the same level of data granularity as an IDR Meter, and is suitable for both telemetry validation and Demand response measurement & verification.  The IDR Meter requirement for verification of performance is unnecessary and inappropriately restrictive in an era in which a large majority of ERCOT Loads are metered with AMS meters.  Furthermore, rules and procedures for Aggregate Load Resource (ALR) metering are detailed in the Other Binding Document entitled “Requirements for Aggregate Load Resource Participation in the ERCOT Markets.”

Revised Cover Page Language

| NPRR Number | 711 | NPRR Title | Increase the IDR Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA and Allow IDRs for Load Resources Providing Ancillary Services |
| --- | --- | --- | --- |
| Nodal Protocol Sections Requiring Revision |  | 10.9, Standards for Metering Facilities 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) increases the Interval Data Recorder (IDR) Meter mandatory installation requirement from 700 kW/kVA to 1.5 MW/MVA and removes the IDR Meter requirement for Load Resources providing Ancillary Services. In stakeholder discussions during the joint RMS/COPS IDR Meter Protocol Requirement Threshold Workshops, there were concerns expressed regarding the elimination of the mandatory IDR Meter threshold. These concerns included: unknown and known impacts to Transmission and/or Distribution Service Providers (TSDPs) based upon their current Tariff concerning the application and invoicing of 4CP, unknown impacts to current 4CP Demand response volumes; and impacts to ERCOT’s Load forecasting processes unless these Loads were identified by a new profile assignment. Task Force participants indicated a desire that new profile codes not be introduced due to the cost impacts to their organizations resulting from IT development, testing, and implementation of multiple new Load Profiles when that may not be the best use of budget dollars. Additional concerns related to establishing a separate threshold for the evaluation of non-IDR Metered Premises and Advanced Metering System (AMS) Metered Premises. There was concern that language would be confusing to manage; recognition that the majority of Premises have AMS Meters and the subset of non-IDR Metered Premises are very limited; and understanding and willingness during IDR Required Threshold Workshop V to have any non-IDR with a Demand up to 1.5 MW/MVA settled on a Load Profile. |  |
| Business Case |  | - Allows AMS meters that reach the 700 kW or kVA threshold to remain on AMS until it reaches the new threshold maximum requirements. - Allows customers to continue to have access to interval data on a daily basis. - Allows ERCOT to receive interval Settlement data daily as opposed to monthly as it would be for an IDR Meter. - Customer would be able to receive more benefits provided by AMS meters. - Would reduce the number of AMS Meters that TDSPs would be required to replace. - Labor costs, equipment costs - TDSPs provide AMS Meter data for initial Settlements. - May allow Retail Electric Providers (REPs) to provide additional products and services based on timeliness and availability of meter’s usage data (daily vs. monthly usage). - Removes an unnecessary barrier to participation in Ancillary Markets by Load Resources. |  |

Revised Proposed Protocol Language

- 10.9	Standards for Metering Facilities

(1)	For TSP and DSP Metered Entities, an Interval Data Recorder (IDR) Meter is required on any of the following locations/sites:

(a)	All-Inclusive Generation Resources (with the exception of those excluded in this Section);

(b)	Non-Opt-In Entity (NOIE) or External Load Serving Entity (ELSE) metering points used to determine the total Load for that NOIE or ELSE;

(c)	Service Delivery Points connected to the transmission system (>60 kV); and

(d)	Locations meeting IDR Meter requirements defined in Section 18, Load Profiling.

(2)	For TSP and DSP Metered Entities, an IDR is required on Load Resources participating in the Ancillary Services markets, with the exception of Aggregate Load Resources (ALRs) for which statistical sampling is used to validate telemetry, as detailed in the document titled “Requirements for Aggregate Load Resource Participation in the ERCOT Markets.”

18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements

(1)	Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 1.5 MW (or 1.5 MVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

(3)	A Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR Meter installed and used for Settlement purposes at any associated Premise.  Except as stated in paragraph (5) below, IDR Meters in place or installed after September 1, 1999 shall be used for Settlement.  Once an IDR Meter is installed at a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Meter Optional Removal.  If a Customer or CR requests installation of an IDR Meter, the same Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(4)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDR Meters under the IDR Meter Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(5)	For Premises not subject to the IDR Meter Mandatory Installation Requirements in paragraph (1) above:

(a)	IDR Meters installed at the request of ERCOT, a Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR Meter for Settlement purposes; or

(b)	IDR Meters previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR Meter for retail Customer Settlement purposes, provided that the IDR Meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR Meters used for NOIE separation that do not meet the IDR Meter Mandatory Installation Requirements shall not be used for retail Customer Settlement purposes.

(6)	For IDR Meter installation procedures reference Section 10.3.3, TSP or DSP Metered Entities.

(7)	TSPs and/or DSPs responsible for any Load transfer schemes between the ERCOT Region and non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.