| Date | August 6th 2015 |
| --- | --- |
| Submitter’s Information |  |
| Name | Randy Jones |
| E-mail Address | rajones@calpine.com |
| Company | Calpine |
| Phone Number | 713.830.8846 |
| Cell Number | 832.385.3322 |
| Market Segment | Independent Generator |

Comments

Calpine offers these comments in response to the Outage Coordination Improvement Task Force (OCITF) whitepaper that was completed on July 17, 2015 for consideration at ROS.

We support Proposal 1, the Identification of High Impact Outages (HIOs) and agree with ERCOT’s comments on this item in their filed comments dated July 28th, 2015.  Increased market transparency on which proposed outages represent the highest potential cost impacts to the network would certainly help in focusing stakeholder attention on coordination efforts.

On Proposal 2, Calpine has no comments at this time but reserves its right to file comments later in the event changes are made to that proposal.

On Proposal 3, related to planned transmission outages within less than 90 days of the start date, Calpine has no comments at this time but reserves its right to file comments later in the event changes are made to that proposal.

Calpine does not support Proposal 4, either Option A or Option B, and recommends stakeholders reject this proposal in its entirety.  Our position is based on the current ERCOT market design, which vests with generation owners the ability to have certainty in planned outages scheduled with ERCOT greater than 45 days out from the start date of the outage.  Generators only receive revenues in this market when they are running and the risk of knowing when to be available to run lies squarely on their shoulders.  Therefore, generators should be the parties responsible for identifying the right time frames for them to take planned outages.  Transmission Service Providers do not get paid in this market based on the spot price of energy; therefore their scheduling of planned outages should not have parity with resource owners.

Calpine has no comments at this time on Proposal 5 but reserves its right to file comments later in the event changes are made to that proposal.