DRAFT

Protocol Revision Subcommittee (PRS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, July 16, 2015 – 9:30am

- Attendance

Members:

| Allen, Thresa | Iberdrola Renewables | Via Teleconference |
| --- | --- | --- |
| Barnes, Bill | Reliant Energy Retail Services |  |
| Boren, Marie | OPUC |  |
| Day, Smith | Denton Municipal Electric |  |
| Frazier, Amanda | Luminant |  |
| Greer, Clayton | Morgan Stanley |  |
| Hammons, Daniela | CenterPoint Energy |  |
| Heino, Shari | Brazos Electric Power | Alt. Rep. for T. Messer |
| Kee, David | CPS Energy | Alt. Rep. for D. Detelich |
| Lange, Clif | STEC |  |
| Lyons, Chris | Exelon |  |
| Sandidge, Clint | Noble Americas |  |
| Trevino, Melissa | Occidental Chemical |  |
| Varnell, John | Tenaska Power Services |  |

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bell, Brad | E.ON | Via Teleconference |
| Bevill, Jennifer | CES |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Blevins, Chad | The Butler Firm | Via Teleconference |
| Bradshaw, Lucinda |  |  |
| Brandt, Adrianne | Austin Energy |  |
| Bryant, Mark | PUCT | Via Teleconference |
| Cobos, Lori | Talen Energy |  |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering |  |
| Crozier, Richard | Brownsville PUB |  |
| Cumpton, Raymond | Oncor | Via Teleconference |
| English, Rock | Luminant | Via Teleconference |
| Goff, Eric | CEI |  |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gregory, Angela | EDF Trading | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hastings, David |  | Via Teleconference |
| Havemann, Steven | Austin Energy | Via Teleconference |
| Hellinghausen, Bill | EDF Energy Services | Via Teleconference |
| Hughes, Lindsey | Competitive Power | Via Teleconference |
| Jackson, Natalie | GSEC |  |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine |  |
| Juricek, Michael | Oncor |  |
| Kiser, Don | LCRA |  |
| Lee, Jim | AEPSC |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant | Via Teleconference |
| McClellan, Suzi | Good Company | Via Teleconference |
| McKeever, Debbie | Oncor |  |
| Odanga, Monsherra | Oncor |  |
| Ögelman, Kenan | CPS Energy |  |
| Peters, Patrick | CenterPoint Energy | Via Teleconference |
| Pieniazek, Adrian | NRG |  |
| Priestley, Vanus | Macquarie | Via Teleconference |
| Reedy, Steve | IMM |  |
| Rehfeldt, Diana | TNMP | Via Teleconference |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Rodriguez, Kristen | EPE Consulting | Via Teleconference |
| Roth, Werner | PUCT | Via Teleconference |
| Scott, Kathy | CenterPoint Energy |  |
| Siddiqi, Shams | Crescent Power | Via Teleconference |
| Thomas, Wayne | BTU |  |
| Trefny, Floyd |  |  |
| Turner, Lucas | STEC |  |
| Velasquez, Ivan | Oncor |  |
| Whittle, Brandon | Stratus Energy Group |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Wittmeyer, Bob | DME |  |
| Zake, Diana | Lone Star Transmission |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Troy |  |  |
| Annab, Maggie |  |  |
| Blevins, Bill |  | Via Teleconference |
| Boren, Ann |  |  |
| Castillo, Leo |  | Via Teleconference |
| Chang, Sean |  | Via Teleconference |
| Chu, Zhengguo |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Day, Betty |  | Via Teleconference |
| Gilbertson, Jeff |  | Via Teleconference |
| Hailu, Ted |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lavas, Jamie |  |  |
| Levine, Jonathan |  | Via Teleconference |
| Maggio, David |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Meiners, Catherine |  | Via Teleconference |
| Michelsen, David |  |  |
| Morehead, Juliana |  | Via Teleconference |
| Phillips, Cory |  |  |
| Ruane, Mark |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Thompson, Chad |  |  |
| Tucker, Don |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2015 PRS Chair John Varnell called the July 16, 2015 PRS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Varnell directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Approval of Minutes (see Key Documents)

June 11, 2015

Randy Jones moved to approve the June 11, 2015 PRS meeting minutes as posted.  David Kee seconded the motion.  The motion carried unanimously.

Project Update and Summary of Project Priority List (PPL) Activity to Date

Troy Anderson provided a project update and reviewed PPL activity to-date, changes to the 2015 Release Targets, and noted the first-time inclusion of the 2016 Release Targets matrix.  Mr. Anderson reviewed key dates related to the Energy Management System (EMS) Upgrade project, and reviewed in-flight and not-started PPL items with EMS impacts.

Review PRS Reports, Impact Analyses, and Prioritization (see Key Documents) NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides Market Participants reviewed the revised Impact Analysis for NPRR649 and noted additional comments are in development to propose a potentially lower cost method to address the intent of NPRR649. Amanda Frazier moved to table NPRR649. Clayton Greer seconded the motion. The motion carried unanimously. NPRR701, As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market NPRR703, Clarification of Disclosure Requirements for GINR Study Information ERCOT Staff proposed additional revisions to NPRR701. Mr. Greer moved to endorse and forward to TAC the 6/11/15 PRS Report as amended by the 6/26/15 ERCOT comments and as revised by PRS, and the Impact Analysis for NPRR701; and to endorse and forward to TAC the 6/11/15 PRS Report and Impact Analysis for NPRR703. Ms. Frazier seconded the motion. The motion carried unanimously. NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity Mr. Greer moved to endorse and forward to TAC the 6/11/15 PRS Report and Impact Analysis for NPRR706 with a recommended priority of 2015 and rank of 1350. Ms. Frazier seconded the motion. The motion carried unanimously. NPRR710, Removal of ORDC Phase 2 Language and Modification to HASL Calculation Market Participants reviewed the 7/8/15 ERCOT comments to NPRR710. ERCOT Staff offered additional revisions to remove redundant language and add projected cost savings to the Business Case. Ms. Frazier moved to endorse and forward to TAC the 6/11/15 PRS Report as amended by the 7/8/15 ERCOT comments and as revised by PRS; its accompanying Other Binding Document, Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder, (Attachment 1) as amended by the 7/8/15 ERCOT comments; and the revised Impact Analysis for NPRR710 with a recommended priority of 2015 and a rank of 1360. Mr. Greer seconded the motion. The motion carried unanimously.

Revision Requests Tabled at PRS (see Key Documents) System Change Request (SCR)785, Update RTL calculation to include Real-Time Reserve Price Adder based Components NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes NPRR562, Subsynchronous Resonance NPRR638, Revisions to Certain Price Components of EAL NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources NPRR663, Ancillary Service Insufficiency Actions NPRR667, Ancillary Service Redesign NPRR685, Change Criteria for Resource Opportunity Outages NPRR689, Settlement of Ancillary Service Assignment in Real-Time Operations NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 NPRR696, Price Correction Process Following a SCED Failure NPRR697, Disclosure of Protected Information for Research and Coordination Purposes NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process NPRR707, Provision of Transmission System Voltage Telemetry to QSEs NPRR709, Revisions to Alternative Dispute Resolution Procedure PRS took no action on these items. NPRR704, Revisions to the Size of Aggregate Generation Resources Market Participants debated various maximum output levels of constituent Resources that comprise an Aggregated Generation Resource (AGR). Some stakeholders expressed concern for the possible loss of visibility into the characteristics of the system as thresholds increase. Market Participants also discussed that the thresholds may be raised at a later date, and that some traditional Generation Resources currently successfully aggregate hundreds of MWs behind the same point for the sake of metering and modeling. Mr. Greer moved to recommend approval of NPRR704 as amended by the 7/9/15 Wholesale Market Subcommittee (WMS) comments and as revised by PRS. Smith Day seconded the motion. The motion carried unanimously. NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts ERCOT Staff presented the 7/15/15 ERCOT comments to NPRR708. Bill Barnes moved to recommend approval of NPRR708 as amended by the 7/15/15 ERCOT comments. Mr. R. Jones seconded the motion. Ms. Frazier requested that PRS wait for WMS review of NPRR708. Mr. Varnell noted that the 7/15/15 ERCOT comments were filed after the Reliability and Operations Subcommittee (ROS) review of NPRR708. Mr. Greer moved to table NPRR708. Ms. Frazier seconded the motion. Mr. Greer noted that the motion to table was to allow ROS and WMS to consider the 7/15/15 ERCOT comments. Market Participants noted that tabling NPRR708 would not adversely affect the item being considered at the October 13, 2015 ERCOT Board of Directors meeting. The motion carried unanimously. Review of Revision Request Language (see Key Documents) SCR786, Retail Market Test Environment Kathy Scott reviewed SCR786. Ms. Frazier moved to recommend approval of SCR786 as submitted. Mr. Greer seconded the motion. Market Participants expressed concern for the potential cost to implement SCR786. Mr. Barnes noted that the retail environment continues to stabilize and questioned whether another testing environment is needed. Ms. Frazier noted that the wholesale market would also like a testing environment, but that future support of SCR786 would be substantially dependent upon the Impact Analysis. The motion carried with one abstention from the Municipal (CPS Energy) Market Segment. NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA Mr. Barnes moved to recommend approval of NPRR711 as submitted. Ms. Frazier seconded the motion. Katie Coleman expressed concern for potential impacts of the threshold change on current Interval Data Recorder (IDR) Meter settlement. Other Market Participants expressed concern for Transmission and/or Distribution Service Provider (TDSP) issues related to processing Advanced Metering System (AMS) data versus IDR data. Market Participants debated whether to refer NPRR711 to a subcommittee, or to simply table the item to allow time for additional comments. Ms. Frazier withdrew her second to the motion. Mr. Barnes withdrew the motion. Ms. Frazier moved to table NPRR711 for one month. Mr. Greer seconded the motion. The motion carried unanimously. NPRR712, Clarification of RUC Process Adrian Pieniazek reviewed a presentation regarding NPRR712. Market Participants requested additional time to review NPRR712. Ms. Frazier moved to table NPRR712 as refer the issue to WMS. Mr. Greer seconded the motion. The motion carried unanimously. NPRR713, Reactive Power Testing Requirements Ms. Frazier noted that 40 percent of units in ERCOT must be tested under recently-approved North American Electric Reliability Corporation (NERC) Standards by Summer 2016. Ms. Frazier moved to table NPRR713 for one month and refer the issue to ROS. Mr. Greer seconded the motion. Market Participants agreed that additional review at ROS could be beneficial and requested that ROS have a recommendation for review at next month’s PRS meeting. Ms. Frazier noted her intent to recommend Urgent status for NPRR713. The motion carried unanimously. NPRR714, Real-Time Make-Whole Payment for Exceptional Fuel Cost Market Participants discussed the merits of NPRR714; its relation to NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events; and clarifications to the Settlement calculations included in the original submission. Bob Helton moved to recommend approval of NPRR714 as submitted. Mr. Greer seconded the motion. The motion carried with one abstention from the Municipal (CPS Energy) Market Segment. NPRR715, Clarification of Generator Modeling in the Market System Mr. R. Jones moved to table NPRR715 and refer the issue to WMS. Ms. Frazier seconded the motion. Mr. R. Jones requested that WMS review the constraint issue detailed in NPRR715, including alternatives related to model screening as noted in the 7/13/15 Calpine comments. The motion carried unanimously. Review of Aging Projects Mr. Anderson reviewed the list of aging projects and project funding. Market Participants discussed that while the review is beneficial, all Revision Requests included in the review are approved by the ERCOT Board, and absent another approved Revision Request to remove specific grey-boxed language, will continue to move toward implementation. Market Participants expressed some reservation in conducting the review, expressing concern that opponents of particular items may take the opportunity to reassert previous arguments, but agreed that all organizations, in performing due diligence, regularly review previously prioritized items. Ms. Frazier reiterated concerns that votes regarding the aging projects have no effect beyond an indication of future support for any submitter of an NPRR to remove grey-boxed language. Eric Goff offered that the votes give a sense of PRS opinion and direct future work for interested parties. Mr. R. Jones opined that the exercise is worthwhile. Mr. Greer suggested that, should stakeholders continue to see issues, the question of how to address lagging projects be put to the ERCOT Board. Nodal Operating Guide Revision Request (NOGRR) 084, Daily Grid Operations Summary Report Mr. Greer moved that PRS support the ERCOT opinion for NOGRR084 to delay starting the project until additional revisions are made to the existing language implemented by NOGRR084. Mr. Goff seconded the motion. The motion carried unanimously. NPRR181, FIP Definition Revision Ms. Frazier offered to file an NPRR to remove grey-boxed language. Mr. Greer moved to recommend NPRR181 remain unfunded pending an NPRR to remove grey-boxed language. Mr. Varnell seconded the motion. The motion carried unanimously. NPRR210, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW Mr. Greer moved to apply NPRR210 to the 2016 PPL forecast. Mr. Varnell seconded the motion. The motion carried with one abstention from the Municipal (CPS Energy) Market Segment. NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards Ms. Frazier offered to file and NPRR to remove grey-boxed language. Mr. Greer moved to recommend NPRR256 remain unfunded pending an NPRR to remove grey-boxed language. Mr. Varnell seconded the motion. The motion carried unanimously. NPRR272, Definition and Participation of Quick Start Generation Resources Mr. Greer moved to retain NPRR272 for implementation. Mr. Varnell seconded the motion. The motion carried with one objection from the Cooperative (STEC) Market Segment, and two abstentions from the Municipal (CPS Energy, Denton) Market Segment. NPRR285, Generation Resource Base Point Deviation Charge Corrections PRS took no action on this item. NPRR327, State Estimator Data Redaction Methodology Mr. Barnes opined that the needs NRRR327 intended to address are being met in other ways. Mr. Pieniazek expressed support for a Revision Request to remove grey-boxed language related to NPRR327. Mr. R. Jones added that NPRR327 falls into the category of reporting and is unnecessary. Ms. Frazier countered that NPRR327 is still needed and should be implemented without further delay. Mr. Goff supported use of the State Estimator data in discovering and correcting modeling errors, but expressed concern for releasing data that has other uses. Ms. Frazier added that the data has a redaction methodology, and that stakeholders have done the necessary work to protect parties with concerns for commercially sensitive data. Mr. R. Jones moved to recommend NPRR327 remain on-hold pending an NPRR to remove grey-boxed language related to NPRR327. Ms. Trevino seconded the motion. Seth Cochran noted that NPRR327 was fully vetted in the stakeholder process and was hold on-hold due to an ERCOT resource constraint. Kenan Ögelman encouraged interested parties to file an NPRR to remove grey-boxed language rather than direct ERCOT to stop funding an ERCOT Board-approved project. Ms. Coleman offered that the incremental value to interested parties has decreased over time and supported the removal of the grey-boxed language. Ms. Coleman also noted that her organization’s commercially sensitive Private Use Network (PUN) data was posted publicly, and took exception to any characterization that the work to ensure redaction of the data was a delay tactic. Market Participants reiterated concerns for the process of reviewing ERCOT Board-approved items, and asked whether the opinion of the Public Utility Commission of Texas (PUCT) on the item might be sought. Adrianne Brandt suggested that ERCOT legal staff consult with the PUCT as to whether ERCOT, having filed the NPRR, has met compliance with Commission expectations. Mr. R. Jones withdrew the motion, noting that the aging project related to NPRR327 did not receive a vote, while other items did. NPRR455, CRR Shift Factors Report Mr. Greer moved to support the submission of an NPRR to remove grey-boxed language related to NPRR455. Mr. Goff seconded the motion. The motion carried with one objection from the Independent Generator (Calpine) Market Segment, and four abstentions from the Cooperative (STEC), Independent Generator (GDF Suez), and Municipal (2) (CPS Energy, Denton) Market Segments. NPRR484, Revisions to Congestion Revenue Rights Credit Calculations and Payments Ms. Frazier offered that Phase 1a of NPRR484 implemented 90 percent of the item’s value, and invited ERCOT input as to how to proceed with the remainder of NPRR484. Ms. Frazier added that the Credit Work Group (Credit WG) and the Market Credit Working Group (MCWG) might determine the appropriate language to strike. NPRR493, Half-Hour RUC Clawback Mr. Helton offered to submit an NPRR to remove grey-boxed language related to NPRR493. NPRR515, Day-Ahead Market Self-Commitment of Generation Resources PRS took no action on this item. NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events Mr. Anderson noted TAC’s direction to not proceed with NPRR664 until further notice. Other Business David Thompson reminded Market Participants of the July 28, 2015 training session regarding telemetry requirements, the ORDC, and the implementation of NPRR626, Reliability Deployment Price Adder. Adjournment Mr. Varnell adjourned the July 16, 2015 PRS meeting at 1:37 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at

http://www.ercot.com/calendar/2015/7/16/31900-PRS  unless otherwise noted.