- DRAFT

- Minutes of the Technical Advisory Committee (TAC) Meeting

- ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

- Thursday, July 30, 2015 – 9:30 a.m.

- Attendance

Members:

| Adair, Marshall | Residential Consumer |  |
| --- | --- | --- |
| Allen, Thresa | Iberdrola Renewables |  |
| Andrews, Sean | Source Power and Gas |  |
| Blakey, Eric | Just Energy |  |
| Boren, Marie | OPUC |  |
| Boyd, Phillip | City of Lewisville |  |
| Brandt, Adrianne | Austin Energy |  |
| Brewster, Chris | City of Eastland |  |
| Cochran, Seth | DC Energy |  |
| Crockett, Brenda | Champion Energy Services |  |
| Cunningham, Lance | Denton Municipal Electric |  |
| Emesih, Valentine | CenterPoint Energy |  |
| Frazier, Amanda | Luminant |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Gross, Blake | AEPSC | Alt. Rep. for R. Ross |
| Hellinghausen, Bill | EDF Trading |  |
| Jones, Randy | Calpine |  |
| Lange, Clif | STEC |  |
| Minnix, Kyle | Brazos Electric Power Cooperative |  |
| Ögelman, Kenan | CPS Energy |  |
| Morris, Sandy | Direct Energy |  |
| Pieniazek, Adrian | NRG Texas |  |
| Pridgeon, Marcus | CMC Steel Texas |  |
| Seamster, Scott | TNMP | Alt. Rep. for S. Whitehurst |
| Smith, Bill | Air Liquid |  |
| Soutter, Mark | Invenergy Energy Management |  |
| Stephenson, Randa | LCRA |  |

The following proxies were assigned:

- Tayaun Messer to Kyle Minnix

- Dan Bailey to Kenan Ögelman

Guests:

| Abbott, Kristin | PUCT | Via Teleconference |
| --- | --- | --- |
| Arrigo, Garrett | Shell | Via Teleconference |
| Bell, Brad | E.ON |  |
| Bern, Alan | Oncor |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Blackwell, Michael | ACES Power | Via Teleconference |
| Blakey, Eric | Just Energy | Via Teleconference |
| Bryant, Mark | PUCT | Via Teleconference |
| Bunch, Kevin | EDF Energy Services | Via Teleconference |
| Burt, Matthew | RES Americas | Via Teleconference |
| Caputo, Pascal | Southern Co. | Via Teleconference |
| Chatlani, Varsha | LCRA | Via Teleconference |
| Clark, Jack | NextEra Energy | Via Teleconference |
| Cobos, Lori | Talen Energy |  |
| Coke, Gary | GVEC | Via Teleconference |
| Coleman, Diana | PUCT | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering |  |
| Deb, Sidart | Energy Online | Via Teleconference |
| Denney, Kristi | IMM |  |
| Downey, Marty | ANB Systems |  |
| Dumas, John | LCRA | Via Teleconference |
| Elliot, Chris | Bank of America/Merrill Lynch | Via Teleconference |
| English, Barksdale | Austin Energy | Via Teleconference |
| English, Rock | Luminant | Via Teleconference |
| Firestone, Joel | TPM |  |
| Garza, Beth | Potomac Economics | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Grimes, Mike | EDP Renewables | Via Teleconference |
| Haley, Ian | Luminant | Via Teleconference |
| Hammons, Daniela | CenterPoint Energy | Via Teleconference |
| Hartley, Andrew | LCRA | Via Teleconference |
| Harvey, Julia | PUCT |  |
| Hastings, David | SESCO |  |
| Hauk, Christine | Garland Power and Light | Via Teleconference |
| Jackson, James | CPS Energy | Via Teleconference |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| King, Robert | EDF |  |
| Lansdale, Chase | EPE Consulting | Via Teleconference |
| Lee, Jim | AEP |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Lyons, Chris | Exelon | Via Teleconference |
| Martin, Lorretto | Direct Energy |  |
| McKeever, Debbie | Oncor |  |
| Miller, Margaret | CES | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Muhoro, Peter | PEC |  |
| Nease, Nelson | ANGA |  |
| Newell, Sam | Brattle | Via Teleconference |
| Paff, Tom | Duke Energy | Via Teleconference |
| Priestley, Vanus | Maquarie | Via Teleconference |
| Reed, Carolyn | CenterPoint Energy | Via Teleconference |
| Rehfeldt, Diana | TNMP | Via Teleconference |
| Sandidge, Clint | Noble Energy Solutions |  |
| Scott, Kathy | CenterPoint Energy |  |
| Siddiqi, Shams | Crescent Power |  |
| Tammar, Karl | Sharyland | Via Teleconference |
| Trenary, Michelle | Tenaska Power Services |  |
| Tripathi, Ashish | US ABB | Via Teleconference |
| Turner, Lucas | STEC |  |
| Varnell, John | Tenaska |  |
| Velasquez, Ivan | Oncor |  |
| Walters, Josh | PUCT | Via Teleconference |
| Wang, Joanna | LCRA | Via Teleconference |
| White, Lauri | AEP Texas | Via Teleconference |
| Whittle, Brandon | Stratus |  |
| Wittmeyer, Bob | DME |  |
| Woodruff, Taylor | Oncor | Via Teleconference |
| Zimmerman, Mark | Air Products | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Annab, Maggie |  | Via Teleconference |
| Bivens, Danny |  |  |
| Boren, Ann |  |  |
| Boswell, Bill |  | Via Teleconference |
| Butterfield, Lindsay |  | Via Teleconference |
| Day, Betty |  | Via Teleconference |
| Lazarus, Dana |  | Via Teleconference |
| Levine, Jonathan |  | Via Teleconference |
| Gonzalez, Ino |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Manning, Brian |  | Via Teleconference |
| Matevosyan, Julia |  | Via Teleconference |
| Moorty, Sai |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Phillips, Cory |  |  |
| Smallwood, Aaron |  |  |
| Thompson, Chad |  | Via Teleconference |
| Thompson, David |  | Via Teleconference |
| Wattles, Paul |  |  |

- Unless otherwise indicated, all Market Segments were present for a vote.

- 2015 TAC Chair Randa Stephenson called the July 30, 2015 TAC meeting to order at 9:30 a.m.

- Antitrust Admonition

Ms. Stephenson directed attention to the displayed Antitrust Admonition, and noted that the Antitrust Guidelines are available for review on ercot.com.

Brad Jones advised Market Participants that due to a sudden loss of generation, ERCOT issued an Operating Condition Notice (OCN) for a projected reserve capacity shortage for hours ending 16:00 through 18:00, and that ERCOT also issued a conservation appeal for those same hours.

- Approval of TAC Meeting Minutes (see Key Documents)

May 28, 2015

Randy Jones moved to approve the May 28, 2015 TAC meeting minutes as revised by TAC.  Blake Gross seconded the motion.  The motion carried unanimously.

ERCOT Board of Directors (ERCOT Board) Update

Ms. Stephenson noted the disposition of voting items considered at the June 9, 2015 ERCOT Board meeting.

Protocol Revision Subcommittee (PRS) Report (see Key Documents)

John Varnell presented Revision Requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 684, Remove Annual RUC Impact Report Requirement

NPRR692, Removal of MIS Posting Requirement of DAM Credit Parameters

NPRR693, Incorporation of “Threshold Values for Competitive Constraint Test” into the Protocols

NPRR694, Non-Spin Schedule Requirements

NPRR695, Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation

NPRR699, Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other

NPRR700, Utilizing Actual Fuel Costs in Startup Offer Caps

NPRR701, As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market

NPRR703, Clarification of Disclosure Requirements for GINR Study Information

NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity

NPRR710, Removal of ORDC Phase 2 Language and Modification to HASL Calculation

Other Binding Document – Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder

Amanda Frazier moved to recommend approval of NPRR684, NPRR692, NPRR693, NPRR694, NPRR695, NPRR699, and NPRR700 as recommended by PRS in the respective 6/11/15 PRS Reports; to recommend approval of NPRR701, NPRR703, NPRR706, and NPRR710 as recommended by PRS in the respective 7/16/15 PRS Reports; and to recommend approval of the Other Binding Document “Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder, as recommended by PRS consistent with the 7/8/15 ERCOT comments – Attachment 1.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Project Review Discussion

Mr. Varnell reported that PRS reviewed aging projects associated with NPRRs that are not yet implemented, and asked for TAC’s guidance as to a proper method to review and address these aging items.  Ms. Frazier offered that the process was difficult but necessary, and was perhaps unique due to a number of Nodal Parking Deck items.  Ms. Frazier suggested that PRS annually review items that have been approved but not yet funded, and reminded Market Participants that the only remedy to remove gray-boxed language is to submit, vet, and approve another NPRR.  Clayton Greer expressed concern that the ERCOT Board not be routinely presented with NPRRs to add and then remove language.  Ms. Stephenson was supportive of an annual review by PRS, and suggested that Troy Anderson review the Project Priority List (PPL) with TAC, semi-annually.

Revision Requests Previously Tabled by TAC (See Key Documents)

Retail Market Guide Revision Request (RMGRR) 129, Revision to Customer Rescission Completion Timeline

Mr. R. Jones moved to table RMGRR129.  Mr. Gross seconded the motion.  The motion carried unanimously.

ROS Report (see Key Documents)

Alan Bern reviewed recent ROS activities and presented Revision Requests for TAC consideration.  Ms. Stephenson noted the number of ROS working groups and task forces, and reminded Market Participants that TAC would undertake its annual review of the TAC and Subcommittee structure after the August 27, 2015 TAC meeting.  Mr. R. Jones expressed concern that the White Paper Addressing Differences between the CDR Report and Transmission Planning Models is not consistent with the request of the ERCOT Board.

Nodal Operating Guide Revision Request (NOGRR) 144, Incorporation of “Manual Deployment and Recall of Responsive Reserve Service during Scarcity Conditions” into the Nodal Operating Guides

Ms. Frazier moved to approve NOGRR144 as recommended by ROS in the 7/9/15 ROS Report and as amended by the 7/23/15 ERCOT comments.  Mr. Gross seconded the motion.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 043, FIS Scoping Amendment

PGRR044, MIS Classification of GINR Study Information

Ms. Frazier moved to recommend approval of PGRR043 and PGRR44 as recommended by ROS in the respective 7/9/15 ROS Reports.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Voltage Reduction Task Force (VRTF) Update

Eithar Nashawati presented a report on the feasibility of Voltage Reduction in ERCOT.  Ms. Stephenson thanked Mr. Nashawati for the work of the VRTF and the requested report.

16.11.4.1, Determination of Total Potential Exposure for a Counter-Party – Request to Modify Value of Parameter T5 (see Key Documents)

Ms. Frazier requested that TAC modify the value of parameter T5 in Nodal Protocol Section 16.11.4.1, Determination of Total Potential Exposure for a Counter-Party.  Ms. Frazier opined that the implementation of NPRR639, Correction to Minimum Current Exposure, resulted in unintended consequences, and that the parameter T5 should be set at a value of 2 until an NPRR may be processed that more clearly distinguishes which Counter-Parties should have a higher T5 value.

Mark Ruane presented a review of Minimum Current Exposure (MCE) as revised by NPRR639, and asked TAC to clarify whether NPRR639 as implemented is consistent with market intentions.  Market Participants also received a presentation from Shams Siddiqi, who opined that NPRR639 is implemented correctly, and that changing the value of parameter T5 is inappropriate.  Market Participants expressed concern with changing any value before additional, robust discussion.

Mr. Greer moved to refer the request to modify parameter T5 to WMS, and to request WMS also review the long-term solution proposed by Luminant.  Adrian Pieniazek seconded the motion.  The motion carried via roll call vote, with three objections from the Investor Owned Utility (IOU) (Luminant, AEPSC, TNMP) Market Segment, and two abstentions from the Independent Power Marketer (IPM) (DC Energy) and the IOU (CenterPoint Energy) Market Segments.  (Please see ballot posted with Key Documents.)

Wholesale Market Subcommittee (WMS) Report (see Key Documents)

Seth Cochran reviewed recent WMS activities and requested TAC discussion of alternative implementation options for automation of NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events.  Market Participants discussed whether the Resource Cost Working Group (RCWG) Option 1 might be suitable, given the anticipated infrequency of the need for the manual workaround; whether uplift might be capped annually; and that NPRR714, Real-Time Make-Whole Payment for Exceptional Fuel Cost, is currently at PRS.  Ms. Stephenson suggested that Market Participants continue to process NPRR714 in the hope of finding a lower-cost implementation path, and that WMS work on the issue is concluded for the time being.

Verifiable Cost Manual Revision Request (VCMRR) 007, Alignment with NPRR699, Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other

VCMRR008, Alignment with NPRR700, Utilizing Actual Fuel Cost in Startup Offer Caps

Mr. Pieniazek moved to table VCMRR007 and VCMRR008.  Mr. Greer seconded the motion.  The motion carried unanimously.

Retail Market Subcommittee (RMS) Report (see Key Documents)

Kathy Scott reviewed recent RMS activities and presented a Revision Request for TAC consideration.

Retail Market Guide Revision Request (RMGRR) 130, Alignment of Section 7, Market Processes, with TDSP Terms & Conditions Tariff Effective 01/15/2015, and Adds New Appendix D3, TDSP’s Discretionary Services Timelines Matrix to Section 9, Appendices

Ms. Frazier moved to approve RMGRR130 as recommended by RMS in the 6/2/15 RMS Report as amended by the 7/28/15 Just Energy comments.  Mr. Gross seconded the motion.  The motion carried unanimously.

Commercial Operations Subcommittee (COPS) Report (see Key Documents)

Michelle Trenary reviewed recent COPS activities.

Ancillary Service Redesign Update (see Key Documents)

Kenneth Ragsdale, Julia Matevosjana, and Sam Newell provided an Ancillary Service redesign update.  Mr. Ragsdale noted that ERCOT is developing comments to NPRR667, Ancillary Service Redesign; that the Cost Benefit Analysis is projected to be completed in October 2015; and that discussion of comments to NPRR667 and the Cost Benefit Analysis will likely take place in November and December 2015.

Mr. Ragsdale reviewed the draft study assumptions for the Cost Benefit Analysis.  Ms. Stephenson requested that ERCOT Staff and The Brattle Group host a full workshop in October 2015 when the Cost Benefit Analysis is completed.

Distributed Resource Energy and Ancillaries Market (DREAM) Task Force Update (see Key Documents)

DREAMTF Leadership Confirmation

Kenan Ögelman moved to confirm 2015 DREAMTF leadership:

- Greg Thurnher – Chair

- Lance Cunningham – Vice Chair

- Jim Lee – Vice Chair

Marcus Pridgeon seconded the motion.  The motion carried unanimously.

DREAMTF Scope

Mr. Thurnher presented the draft DRAMTF Scope.  Market Participants offered language revisions.

Ms. Frazier moved to approve the DREAMTF Scope as revised by TAC.  Mr. Gross seconded the motion.  The motion carried unanimously.

ERCOT Operations, Planning, and IT Report (see Key Documents)

Energy Management System (EMS) Coding Issue

Mr. B. Jones reported that while investigating an inquiry received on June 22, 2015 from a Market Participant, ERCOT identified a case where the Shift Factor of a 138 kV radial transmission line was calculated in error due to a software coding issue in the calculation of Shift Factors in its EMS – failure to zero out Resistance (R) in the calculation, and that on July 8, 2015 ERCOT implemented an emergency fix to zero out the Resistance (R) value.  Mr. B. Jones added that ERCOT does not believe it can make an accurate price assumption for the purposes of resettling the market, and invited stakeholder input regarding ERCOT’s communication and process.

Market Participants concurred that there is no accurate way to resettle, but requested that ERCOT provide additional data at the August 5, 2015 WMS meeting; questioned why the issue was not communicated closer to July 8, 2015; and noted that there was a Congestion Revenue Right (CRR) auction in the interim.  Mr. B. Jones offered that ERCOT wanted to complete initial analysis and not communicate partial information, and that ERCOT is reviewing its internal processes.  Market Participants requested that ERCOT issue a Market Notice regarding the coding change.

Other Business (see Key Documents)

Working Group/Task Force Leadership Election Discussion

Ms. Stephenson noted that there is not a procedure for determining leadership at the working group and task force level.  Market Participants discussed that the TAC Procedures might be revised to clarify that non-voting bodies may generate a list of nominees for consideration at the parent voting body.  Some Market Participants expressed concern that limiting election of leadership to ERCOT Members disenfranchises stakeholders that do not fit into an established ERCOT Market Segment.  Other Market Participants offered that non-Members are still able to participate in the stakeholder process.

TAC/TAC Subcommittee Structural and Procedural Review

Ms. Stephenson reminded Market Participants that the annual TAC/TAC Subcommittee Structural and Procedural Review would begin in August.

TAC Goals Review

Ms. Stephenson requested that Market Participants review the TAC Goals, and advised TAC that she would provide an update at the October 13, 2015 meeting of the ERCOT Board.

Valley Weather Zone

Ms. Stephenson raised to TAC’s awareness discussions underway at ROS, RMS, and COPS regarding a new Valley Weather Zone.  Market Participants requested that ERCOT describe its process for determining the need for a new Weather Zone, how it would be implemented, and how many weather stations will be contained in the zone.

- Adjournment

Ms. Stephenson adjourned the July 30, 2015 TAC meeting at 2:12 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/7/30/31901-TAC