## Disclosure Reports
Report Name:
48 Hour Ancillary Services Reports | EMIL ID: | Report Type ID:
| NP3-911-ER | 13057
| Product Description: | This report contains all 48 Hour disclosure data related to DAM for each hourly Settlement Interval related to Ancillary Services.
| Files included in this report: | File Name | Description | Column Headings
|  | 48h_Agg_AS_Offers_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate Ancillary Service Offers (prices and quantities) in the DAM, for each type of Ancillary Service (OFFNS, ONNS, REGDN, REGUP, RRSGN, RRSLD, & RRSNC) regardless of a Resources On-Line or Off-Line status. For Responsive Reserve (RRS) service, ERCOT shall separately post aggregated offers from Generation Resources, Controllable Load Resources, and non-Controllable Load Resources. Linked Ancillary Service Offers will be included as non-linked Ancillary Service Offers. | Delivery Date Hour Ending MW Offered "AS Type" Offer Price: Price for delivery date and hour based on the "AS Type" which is indicated in file name
|  | 48h_Self_Arranged_AS_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate Self-Arranged Ancillary Service Quantity, for each type of service (NSPIN, REGDN, REGUP, RRSGEN, RRSLOAD), by hour. | Delivery Date Hour Ending Total Self-Arranged AS - "AS Type": The aggregate quantity for delivery date and hour based on the - "AS Type" which is indicated in file name
|  | 48h_Cleared_DAM_AS_xxxx-<DD-MON-YY>.csv where xxxx = the AS Type | The aggregate amount of cleared Ancillary Service Offers (NSPIN, REGDN, REGUP, RRSGEN, RRSLOAD). | Delivery Date Hour Ending MW Offered Total Cleared AS - "AS Type": The aggregate quantity for delivery date and hour based on the "AS Type" which is indicated in file name
48 Hour DAM and SCED Energy Curves Reports | EMIL ID: | Report Type ID:
| NP3-908-ER | 13054
| Product Description: | This report contains 48 hour data derived from the first complete execution of SCED in each 15-minute Settlement Interval related to Energy Curves.
| Files included in this report: | File Name | Description | Column Headings
|  | 48_Hour_Aggr_Energy_Demand_Curves_CLR-<DD-MON-YY> | An aggregate energy Demand curve based on the Real-Time Market (RTM) Energy Bid curves available to SCED. The energy Demand curve will be calculated beginning at the sum of the Low Power Consumptions (LPCs) and ending at the sum of the Maximum Power Consumptions (MPCs) for Controllable Load Resources with RTM Energy Bids, with the dispatch for each Controllable Load Resource constrained between the Controllable Load Resource’s LPC and MPC. The result will represent the ERCOT System Demand response capability available to SCED of the Controllable Load Resources with RTM Energy Bids at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp Repeated Hour Flag Price: Price at MW Bid MW: MW Bid
|  | 48h_Agg_Energy_Demand_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Energy_Demand_Curves-<DD-MON-YY> | An aggregate energy Demand curve based on the DAM Energy Bid curves available to the DAM, not taking into consideration any physical limitations of the ERCOT System. | Delivery Date Hour Ending Price: Price at MW Bid MW: Megawatts Bid
|  | 48h_Agg_Energy_Supply_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Energy_Supply_Curves-<DD-MON-YY> | An aggregate energy supply curve based on all energy offers that are available to the DAM, not taking into consideration Resource Startup Offer or Minimum-Energy Offer or any physical limitations of the ERCOT System. The result will represent the energy supply curve at various pricing points for energy offers available in the DAM. | Delivery Date Hour Ending Price: Price at MW Offered MW: Megawatts Offered
|  | 48h_Agg_Min_Energy_Supply_Curves_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Min_Energy_Supply_Curves-<DD-MON-YY> | Aggregate minimum energy supply curves based on all Minimum-Energy Offers that are available to the DAM. | Delivery Date Hour Ending Price: Price at MW Offered MW Offered: MW Offered
|  | 48h_Agg_Supply_Curves_Non_Wind_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Supply_Curves_Non_Wind-<DD-MON-YY> | An aggregate energy supply curve based on non-wind Generation Resources with Energy Offer Curves that are available to SCED. The energy supply curves will be calculated beginning at the sum of the Low Sustained Limits (LSLs) and ending at the sum of the HSLs for non-wind Generation Resources with Energy Offer Curves, with the dispatch for each Generation Resource constrained between the Generation Resource’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the non-wind Generation Resources with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp Repeated Hour Flag Price: Price at MW Offered MW: MW Offered
|  | 48h_Agg_Supply_Curves_Wind_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Supply_Curves_Wind-<DD-MON-YY> | An aggregate energy supply curve based on Wind-powered Generation Resources (WGRs) with Energy Offer Curves that are available to SCED. The energy supply curves will be calculated beginning at the sum of the LSLs and ending at the sum of the HSLs for WGRs with Energy Offer Curves, with the dispatch for each WGR constrained between the WGR’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the WGRs with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System. | SCED Time Stamp Repeated Hour Flag Price: Price at MW Offered MW: MW Offered
48 Hour DAM Bids and Offers Reports | EMIL ID: | Report Type ID:
| NP3-909-ER | 13055
| Product Description: | This report will contain all 48 Hour disclosure data related to DAM for each hourly Settlement Interval related to Bids and Offers.
How to use / interpret this data:
| Files included in this report: | File Name | Description | Column Headings
|  | 48h_PTP_Obligation_Bids_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_PTP_Obligation_Bids-<DD-MON-YY> | The aggregate Point-to-Point (PTP) Obligation bids (not-to-exceed price and quantities) for the ERCOT System and the aggregate PTP Obligation bids that sink in the Disclosure Area for each Disclosure Area. | Delivery Date Hour Ending Settlement Point Source location for PtP Bid Settlement Point Sink location for PtP Bid PtP Bid MW PtP Bid Price Bid ID
|  | 48h_Tot_Clrd_Ene_Bids_Ene_Offers_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Tot_Clrd_Ene_Bids_Ene_Offers-<DD-MON-YY> | The aggregate amount of cleared energy bids and offers including cleared Minimum-Energy Offer quantities. | Delivery Date Hour Ending Sum Cleared DAM Bids: Sum of DAM Bids cleared for each hour Sum Cleared 3PO: Sum of 3PO Offers cleared Sum Cleared Energy Only Offers: Sum of DAM Energy Only Offers cleared
48 Hour Highest Price AS Offer Selected | EMIL ID: | Report Type ID:
| NP3-915-EX | 13018
| Product Description: | The offer price and name of the entity for the highest-priced offer selected or dispatched by ERCOT for each interval.
| Files included in this report: | File Name | Description | Column Headings
|  | 2day_Highest_Price_AS_Offer_Selected-<DD-MON-YY> | Offer curves (prices and quantities) for each type of ancillary service and for energy at each settlement point - ERCOT shall post the offer price and the name of the entity submitting the offer 48 hours after the day for which the information is accumulated. | Delivery Date Hour Ending Resource Name with Highest-Priced Offer Selected in DAM AS Type: Four AS Types include REGUP, REGDN, RRS, and NSPIN Block Indicator Offered Quantity Offered Price
48 Hour Highest Price Offered in SCED | EMIL ID: | Report Type ID:
| NP3-916-EX | 13029
| Product Description: | The offer price and the name of the Entity submitting the offer for the highest-priced offer selected or Dispatched by SCED two days after the applicable Operating Day.
| Files included in this report: | File Name | Description | Column Headings
|  | 2day_Highest_Price_Offered_SCED-<DD-MON-YY> | The offer price and the name of the Entity submitting the offer for the highest-priced offer selected or Dispatched by SCED two days after the applicable Operating Day. If multiple Entities submitted the highest-priced offers selected, all Entities shall be identified. | SCED Time Stamp Repeated Hour Flag Batch ID LMP Generation Resource Proxy Extension: 'No' if 1) SCED SYSTEM LAMBDA from database >= System Wide CAP-0.022999.98 OR 2) for a resource , its maximum price is not NULL and its SCED BASEPOINT LMP is? in database (minimum price, maximum price) 'Y' otherwise Power Balance Penalty Flag: 'Yes' if SYSTEM LAMDA in database >= (System Wide CAP-0.02) 'No' otherwise
48 Hour Real Time Gen and Load Data Reports | EMIL ID: | Report Type ID:
| NP3-910-ER | 13056
| Product Description: | Contains all 48 Hour disclosure data related to DAM.
| Files included in this report: | File Name | Description | Column Headings
|  | 48h_Agg_DSR_Loads-<DD-MON-YY> | Each telemetered Dynamically Scheduled Resource (DSR) Load, and the telemetered Resource net output(s) associated with each DSR Load | SCED Time Stamp Repeated Hour Flag SUM TELEM DSR LOAD: Sum of ERCOT system wide Telemetered Dynamically Scheduled Load for each SCED interval SUM TELEM DSR GEN: Sum of ERCOT system wide Telemetered Dynamically Scheduled Generation for each SCED interval
|  | 48h_Agg_Gen_Summary_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Gen_Summary-<DD-MON-YY> | The sum of the Base Points, High Ancillary Service Limit (HASL) and Low Ancillary Service Limit (LASL) of non-wind Generation Resources with Energy Offer Curves, sum of the Base Points, HASL and LASL of WGRs with Energy Offer Curves, and the sum of the Base Points, HASL and LASL of all remaining Generation Resources dispatched in SCED. | SCED Time Stamp Repeated Hour Flag SUM BASE POINT NON-WGR: Sum of ERCOT System wide base point for non-wind generation with energy offer curves SUM HASL NON-WGR: Sum of ERCOT System wide High Ancillary Service Limit for non-wind generation with energy offer curves SUM LASL NON-WGR:Sum of ERCOT System wide Low Ancillary Service Limit for non-wind generation with energy offer curves SUM BASE POINT WGR: Sum of ERCOT System wide base point for wind generation with energy offer curves SUM HASL WGR: Sum of ERCOT System wide High Ancillary Service Limit for wind generation with energy curves SUM LASL WGR: Sum of ERCOT System wide Low Ancillary Service Limit for wind generation with energy curves SUM BASE POINT REMAINING RESOURCES: Sum of ERCOT System wide base point for generation with no energy offer curves SUM HASL REMAINING RESOURCES: Sum of ERCOT System wide High Ancillary Service Limit for generation with no energy offer curves SUM LASL REMAINING RESOURCES: Sum of ERCOT System wide Low Ancillary Service Limit for generation with no energy offer curves SUM GEN TELEM MW : Sum all remaining Resources dispatched in SCED
|  | 48h_Agg_Load_Summary_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Load_Summary-<DD-MON-YY> | The actual ERCOT Load as determined by subtracting the Direct Current Tie (DC Tie) Resource actual telemetry from the sum of the telemetered Generation Resource net output as used in SCED | SCED Time Stamp Repeated Hour Flag SUM TELEM GEN MW: Sum of the Telemetered Generation Resource net output used in SCED SUM TELEM DCTIE MW: Direct Current Tie resource actual telemetry AGG LOAD SUMMARY: ERCOT load
|  | 48h_Agg_Output_Sched_xxxx-<DD-MON-YY> where xxxx = Disclosure Area and combined Disclosure Areas 48h_Agg_Output_Sched-<DD-MON-YY> | The sum of LSLs, sum of Output Schedules, and sum of HSLs for Generation Resources without Energy Offer Curves. | SCED Time Stamp Repeated Hour Flag SUM LSL OUTPUT SCHEDULE: Sum of Low Sustainable Limits without Energy Offer Curves SUM HSL OUTPUT SCHEDULE: Sum of High Sustainable Limits without Energy Offer Curves SUM OUTPUTSCHEDULE: Sum of Output Schedules without Energy Offer Curves
60 Day DAM Disclosure Reports | EMIL ID: | Report Type ID:
| NP3-966-ER | 13051
| Product Description: | This report will contain all 60 day disclosure data related to DAM.
| Files included in this report: | File Name | Description | Column Headings
|  | 60d_DAM_EnergyBidAwards-<DD-MON-YY> | For each Settlement Point, the award of each DAM Energy Bid from the DAM and the name of the QSE receiving the award | Delivery Date Hour Ending Settlement Point QSE Name Energy Only Bid Award in MW Settlement Point Price Bid ID
|  | 60d_DAM_EnergyBids-<DD-MON-YY> | For each Settlement Point, individual DAM Energy Bids available for the DAM and the name of the QSE submitting the bid | Delivery Date Hour Ending Settlement Point QSE Name Energy Only Bid MW1 Energy Only Bid Price1 Energy Only Bid MW2 Energy Only Bid Price2 Energy Only Bid MW3 Energy Only Bid Price3 Energy Only Bid MW4 Energy Only Bid Price4 Energy Only Bid MW5 Energy Only Bid Price5 Energy Only Bid MW6 Energy Only Bid Price6 Energy Only Bid MW7 Energy Only Bid Price7 Energy Only Bid MW8 Energy Only Bid Price8 Energy Only Bid MW9 Energy Only Bid Price9 Energy Only Bid MW10 Energy Only Bid Price10 Energy Only Bid ID Multi-Hour Block Indicator Block/Curve indicator: "F" = fixed quantity block,"V" = variable quantity block, "C" = curve.
|  | 60d_DAM_EnergyOnlyOfferAwards-<DD-MON-YY> | For each Settlement Point, the award of each DAM Energy-Only Offer from the DAM and the name of the QSE receiving the award | Delivery Date Hour Ending Settlement Point QSE Name Energy Only Offer Award in MW Settlement Point Price Offer ID
|  | 60d_DAM_EnergyOnlyOffers-<DD-MON-YY> | For each Settlement Point, individual DAM Energy-Only Offer Curves available for the DAM and the name of the QSE submitting the offer | Delivery Date Hour Ending Settlement Point QSE Name Energy Only Offer MW1 Energy Only Offer Price1 Energy Only Offer MW2 Energy Only Offer Price2 Energy Only Offer MW3 Energy Only Offer Price3 Energy Only Offer MW4 Energy Only Offer Price4 Energy Only Offer MW5 Energy Only Offer Price5 Energy Only Offer MW6 Energy Only Offer Price6 Energy Only Offer MW7 Energy Only Offer Price7 Energy Only Offer MW8 Energy Only Offer Price8 Energy Only Offer MW9 Energy Only Offer Price9 Energy Only Offer MW10 Energy Only Offer Price10 Energy Only Offer ID Multi-Hour Block Indicator Block/Curve indicator: "F" means fixed quantity block,"V" means variable quantity block, "C" means curve.
|  | 60d_DAM_Gen_Resource_Data-<DD-MON-YY> | The Generation Resource name and the Generation Resource’s Three-Part Supply Offer (prices and quantities), including Startup Offer and Minimum-Energy Offer, available for the DAM; The award of each Three-Part Supply Offer from the DAM and the name of the QSE receiving the award; The awards for each Ancillary Service from DAM for each Generation Resource; | Delivery Date Hour Ending Resource Name Resource Type QSE submitted Curve-MW1 QSE submitted Curve-Price1 QSE submitted Curve-MW2 QSE submitted Curve-Price2 QSE submitted Curve-MW3 QSE submitted Curve-Price3 QSE submitted Curve-MW4 QSE submitted Curve-Price4 QSE submitted Curve-MW5 QSE submitted Curve-Price5 QSE submitted Curve-MW6 QSE submitted Curve-Price6 QSE submitted Curve-MW7 QSE submitted Curve-Price7 QSE submitted Curve-MW8 QSE submitted Curve-Price8 QSE submitted Curve-MW9 QSE submitted Curve-Price9 QSE submitted Curve-MW10 QSE submitted Curve-Price10 Start Up Hot Start Up Inter Start Up Cold Min Gen Cost HSL LSL Resource Status Awarded Quantity Settlement Point Name Energy Settlement Point Price RegUp Awarded RegUp MCPC RegDown Awarded RegDown MCPC RRS Awarded RRS MCPC NonSpin Awarded NonSpin MCPC
|  | 60d_DAM_Generation_Resource_ASOffers-<DD-MON-YY> | The Resource name and the Resource’s Ancillary Service Offers available for the DAM | Delivery Date Hour Ending Generation Resource Name Multi-Hour Block Flag BLOCK INDICATOR1 PRICE1 RRS PRICE1 ONLINE NONSPIN PRICE1 REGUP PRICE1 REGDOWN PRICE1 OFFLINE NONSPIN QUANTITY MW1 BLOCK INDICATOR2 PRICE2 RRS PRICE2 ONLINE NONSPIN PRICE2 REGUP PRICE2 REGDOWN PRICE2 OFFLINE NONSPIN QUANTITY MW2 BLOCK INDICATOR3 PRICE3 RRS PRICE3 ONLINE NONSPIN PRICE3 REGUP PRICE3 REGDOWN PRICE3 OFFLINE NONSPIN QUANTITY MW3 BLOCK INDICATOR4 PRICE4 RRS PRICE4 ONLINE NONSPIN PRICE4 REGUP PRICE4 REGDOWN PRICE4 OFFLINE NONSPIN QUANTITY MW4 BLOCK INDICATOR5 PRICE5 RRS PRICE5 ONLINE NONSPIN PRICE5 REGUP PRICE5 REGDOWN PRICE5 OFFLINE NONSPIN QUANTITY MW5
|  | 60d_DAM_Load_Resource_ASOffers-<DD-MON-YY> | The Resource name and the Resource’s Ancillary Service Offers available for the DAM | Delivery Date Hour Ending Load Resource Name Multi-Hour Block Flag BLOCK INDICATOR1 PRICE1 RRS PRICE1 ONLINE NONSPIN PRICE1 REGUP PRICE1 REGDOWN PRICE1 OFFLINE NONSPIN QUANTITY MW1 BLOCK INDICATOR2 PRICE2 RRS PRICE2 ONLINE NONSPIN PRICE2 REGUP PRICE2 REGDOWN PRICE2 OFFLINE NONSPIN QUANTITY MW2 BLOCK INDICATOR3 PRICE3 RRS PRICE3 ONLINE NONSPIN PRICE3 REGUP PRICE3 REGDOWN PRICE3 OFFLINE NONSPIN QUANTITY MW3 BLOCK INDICATOR4 PRICE4 RRS PRICE4 ONLINE NONSPIN PRICE4 REGUP PRICE4 REGDOWN PRICE4 OFFLINE NONSPIN QUANTITY MW4 BLOCK INDICATOR5 PRICE5 RRS PRICE5 ONLINE NONSPIN PRICE5 REGUP PRICE5 REGDOWN PRICE5 OFFLINE NONSPIN QUANTITY MW5 NCLR Flag
|  | 60d_DAM_Load_Resource_Data-<DD-MON-YY> | The awards for each Ancillary Service from DAM for each Load Resource | Delivery Date Hour Ending Load Resource Name Max Power Consumption for Load Resource Low Power Consumption for Load Resource RegUp Awarded RegUp MCPC RegDown Awarded RegDown MCPC RRS Awarded RRS MCPC NonSpin Awarded NonSpin MCPC
|  | 60d_DAM_PTP_Obligation_Option-<DD-MON-YY> | For each Settlement Point, individual Congestion Revenue Rights (CRR) Offers available to the DAM that sink at the Settlement Point and the QSE submitting the offer; | Delivery Date Hour Ending QSE Name Settlement Point Source Settlement Point Sink MW Price Offer ID Multi-Hour Block Indicator CRR ID
|  | 60d_DAM_PTP_Obligation_OptionAwards-<DD-MON-YY> | For each Settlement Point, the award of each CRR Offer from the DAM that sink at the Settlement Point and the QSE submitting the offer | Delivery Date Hour Ending QSE Name Settlement Point Source Settlement Point Sink MW Price Offer ID CRR ID
|  | 60d_DAM_PTPObligationBidAwards-<DD-MON-YY> | For each Settlement Point, the award of each PTP Obligation bid from the DAM that sinks at the Settlement Point, including whether or not the PTP Obligation bid was Linked to an Option, and the QSE submitting the bid | Delivery Date Hour Ending QSE Name Settlement Point Source Settlement Point Sink PtP Bid Award - MW PtP Bid - Price Bid ID
|  | 60d_DAM_PTPObligationBids-<DD-MON-YY> | For each Settlement Point, individual PTP Obligation bids available to the DAM that sink at the Settlement Point and the QSE submitting the bid | Delivery Date Hour Ending QSE Name Settlement Point Source Settlement Point Sink PtP Bid - MW PtP Bid - Price Bid ID Multi-Hour Block Indicator
|  | 60d_DAM_QSE_Self_Arranged_AS-<DD-MON-YY> | The self-arranged Ancillary Service by service for each QSE | Delivery Date Hour Ending QSE Total Self-Arranged AS RegUp Total Self-Arranged AS RegDown Total Self-Arranged AS NonSpin Total Self-Arranged AS RRS for Gen Total Self-Arranged AS RRS for CLR Total Self-Arranged AS RRS for NCLR
60 Day SCED Disclosure Reports | EMIL ID: | Report Type ID:
| NP3-965-ER | 13052
| Product Description: | This report will contain all 60 day disclosure data related to SCED.
| Files included in this report: | File Name | Description | Column Headings
|  | 60d_HDL_LDL_ManOverride-<DD-MON-YY> | The summary LDL and HDL report for any Generation Resource, instances of manual overrides of HDL or LDL, including the name of the Generation Resource and the type of override | SCED Timestamp Repeated Hour Flag Participant Name Resource Name HDL Original HDL Manual HDL Final LDL Original LDL Manual LDL Final Reason Code
|  | 60d_Load Resource_Data_in_SCED-<DD-MON-YY> | The following Load Resource data using a single snapshot during the first SCED execution in each Settlement Interval: (i) The Load Resource name; (ii) The Load Resource status; (iii) The Maximum Power Consumption (MPC for a Load Resource); (iv) The Low Power Consumption (LPC for a Load Resource); (v) The telemetered real power consumption; and (vi) The Ancillary Service Resource Responsibility for each Ancillary Service | SCED Time Stamp Repeated Hour Flag Resource Name Telemetered Resource Status Max Power Consumption Low Power Consumption Real Power Consumption AS Responsibility for RRS AS Responsibility for NonSpin AS Responsibility for RegUp AS Responsibility for RegDown
|  | 60d_SCED_DSR_Load_Data-<DD-MON-YY> | For a DSR, the DSR Load and associated DSR name and DSR net output | SCED Time Stamp Repeated Hour Flag QSE Name Total Telemetered DSR Loads
|  | 60d_SCED_Gen_Resource_Data-<DD-MON-YY> | The Generation Resource name and the Generation Resource’s Energy Offer Curve (prices and quantities): (i) As submitted; (ii) As submitted and extended (or truncated) with proxy Energy Offer Curve logic by ERCOT to fit to the operational HSL and LSL values that are available for dispatch by SCED; and (iii) As mitigated and extended for use in SCED, including the Incremental and Decremental Energy Offer Curves for DSRs; | SCED Time Stamp Repeated Hour Flag Resource Name Resource Type SCED1 Curve-MW1 SCED1 Curve-Price1 SCED1 Curve-MW2 SCED1 Curve-Price2 SCED1 Curve-MW3 SCED1 Curve-Price3 SCED1 Curve-MW4 SCED1 Curve-Price4 SCED1 Curve-MW5 SCED1 Curve-Price5 SCED1 Curve-MW6 SCED1 Curve-Price6 SCED1 Curve-MW7 SCED1 Curve-Price7 SCED1 Curve-MW8 SCED1 Curve-Price8 SCED1 Curve-MW9 SCED1 Curve-Price9 SCED1 Curve-MW10 SCED1 Curve-Price10 SCED1 Curve-MW11 SCED1 Curve-Price11 SCED1 Curve-MW12 SCED1 Curve-Price12 SCED1 Curve-MW13 SCED1 Curve-Price13 SCED1 Curve-MW14 SCED1 Curve-Price14 SCED1 Curve-MW15 SCED1 Curve-Price15 SCED1 Curve-MW16 SCED1 Curve-Price16 SCED1 Curve-MW17 SCED1 Curve-Price17 SCED1 Curve-MW18 SCED1 Curve-Price18 SCED1 Curve-MW19 SCED1 Curve-Price19 SCED1 Curve-MW20 SCED1 Curve-Price20 SCED1 Curve-MW21 SCED1 Curve-Price21 SCED1 Curve-MW22 SCED1 Curve-Price22 SCED1 Curve-MW23 SCED1 Curve-Price23 SCED1 Curve-MW24 SCED1 Curve-Price24 SCED1 Curve-MW25 SCED1 Curve-Price25 SCED1 Curve-MW26 SCED1 Curve-Price26 SCED1 Curve-MW27 SCED1 Curve-Price27 SCED1 Curve-MW28 SCED1 Curve-Price28 SCED1 Curve-MW29 SCED1 Curve-Price29 SCED1 Curve-MW30 SCED1 Curve-Price30 SCED1 Curve-MW31 SCED1 Curve-Price31 SCED1 Curve-MW32 SCED1 Curve-Price32 SCED1 Curve-MW33 SCED1 Curve-Price33 SCED1 Curve-MW34 SCED1 Curve-Price34 SCED1 Curve-MW35 SCED1 Curve-Price35 SCED2 Curve-MW1 SCED2 Curve-Price1 SCED2 Curve-MW2 SCED2 Curve-Price2 SCED2 Curve-MW3 SCED2 Curve-Price3 SCED2 Curve-MW4 SCED2 Curve-Price4 SCED2 Curve-MW5 SCED2 Curve-Price5 SCED2 Curve-MW6 SCED2 Curve-Price6 SCED2 Curve-MW7 SCED2 Curve-Price7 SCED2 Curve-MW8 SCED2 Curve-Price8 SCED2 Curve-MW9 SCED2 Curve-Price9 SCED2 Curve-MW10 SCED2 Curve-Price10 SCED2 Curve-MW11 SCED2 Curve-Price11 SCED2 Curve-MW12 SCED2 Curve-Price12 SCED2 Curve-MW13 SCED2 Curve-Price13 SCED2 Curve-MW14 SCED2 Curve-Price14 SCED2 Curve-MW15 SCED2 Curve-Price15 SCED2 Curve-MW16 SCED2 Curve-Price16 SCED2 Curve-MW17 SCED2 Curve-Price17 SCED2 Curve-MW18 SCED2 Curve-Price18 SCED2 Curve-MW19 SCED2 Curve-Price19 SCED2 Curve-MW20 SCED2 Curve-Price20 SCED2 Curve-MW21 SCED2 Curve-Price21 SCED2 Curve-MW22 SCED2 Curve-Price22 SCED2 Curve-MW23 SCED2 Curve-Price23 SCED2 Curve-MW24 SCED2 Curve-Price24 SCED2 Curve-MW25 SCED2 Curve-Price25 SCED2 Curve-MW26 SCED2 Curve-Price26 SCED2 Curve-MW27 SCED2 Curve-Price27 SCED2 Curve-MW28 SCED2 Curve-Price28 SCED2 Curve-MW29 SCED2 Curve-Price29 SCED2 Curve-MW30 SCED2 Curve-Price30 SCED2 Curve-MW31 SCED2 Curve-Price31 SCED2 Curve-MW32 SCED2 Curve-Price32 SCED2 Curve-MW33 SCED2 Curve-Price33 SCED2 Curve-MW34 SCED2 Curve-Price34 SCED2 Curve-MW35 SCED2 Curve-Price35 Output Schedule HSL HASL HDL LSL LASL LDL Telemetered Resource Status Base Point Telemetered Net Output Ancillary Service REGUP Ancillary Service REGDN Ancillary Service RRS Ancillary Service NSRS Bid_Type Start Up Cold Offer Start Up Hot Offer Start Up Inter Offer Min Gen Cost Submitted TPO-MW1 Submitted TPO-Price1 Submitted TPO-MW2 Submitted TPO-Price2 Submitted TPO-MW3 Submitted TPO-Price3 Submitted TPO-MW4 Submitted TPO-Price4 Submitted TPO-MW5 Submitted TPO-Price5 Submitted TPO-MW6 Submitted TPO-Price6 Submitted TPO-MW7 Submitted TPO-Price7 Submitted TPO-MW8 Submitted TPO-Price8 Submitted TPO-MW9 Submitted TPO-Price9 Submitted TPO-MW10 Submitted TPO-Price10 Proxy Extension
|  | 60d_SCED_QSE_Self_Arranged_AS-<DD-MON-YY> | The self-arranged Ancillary Service by service for each QSE | SCED Time Stamp Repeated Hour Flag QSE REGUP REGDN NSPIN RRSGN RRSLD RRSNC
|  | 60d_SCED_SMNE_GEN_RES-<DD-MON-YY> | The Generation Resource name and actual metered Generation Resource net output | Interval Time Interval Number Resource Code Interval Value
48 Hour Highest Priced Bids Selected or Dispatched in SCED | EMIL ID: | Report Type ID:
| NP3-257-EX | 13230
| Product Description: | The bid price and the name of the Entity submitting the bid for the highest-priced bid selected or Dispatched by SCED two days after the applicable Operating Day. If multiple Entities submitted the highest-priced bids selected, all Entities shall be identified.
| Files included in this report: | File Name | Description | Column Headings
|  | 48h_Highest_Price_Bids_Selected_Dispatched_in_SCED-<DD-MON-YY> | see Product Description | SCED Time Stamp Batch ID Repeated Hour Flag QSE Load Resource Highest Price Dispatched by SCED Proxy Extension
**For protocol traceability on the above Reports, please see the ERCOT Market Information List (EMIL) posted on ERCOT.com at http://www.ercot.com/services/mdt/index.html.