# NDSWG Report to ROS

# September 2015

**NDSWG last meet on July 21th**

**Major Agenda items reviewed and/or discussed:**

* General discussion of modeling new equipment, telemetry values and outage scheduler equipment status
* Upcoming NMMS Training for TSPs
* Reviewed:

Telemetry and State Estimator Standards
The 20 Most Important Station Voltages
 – **No changes recommended** –

* NPRR707, Provision of Transmission System Voltage Telemetry to QSEs

ERCOT described three possible solutions:

1. ERCOT provides data to the QSE from ERCOT’s ICCP server using the existing ERCOT WAN connection to the QSE’s ICCP server

2. TSP provides data to the QSE from TSP’s ICCP server by establishing a new connection through the ERCOT WAN network to the QSE ICCP server

3. QSE get the data from an RTU to RTU data connection at the TSP switchyard where the Resource interconnects

**Consensus of NDSWG is Solution #3**

**Future NDSWG meetings scheduled for 2015**

October 20, 2015