## Slide 1: CMWG Update
WMS September 2015 Meeting

## Slide 2: CRR Balancing Account Fund Discussion
The CRR Balancing Account fund appears to be working as expected
The cap of $10M was reached in July and money was allocated to Load
At this time, do not expect the fund to be needed for August CRR payments
  Money would again be allocated to Load

## Slide 3: Transaction Limit Utilization Discussion
Since raising the transaction limits:
  The number of transactions being submitted and the number of binding constraints have increased
  The percent of transactions being awarded has remained relatively steady at ~12%
  Net auction revenue has been lower than in previous years
    This trend is likely being driven by factors other than transaction limit changes

## Slide 4: FIS reports & market information asymmetry
CMWG has proposed a solution to address the market data inequity issue. CMWG would like input from the TSPs/ERCOT on any issues that could arise by enacting this solution.
Proposal: If an FIS Stability Report were to be released to an IE that would notify the IE of any of the following, this information must be released to the market as a whole simultaneously with the notification to the IE.
  potential system stability constraint(s)
  potential imposed interface(s)
  potential proposed stability MW limit value(s)
The entire FIS Stability Report does not need to be released. A short market notice including only the information listed above would suffice

## Slide 5: Pricing and Stability Limits
Stability Limits are not efficiently managed by GTLs because LMPs don’t accurately reflect the impact of generation on the post-contingency overload.
Stability constrained areas that would benefit from synchronous generators lack the proper price signals to encourage traditional resources to site in that region.
When stability constraints bind, the constrained region may see an LMP set by a low marginal cost producer (e.g. wind or solar.)
If a thermal resource online at LSL would increase that stability limit, the societal benefit would not be shared appropriately with the producer alleviating the stability constraint.
Similarly, wind units closest to the constraint have the least negative effect on the constraint, but see the lowest prices.
CMWG is reviewing alternative mechanisms that would preserve appropriate LMPs but compensate the resource for the incremental transfer capability created by committing a thermal resource in a stability constrained area.

## Slide 6
Interface limit without traditional resource: 2200MW
Interface limit with traditional resource online and committed: 3000MW
Wind available for export: 3200MW
λ=$50
Constrained area LMP = $0
Incremental System Benefit*: (700*$50) – (700*$0) = $35,000 savings
Less 100MW @$100 (0-LSL)
=$25,000 Net Societal Benefit
*Assume there are 801MW of $50 offers on the margin that can be replaced by 700MW of $0 for the calculation of incremental system benefit.

## Slide 7
Interface limit without traditional resource: 2200MW
Interface limit with traditional resource online and committed: 3000MW
LSL of Thermal Resource: 100MW
Wind available for export: 3200MW
λ=$50
Constrained area LMP = $0
Incremental System Benefit*: (700*$50) – (800*$0) = $35,000 savings
Reduced by 100MW @ $100 (0-LSL) nets $25,000
LMP at the Thermal Resource Bus: $0
None of the societal gain created by the producer is transferred to the producer
*Assume there are 801MW of $50 offers on the margin that can be replaced by 700MW of $0 for the calculation of incremental system benefit.

## Slide 8: CMWG Meeting scheduling
Per the TAC/ TAC Subcommittee Structural and Procedural Review should CMWG and QMWG coordinate meeting times?
  Back-to-back or Morning/Afternoon?
  Does this affect participation or travel schedules?