## AS_Capacity Monitor Example
System Ancillary Service Capacity Display
Display Location: | http://www.ercot.com/content/cdr/html/as_capacity_monitor.html
Date: | 2015-08-11
| Current Display |  | Including NPRR 495 |  | Protocol section | Including Draft NPRR
6.5.7.5
| System Ancillary Service Capacity Monitor |  | System Ancillary Service Capacity Monitor |  |  | System Ancillary Service Capacity Monitor
| Last Updated Aug 11 2015 13:06:11 CDT |  | Last Updated Aug 11 2015 13:06:11 CDT |  |  | Last Updated Aug 11 2015 13:06:11 CDT
| Responsive Reserve Capacity (MW) |  | Responsive Reserve Capacity (MW) |  |  | Responsive Reserve Capacity (MW)
| Generation Resource | 1212 | Generation Resources | 1212 |  | Generation Resources | 1212
| Load Resources excluding Controllable Load Resources | 1271 | Load Resources excluding Controllable Load Resources | 1271 |  | Load Resources excluding Controllable Load Resources | 1271
| Controllable Load Resources | 0 | Controllable Load Resources | 0 |  | Controllable Load Resources | 0
| Non-Spin Reserve Capacity (MW) |  | Deployed Generation Resource and Controllable Load Resources | 0 | (c) | Deployed Generation Resource and Controllable Load Resources | 0
| On-Line Generation Resources With Energy Offer Curves | 3 | Responsive Reserve Responsibility (MW) |  | (b) | Responsive Reserve Responsibility (MW)
| Undeployed Load Resources | 0 | Generation Resource | 1262 | (b) (i) | Generation Resource | 0
| Off-Line Generation Resources | 519 | Load Resources excluding Controllable Load Resources | 1283 | (b) (ii) | Load Resources excluding Controllable Load Resources | 0
| Resources with Output Schedules | 0 | Controllable Load Resources | 0 | (b) (iii) | Controllable Load Resources | 0
| Undeployed Regulation Capacity (MW) |  | Non-Spin Reserve Capacity (MW) |  |  | Non-Spin Reserve Capacity (MW)
| Undeployed Reg-Up | 314 | On-Line Generation Resources With Energy Offer Curves | 3 |  | On-Line Generation Resources With Energy Offer Curves | 3
| Undeployed Reg-Down | 371 | Undeployed Load Resources | 0 |  | Undeployed Load Resources | 0
| System Available Capacity (MW) |  | Off-Line Generation Resources | 519 |  | Off-Line Generation Resources | 519
| Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED | 0 | Resources with Output Schedules | 0 |  | Resources with Output Schedules | 0
| Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED | 0 | Non-Spin Reserve Responsibility (MW) |  | (e) | Non-Spin Reserve Responsibility (MW)
| Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED | 4722 | On-Line Generation Resources With Energy Offer Curves | NA | (e)(i) | On-Line Generation Resources With Energy Offer Curves | 0
| Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -26307 | On-Line Generation Resources With Output Schedules | NA | (e)(ii) | On-Line Generation Resources With Output Schedules | 0
| Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED | 3 | Load Resources | NA | (e)(iii) | Load Resources | 0
| Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -1440 | Off-Line Generation Resources excluding Quick Start Generation Resources | NA | (e)(iv) | Off-Line Generation Resources excluding Quick Start Generation Resources | 0
| ERCOT-wide Physical Responsive Capability |  | Quick Start Generation Resources | NA | (e)(v) | Quick Start Generation Resources | 0
| ERCOT-wide Physical Responsive Capability (PRC) | 4690 | Regulation Capacity (MW) |  |  | Regulation Capacity (MW)
|  |  | Undeployed Reg-Up | 314 |  | Undeployed Reg-Up | 314
|  |  | Undeployed Reg-Down | 371 |  | Undeployed Reg-Down | 371
|  |  | Deployed Reg-Up | 98 | (h) | Deployed Reg-Up | 0
|  |  | Deployed Reg-Down | 0 | (h) | Deployed Reg-Down | 0
|  |  | Regulation Responsibility (MW) |  | (g) | Regulation Responsibility (MW)
|  |  | Reg-Up | 412 | (g) | Reg-Up | 0
|  |  | Reg-Down | 371 | (g) | Reg-Down | 0
|  |  | System Available Capacity (MW) |  |  | System Available Capacity (MW)
|  |  | Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED | 0 |  | Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED | 0
|  |  | Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED | 0 |  | Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED | 0
|  |  | Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED | 4722 |  | Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED | 4722
|  |  | Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -26307 |  | Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -26307
|  |  | Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED | 3 |  | Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED | 3
|  |  | Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -1440 |  | Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED | -1440
|  |  | ERCOT-wide Physical Responsive Capability (MW) |  |  | Capacity available to increase Generation Resource Base Points in the next 5 minutes in SCED (HDL) | 0 | xx
|  |  | ERCOT-wide Physical Responsive Capability (PRC) | 4690 |  | Capacity available to decrease Generation Resource Base Points in the next 5 minutes in SCED (LDL) | 0 | xx
ERCOT-wide Physical Responsive Capability (MW)
[6 empty] | ERCOT-wide Physical Responsive Capability (PRC) | 4690
[6 empty] | Real-Time Operating Reserve Demand Curve Capacity (MW) |  | xx
[6 empty] | Real-Time On-Line reserve capacity | 0 | xx
[6 empty] | Real-Time Off-Line reserve capacity | 0 | xx

## Sheet1 (hidden)
Graph Name | Line/Text | Graph Report | Output files | MIS/Dashboard View/Other | MIS/Dashboard Source | Report ID | Freq/Trigger | Source Java | Source | Source SQL | Source Table | Source Column
System Ancillary Service Capacity Monitor | Generation Resource | NP6904DB (as per source freq.) | as_capacity_monitor.html | SystemASCapMon.java - chart gen | AS_CAP_MON.RRC_GEN_RES | NP6904DB | 10 sec. | AsCapMonLoad.java | EMS | ASCapacityMonitor.sql | MIS_GS_AS_CAP_MON_DATA_S_VW | RRC_GEN_RES
| Load Resources |  |  |  | AS_CAP_MON.RRC_LOAD_RES_WO_CLR | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | RRC_LOAD_RES_WO_CLR
| Controllable Load Resources |  |  |  | AS_CAP_MON.RRC_CLR | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | RRC_CLR
| On-Line Gen. Res. w/Energy… |  |  |  | AS_CAP_MON.NSR_ONLINE_GEN_RES_WO_EO | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | NSR_ONLINE_GEN_RES_WO_EO
| On-Line Gen. Res. w/Output… |  |  |  | AS_CAP_MON.NSR_OFFLINE_RES_W_OS | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | NSR_OFFLINE_RES_W_OS
| Off-Line Gen. Resources |  |  |  | AS_CAP_MON.NSR_OFFLINE_GEN_RES | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | NSR_OFFLINE_GEN_RES
| Undeployed Load Resources |  |  |  | AS_CAP_MON.NSR_UNDEPLOYED_LOAD_RES | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | NSR_UNDEPLOYED_LOAD_RES
| Undeployed Reg-Up |  |  |  | AS_CAP_MON.UNDEPLOYED_REG_UP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | UNDEPLOYED_REG_UP
| Undeployed Reg-Down |  |  |  | AS_CAP_MON.UNDEPLOYED_REG_DOWN | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | UNDEPLOYED_REG_DOWN
| Capacity... decr. BP in SCED |  |  |  | AS_CAP_MON.CAP_CLR_DECREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_CLR_DECREASE_BP
| Capacity… incr. BP in SCED |  |  |  | AS_CAP_MON.CAP_CLR_INCREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_CLR_INCREASE_BP
| Capacity w/EOCs... incr. SCED |  |  |  | AS_CAP_MON.CAP_W_EO_INCREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_W_EO_INCREASE_BP
| Capacity w/EOCs... decr. SCED |  |  |  | AS_CAP_MON.CAP_W_EO_DECREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_WO_EO_DECREASE_BP
| Capacity w/o Energy... incr. SCED |  |  |  | AS_CAP_MON.CAP_WO_EO_INCREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_WO_EO_INCREASE_BP
| Capacity w/o Energy... decr. SCED |  |  |  | AS_CAP_MON.CAP_WO_EO_DECREASE_BP | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | CAP_W_EO_DECREASE_BP
| ERCOT Phys. Resp. Capability |  |  |  | AS_CAP_MON.PRC | [5 empty] | MIS_GS_AS_CAP_MON_DATA_S_VW | PRC