## Slide 1: PGDTF Update to ROS
September 3, 2015
Michael Juricek
PGDTF Chairman
<number>
9/3/2015 ROS Meeting

## Slide 2: Regulatory Activity
On January 21, 2015, NERC filed a Petition for Approval of TPL-007-1 with FERC.
On February 26, 2015, Foundation for Resilient Societies, Inc. Initiated a Level 2 Appeal which NERC is Processing.
On May 14, 2015, FERC Issued NOPR Proposing to Approve NERC TPL-007-1 and Directing NERC as Follows.
  Modify the Benchmark GMD Event Definition and Transformer Thermal Impact Study Requirements.
  Require Installation of Monitoring Equipment.
  Establish Specific Deadlines for the Development of Corrective Action Plans and the Completion of Plan Activities.
  Study GMD Topics and Make Informational Filings to FERC.
Mike Juricek – 9/3/2015 ROS Meeting
<number>

## Slide 3: Regulatory Activity
Comments on FERC NOPR Due Before July 27,2015.
  Numerous Comments Filed.
  Comments Ranged from Adopt as Filed to Start Over.
On August 17, 2015, NERC Notified the Foundation for Resilient Societies, Inc. the Level 2 Appeal Panel Had Decided the Foundation Was Afforded Fair and Equitable Treatment During the Development of the Proposed Standard.
Mike Juricek – 9/3/2015 ROS Meeting
<number>

## Slide 4: Proposed Timeline from Standards
Mike Juricek 9/3/2015 ROS Meeting
<number>
Notes: <number>

## Slide 5: Next Activities for PGDTF
Develop Procedure Manual.
Develop Plan for Documenting GMD Planning Activities.
Host Training on GMD Model Development on October 1, 2015 in Taylor.
Create Model for GMD Vulnerability Assessment.
Mike Juricek – 9/3/2015 ROS Meeting
<number>

## Slide 6: Questions and Answers
<number>
Mike Juricek – 9/3/2015 ROS Meeting