## Slide 1: 2015-09-03 ROS Mtg – PDCWG Update
GREDP –
CPS1 and CPS2 scores are very good.
CPS1 rolling average >170.
No time error corrections in July.

## Slide 2: 2015-09-03 ROS Mtg – PDCWG Update
SCR 773 –
ERCOT is looking at the GTBD equation to see if it is causing ramp constraints are causing price spikes. Possible areas to improve:
  Reduce regulation!
    Adjust zero crossing metric.
    Increase duration
    Would an ACE component be helpful

## Slide 3: 2015-09-03ROS Mtg – PDCWG Update
MOD-025-2 –
Comments were made by 2 TOs / TSPs.
Reactive Workshop Monday, August 31st brought PDCWG, QMWG, and OWG members together to discuss main points of draft development and additional comments.
Forward movement achieved.

## Slide 4: 2015-09-03 ROS Mtg – PDCWG Update
BAL-001-TRE-1 –
Open morning session w/ ERCOT and PUCT.
Two separate agendas were trying to drive these revision requests.
Some language changes are suggested and being reviewed by PUCT and TRE.
Positive forward progress is probable.