## Slide 1: PLWG Report to ROS
September 3, 2015

## Slide 2: PGRRs under review
PGRR042 – Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
PGRR045 – Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process

## Slide 3: PGRR042 Background
PLWG received an assignment from ROS to review load scaling methodologies used in the Regional Transmission Plan and ERCOT Independent Assessment of projects filed for review at RPG and make recommendations.
PGRR-042 was filed by ERCOT in February 2015.
ERCOT filed revision in attempt to address comments and concerns raised in written form and during discussion at PLWG.

## Slide 4: PRGG042 Status
Areas of non-consensus overlap with issues raised in ongoing litigation over the Houston Import Project and potentially PUC Project 44281 Review of ERCOT Methodologies for Transmission Planning and Resource Adequacy Reporting.
Parties to the ongoing litigation asked that PGRR-042 be tabled.
PLWG decided to table at the July 22 meeting.

## Slide 5: PGRR042 Primary Issues
Non-coincident peak load levels exceed generation in future year power flow cases.
Regional Transmission Plan (RTP) cases differ from SSWG cases:
  Use of ERCOT “90/10 Forecast”
  RTP cases developed for 4 different regions defined by combinations of weather zones
ERCOT’s Independent assessment may make additional case adjustments during RPG review

## Slide 6: PGRR042 Areas of non-Consensus
Load forecast used in RTP and in ERCOT Independent Review
Load scaling outside the region of study
Use of extraordinary dispatch procedures when modeled loads exceed modeled resources
Definition of study cases for Regional Transmission Plan
  Fixed definitions for study region
  Flexibility to re-define study region

## Slide 7: PGRR042 Possible ways forward
Leave PGRR tabled until PUCT Project 44281 is completed.
  Maintains status quo (ERCOT defines RTP and Independent Review scope seeking input from the Regional Planning Group)
Bring PGRR-042 to ROS for vote
Other options as directed by ROS.

## Slide 8: Assignments to PLWG
Generation Deliverability Criteria
  ERCOT staff is working on draft PGRR language for consideration.