## Slide 1
Reliability Deployment Price Adder and ONOPTOUT
ERCOT
QSE Managers Working Group
9/4/2015

## Slide 2: Overview
ERCOT Market Analysis Group has been observing some telemetry issues that have caused the Reliability Deployment Price Adder to not be run as intended. Some of these instances were likely caused by confusion around the opt-out of RUC settlement and some were simply incorrect telemetry.
Link to presentation from training session on telemetry requirements and implementation of NPRR626 and ORDC
  http://www.ercot.com/content/wcm/key_documents_lists/72252/Generator_Telemetry_Webex_7282015.pptx

## Slide 3: Current Implementation Examples
Current implementation of the Reliability Deployment Price Adder (NPRR 626) (RTRDP) SCED runs are triggered by either load deployments or a Resource Status Telemetry of ONRUC.
  Resource is not RUCed and telemeters ONRUC at anytime
  Resource is RUCed and is has not opted-out and telemeters other than ONRUC at anytime during the RUC block
  Resource is RUCed and has opted-out, on their COP, and telemeters ONRUC instead of ONOPTOUT

## Slide 4: Potential Solutions
Regardless of when the RUC is communicated use a Resource Status telemetry snapshot when the following are true:
    The resource has a confirmed RUC commitment
    First hour of the RUC commitment block
    Online resource status except for STARTUP
  This Resource status snapshot would be used for the entire RUC block and any extensions of the RUC commitment block.
  This status would be used in the QSE’s settlement for the entire RUC commitment block as well as the RUC trigger for the RTRDP pricing run.
  If snapshot is ONOPTOUT then Resource is opted-out of RUC settlement and RTRDP pricing run will not be initiated.
  If any online status , since unit is RUC-committed, then Resource will be settled as per RUC settlement and the RTRDP pricing runs will be initiated for the entire block.
  Compliance around RUC startup

## Slide 5: Solution in-progress
Our intent is to implement a RUC commitment validation prior to running the RTRDP pricing run
We are working on this solution and will communicate to the market when this change will go into production

## Slide 6
QUESTIONS / COMMENTS???