| RRGRR Number | 008 | RRGRR Title | Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process |
| --- | --- | --- | --- |
| Date of Decision |  | August 18, 2015 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | October 1, 2015 |  |
| Priority and Rank Assigned |  | Not applicable. |  |
| Guide Sections Requiring Revision |  | Section 2, Resource Registration Glossary |  |
| Related Documents Requiring Revision/Revision Requests |  | Nodal Protocol Revision Request (NPRR) 705, Provides Consistency for References to the End Date of the Generation Interconnection Process Nodal Operating Guide Revision Request (NOGRR) 145, Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process Planning Guide Revision Request (PGRR) 045, Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process |  |
| Revision Description |  | In the Resource Interconnection Handbook, the term “commercial operations” has a different meaning to Resource Entities and financial institutions involved in construction and financing of Generation Resources than it does in the context of performance testing by ERCOT for new Generation Resources. This Recourse Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with NPRR705 by replacing various terms used to refer to the date on which Generation Resources complete the Resource interconnection process with the proposed defined terms “Commercial Operations Date” and “Resource Commissioning Date” to provide consistency for references to the end of the generation interconnection process. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Clears up confusion regarding various terms used to describe the end of the generation interconnection process and prevents potential schedule delays in bringing new Resources online. |  |
| RDWG Decision |  | On 7/14/15, RDWG was in consensus to recommend approval of RRGRR008 as revised by RDWG. On 8/18/15, RDWG was in consensus to endorse and forward to ROS the 7/14/15 RDWG Report and Impact Analysis for RRGRR008. |  |
| Summary of RDWG Discussion |  | On 7/14/15, participants discussed the reference to Protocol Section 4.4.9.4.1, Mitigated Offer Cap, in cell H73 of the Resource Registration Glossary. Participants recommended removing the reference as it is not necessary and only creates an opportunity for misalignment with the Protocols in the future. On 8/18/15, participants discussed the associated Revision Requests and decided to move this RRGRR forward; noting changes to any of the four associated requests may require parallel changes at ROS. |  |

| Sponsor |  |
| --- | --- |
| Name | Ted Hailu |
| E-mail Address | thailu@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3873 |
| Cell Number | (512) 431-8494 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

Market Rules Notes

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 008RRGRR-04a RDWG Report 081815.

Please note the following RRGRRs also propose revisions to Section 2:

- RRGRR006, Clarification of Descriptions and Alignment with Resource Asset Registration Forms

- RRGRR007, Adding Solar Resource Registration Inputs

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.