## Slide 1: WS ERS Performance and Third Party DR Self-Deployment
Loads in SCEDv2 Subgroup
Sept. 18, 2015

## Slide 2: WS ERS July 14 Test
We have administered 6 tests of WS ERS so far this summer.
  Test durations (including 30 min ramp) have ranged from 1:34 to 2:21 and have taken place in BH2 and BH3 (13:00 – 20:00).
July 14 was our longest test.
  17:00:10 – 19:21:24
  Fleet obligation was 21.74 MW
  Fleet reductions ranged from 11.3 – 21.9 MW

## Slide 3
Fleet MW Load Reductions
Recall
Deploy
30 min Ramp
Obligation 21.74 MW
Load reduction

## Slide 4: WS ERS Fleet All Test Results
June 11
June 25
July 14
July 23
August 25

## Slide 9
Note: Premise load reduced by use of a larger control group for one Load for this and subsequent tests