## Slide 1: AMS Metered Registered Generator
For Concept Discussion

## Slide 2: Competitive Area
TDSP Read Gen Form identifies the meter as AMS
ERCOT establishes a Resource ID (RID) record (RID=ESI ID) with a METERTYPECODE of AMS
TDSP sets ESI ID profile code to an existing “DG” profile type and submits both channels of AMS data
ERCOT generation aggregation process pulls the generation data from the AMSINTERVAL table
ERCOT load aggregation process excludes the generation when performing the unregistered generation load reduction process
September 24, 2015

## Slide 3: NOIE Area
TDSP Read Gen Form identifies the meter as AMS
ERCOT establishes a Resource ID (RID) record with a METERTYPECODE of AMS
TDSP submits generation data (channel 1) via the AMS ERCOT specified file format
ERCOT generation aggregation process pulls the generation data from the AMSINTERVAL table
September 24, 2015