## Slide 1
Economic Outage Coordination Process Options
OCITF
April 15, 2015

## Slide 2: Existing Process for >90 Days
< 90 Days?
All Outage Requests
High Impact?
No
Yes
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes
To <90 Day
Process
This is done somewhat simultaneously

## Slide 3: Proposed Process for >90 Days
< 90 Days?
All Outage Requests
High Impact?
No
Yes
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes
To <90 Day
Process
Secure

## Slide 4: Existing Process for < 90 Days
<90 Day Submittals
High Impact?
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes

## Slide 5: Proposed < 90 Day Process – Option 1
<90 Day Submittals
High Impact?
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes
Post (if Passes Reliability)
New Criteria:
Historic Impact
TOAP Required
Wind Required
Specific Gen Required
???
List of Potential High Economic Impact Outages
Posted on MIS Public

## Slide 6: Proposed < 90 Day Process – Option 2
Exceeds $ Criteria
<90 Day Submittals
High Impact?
No
Yes
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes
Analyze Cost with Future Tool
Post (if Passes Reliability)
Expected Congestion Rent Exceeds $xx

## Slide 7: Proposed < 90 Day Process – Option 3
Exceeds $ Criteria
<90 Day Submittals
High Impact?
No
Yes
Yes
Reliability Analysis
OK?
Move or Modify
No
No
Yes
Approve
Reject
No
Yes
Analyze Cost with Future Tool