## Slide 1: September 24, 2015 TAC Meeting Update to COPS
Michelle Trenary
October 14, 2015

## Slide 2: PRS Report
<number>
NPRR663, Ancillary Service Insufficiency Actions, Effective Date: Upon system implementation of NPRR689, Settlement of Ancillary Service Assignment in Real-Time Operations Approved
NPRR689, Settlement of Ancillary Service Assignment in Real-Time Operations, Effective Date: Upon system implementation Approved
NPRR714, Real-Time Make-Whole Payment for Exceptional Fuel Cost, Effective Date: November 1, 2015 (Manual implementation), Priority 2015, Rank 1370 (Partial automation) Approved
NPRR717, Clarification of ERCOT-Polled Settlement (EPS) Metering Exception for Emergency Response Service (ERS) Generation, Effective Date: November 1, 2015 Approved
NPRR718, Correct Requirement for Posting Adjusted Metered Load (AML) Data, Effective Date: Upon System Implementation Approved
NPRR721, Removal of Language Related to NPRR455, Congestion Revenue Rights (CRR) Shift Factors Report, Effective Date: November 1, 2015 Approved

## Slide 3: PRS Report Cont.
<number>
NPRR722, Removal of Language Related to NPRR181, Fuel Index Price (FIP) Definition, Effective Date: November 1, 2015
NPRR723, Removal of grey-boxes from NPRR256, Add Non-Compliance Language to QSE Performance Standards, Effective Date: November 1, 2015 Approved
NPRR724, Removal of Language Related to NPRR493, Half-Hour Reliability Unit Commitment (RUC) Clawback, Effective Date: November 1, 2015 Approved
NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes Withdrawn
NPRR707, Provision of Transmission System Voltage Telemetry to QSEs Withdrawn
LPGRR055, Extend Load Profile Model Calendar Inputs to 2030, Effective Date: To be determined Remains tabled at TAC

## Slide 4: ROS Report
<number>
Under-Frequency Load Shedding (UFLS) Survey
ERCOT staff conducted their annual survey to ensure the required automatic UFLS circuits were configured to provide load relief during an event.
All participants met the 25% minimum frequency response requirement total and had the proper load in the following Blocks.
Block 1 response at 59.3 HZ, 5%
Block 2 response at 58.9 HZ, 10%
Block 3 response at 58.5 HZ 10%

## Slide 5: COPS Report
<number>
LPGRR056, Initial Profile Assignment for Temporary Services, Effective Date: October 1, 2015 Approved
COPMGRR039, Commercial Operations Market Guide Clean-up of Old Invoices, Effective Date: October 1, 2015 Approved

## Slide 6: ERCOT Reports
<number>
Ancillary Services Redesign Update
  Good feedback received at the FAS/SIRS meeting held on September 21st
  Brattle CBA Report will be posted by the end of October; Brattle presentation scheduled for November 9th
  ERCOT NPRR667 comments are expected to be posted in time for comments during October and November
AEPSC Live Oak Regional Planning Group Project Endorsed
ERCOT staff will seek Board endorsement in October of Option 4. The estimated project cost is $74.5 million.

## Slide 7: Other TAC Business
<number>
TAC Send-off for Brad Jones
  Brad Jones to become the new CEO of the New York ISO
  ERCOT Vice-President of Commercial Operations – Kenan Ögelman
  ERCOT Vice-President of Grid Operations – Woody Rickerson
  Acting Chief Operating Officer – Jayant Tamby
Next TAC Meeting – October 29, 2015