## Process_Assumptions
Process & Assumptions
1) All AMS reads received between last day of "prior" month @ 17:00 and last day of "current" month @ 17:00
2) Batch processing occurs at approximately 17:00 so records loaded into the settlement system after that time are applied to the next day's batch.
3) The day of the starttime of the AMS transaction is compared to day of the time the AMS read was loaded into the settlement system plus 7 hours to account for the batch times mentioned above. datepart(starttime) - datepart(lstime + 7 hours) = AMS load lag
4) Data is partitioned into buckets based on the number of days of lag between starttime and time loaded into the settlement system.

## May15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-05-01 | 6825262 | 7773 | 22325 | 4376 | 635 | 22325 | 4376 | 635
2015-05-02 | 6978681 | 8174 | 10191 | 899 | 163 | 10191 | 899 | 163
2015-05-03 | 6871789 | 6735 | 7757 | 191 | 129 | 7757 | 191 | 129
2015-05-04 | 6561732 | 5273 | 10708 | 2598 | 526 | 10708 | 2598 | 526
2015-05-05 | 7176999 | 12352 | 40225 | 1961 | 190 | 40225 | 1961 | 190
2015-05-06 | 1859386 | 2862 | 12113 | 1935 | 258 | 12113 | 1935 | 258
2015-05-07 | 11900563 | 55105 | 29770 | 3106 | 251 | 29770 | 3106 | 251
2015-05-08 | 6847094 | 8791 | 18248 | 4842 | 905 | 18248 | 4842 | 905
2015-05-09 | 6265797 | 7085 | 10128 | 178 | 71 | 10128 | 178 | 71
2015-05-10 | 7496390 | 19654 | 7718 | 541 | 8 | 7718 | 541 | 8
2015-05-11 | 6892649 | 10877 | 10970 | 2584 | 266 | 10970 | 2584 | 266
2015-05-12 | 6250216 | 19632 | 25451 | 2181 | 210 | 25451 | 2181 | 210
2015-05-13 | 6647233 | 31007 | 20080 | 2045 | 199 | 20080 | 2045 | 199
2015-05-14 | 7746928 | 51248 | 22287 | 4503 | 780 | 22287 | 4503 | 780
2015-05-15 | 6866884 | 9687 | 16992 | 3585 | 1229 | 16992 | 3585 | 1229
2015-05-16 | 6691401 | 8989 | 10213 | 1386 | 117 | 10213 | 1386 | 117
2015-05-17 | 6925867 | 9419 | 6723 | 217 | 181 | 6723 | 217 | 181
2015-05-18 | 7062044 | 9438 | 10212 | 3387 | 430 | 10212 | 3387 | 430
2015-05-19 | 5974407 | 14097 | 21108 | 752 | 2 | 21108 | 752 | 2
2015-05-20 | 7997733 | 24469 | 22772 | 4981 | 210 | 22772 | 4981 | 210
2015-05-21 | 6819801 | 17250 | 24037 | 3776 | 101 | 24037 | 3776 | 101
2015-05-22 | 6798697 | 13879 | 28223 | 2776 | 717 | 28223 | 2776 | 717
2015-05-23 | 6391258 | 7139 | 13871 | 148 | 0 | 13871 | 148 | 0
2015-05-24 | 7384280 | 18362 | 7405 | 58 | 2 | 7405 | 58 | 2
2015-05-25 | 7170312 | 10392 | 4345 | 67 | 28 | 4345 | 67 | 28
2015-05-26 | 6910998 | 17281 | 8831 | 204 | 12 | 8831 | 204 | 12
2015-05-27 | 5819134 | 19795 | 34180 | 1383 | 1321 | 34180 | 1383 | 1321
2015-05-28 | 7375099 | 41946 | 24798 | 2932 | 2496 | 24798 | 2932 | 2496
2015-05-29 | 6945984 | 50205 | 30313 | 13461 | 1223 | 30313 | 13461 | 1223
2015-05-30 | 7082889 | 42442 | 25413 | 1460 | 19 | 25413 | 1460 | 19
2015-05-31 | 7127393 | 28422 | 14148 | 75 | 1 | 14148 | 75 | 1

## Jun15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-06-01 | 6303025 | 14955 | 22424 | 1764 | 580 | 22424 | 1764 | 580
2015-06-02 | 6988049 | 54283 | 59567 | 93556 | 314 | 59567 | 93556 | 314
2015-06-03 | 7893365 | 31914 | 28475 | 1422 | 90 | 28475 | 1422 | 90
2015-06-04 | 6906807 | 11017 | 24554 | 1469 | 141 | 24554 | 1469 | 141
2015-06-05 | 6717633 | 8103 | 36791 | 2224 | 227 | 36791 | 2224 | 227
2015-06-06 | 6597204 | 11037 | 13463 | 667 | 26 | 13463 | 667 | 26
2015-06-07 | 7070941 | 9700 | 7562 | 148 | 2 | 7562 | 148 | 2
2015-06-08 | 7001769 | 9254 | 20084 | 1352 | 108 | 20084 | 1352 | 108
2015-06-09 | 7086185 | 14828 | 34434 | 1528 | 130 | 34434 | 1528 | 130
2015-06-10 | 5683830 | 32149 | 16467 | 1040 | 51 | 16467 | 1040 | 51
2015-06-11 | 7129727 | 47617 | 31331 | 2228 | 565 | 31331 | 2228 | 565
2015-06-12 | 7418314 | 173532 | 35628 | 2003 | 455 | 35628 | 2003 | 455
2015-06-13 | 7175853 | 17939 | 20504 | 172 | 27 | 20504 | 172 | 27
2015-06-14 | 3561961 | 4798 | 5546 | 33 | 3 | 5546 | 33 | 3
2015-06-15 | 3729088 | 2055 | 9489 | 1731 | 610 | 9489 | 1731 | 610
2015-06-16 | 6863432 | 3417054 | 40233 | 1443 | 445 | 40233 | 1443 | 445
2015-06-17 | 10242121 | 71786 | 44408 | 1133 | 192 | 44408 | 1133 | 192
2015-06-18 | 6095747 | 9061 | 22760 | 2589 | 1014 | 22760 | 2589 | 1014
2015-06-19 | 6665203 | 21119 | 40110 | 4933 | 178 | 40110 | 4933 | 178
2015-06-20 | 7504216 | 33904 | 19474 | 159 | 18 | 19474 | 159 | 18
2015-06-21 | 3856522 | 13165 | 10817 | 160 | 2 | 10817 | 160 | 2
2015-06-22 | 10216764 | 55383 | 23527 | 2195 | 222 | 23527 | 2195 | 222
2015-06-23 | 6919011 | 211558 | 38875 | 2772 | 280 | 38875 | 2772 | 280
2015-06-24 | 3544634 | 3035 | 10279 | 2137 | 183 | 10279 | 2137 | 183
2015-06-25 | 9308559 | 74536 | 40525 | 2976 | 938 | 40525 | 2976 | 938
2015-06-26 | 7180310 | 33112 | 30517 | 1931 | 415 | 30517 | 1931 | 415
2015-06-27 | 6747138 | 39296 | 23781 | 490 | 2 | 23781 | 490 | 2
2015-06-28 | 6931294 | 74422 | 16735 | 209 | 0 | 16735 | 209 | 0
2015-06-29 | 6788987 | 22203 | 20095 | 2337 | 159 | 20095 | 2337 | 159
2015-06-30 | 7380329 | 28977 | 49198 | 753 | 63 | 49198 | 753 | 63

## Jul15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-07-01 | 6885762 | 15765 | 22798 | 3270 | 178 | 22798 | 3270 | 178
2015-07-02 | 7146902 | 32487 | 74697 | 49522 | 239 | 74697 | 49522 | 239
2015-07-03 | 7178493 | 15037 | 55414 | 4477 | 2220 | 55414 | 4477 | 2220
2015-07-04 | 6557461 | 8332 | 7977 | 223 | 167 | 7977 | 223 | 167
2015-07-05 | 7278433 | 10247 | 7825 | 172 | 18 | 7825 | 172 | 18
2015-07-06 | 6923712 | 5885 | 11585 | 224 | 58 | 11585 | 224 | 58
2015-07-07 | 6089618 | 11218 | 251488 | 2549 | 118 | 251488 | 2549 | 118
2015-07-08 | 7733231 | 11628 | 872146 | 15407 | 912 | 872146 | 15407 | 912
2015-07-09 | 6913854 | 8904 | 28143 | 3813 | 563 | 28143 | 3813 | 563
2015-07-10 | 6937533 | 12880 | 28684 | 2779 | 513 | 28684 | 2779 | 513
2015-07-11 | 6531745 | 14004 | 18300 | 6288 | 95 | 18300 | 6288 | 95
2015-07-12 | 1585387 | 8481 | 1995 | 10 | 0 | 1995 | 10 | 0
2015-07-13 | 12564745 | 59009 | 36771 | 2049 | 83 | 36771 | 2049 | 83
2015-07-14 | 6924247 | 14654 | 29077 | 2341 | 434 | 29077 | 2341 | 434
2015-07-15 | 6905341 | 7266 | 31043 | 3921 | 273 | 31043 | 3921 | 273
2015-07-16 | 6483702 | 6989 | 24094 | 4725 | 1144 | 24094 | 4725 | 1144
2015-07-17 | 6925267 | 15156 | 23714 | 4414 | 971 | 23714 | 4414 | 971
2015-07-18 | 7435968 | 23718 | 16119 | 1370 | 90 | 16119 | 1370 | 90
2015-07-19 | 6911675 | 5442 | 8431 | 161 | 2 | 8431 | 161 | 2
2015-07-20 | 6928524 | 6763 | 15477 | 2872 | 519 | 15477 | 2872 | 519
2015-07-21 | 6924235 | 10118 | 27989 | 1285 | 458 | 27989 | 1285 | 458
2015-07-22 | 6923175 | 8214 | 21316 | 3870 | 150 | 21316 | 3870 | 150
2015-07-23 | 2753981 | 2257 | 38642 | 4073 | 558 | 38642 | 4073 | 558
2015-07-24 | 11104870 | 91329 | 46192 | 4193 | 747 | 46192 | 4193 | 747
2015-07-25 | 6054978 | 5745 | 13096 | 491 | 4 | 13096 | 491 | 4
2015-07-26 | 7032437 | 17850 | 21527 | 145 | 11 | 21527 | 145 | 11
2015-07-27 | 7617875 | 201521 | 25341 | 2707 | 367 | 25341 | 2707 | 367
2015-07-28 | 6905530 | 13564 | 45049 | 2767 | 371 | 45049 | 2767 | 371
2015-07-29 | 6907230 | 6894 | 54515 | 4295 | 211 | 54515 | 4295 | 211
2015-07-30 | 6906278 | 7813 | 73686 | 3946 | 921 | 73686 | 3946 | 921
2015-07-31 | 6090649 | 7969 | 265557 | 87512 | 455 | 265557 | 87512 | 455