Date:	October 29, 2015

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Nodal Protocol Revision Requests (NPRRs) recommended for approval by PRS: - NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral [ERCOT] - NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts [ERCOT] - NPRR715, Clarification of Generator Modeling in the Market System [ERCOT] - NPRR716, Corrections to Aggregated Load and Participant Specific Generation Data Requirements [ERCOT] - NPRR726, Daily Network Operations Model PSS/E File Posting Modification [ERCOT] - NPRR728, Removal of Language Related to NPRR484, Revisions to Congestion Revenue Rights Credit Calculations and Payments, and NPRR554, Clarification of Future Credit Exposure Calculation [Luminant] - NPRR729, Clarification of Metering Requirements for Resources [ERCOT] - NPRR731, Changes to Annual Reporting Requirements for RUC Decommitment Payment Amounts [ERCOT] - NPRR732, Alignment of Verifiable Cost Language within Protocols [ERCOT] - NPRR733, Delete Expiration of Customer Load Data Protected Information Status [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1550 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to Financial Transfer (FT), Credit Monitoring and Management (CMM), Enterprise Information Services (EIS), and ERCOT.com; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides rules and procedures for Flexible Accounts, which may be used by a Counter-Party to make payments to and/or receive payments from ERCOT. This NPRR also addresses payment of Invoices and provides for annual disposition of interest on Cash Collateral. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR702 as revised by PRS. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report as amended by the 10/8/15 ERCOT comments and the Impact Analysis for NPRR702 with a recommended priority of 2016 and a rank of 1550. Credit WG Review: See 7/23/15 Credit WG comments. - NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts [ERCOT] Proposed Effective Date: Upon system implementation of NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity. ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; ERCOT grid operations and practices will be updated. Revision Description: This NPRR adds the ability for operators to consider whether sufficient Resources are available to recover reserves within an acceptable timeframe following a disturbance before declaring an Energy Emergency Alert (EEA); separates and clarifies the triggers for entering each step of the EEA plan from the operational goals while operating within each level of EEA; formalizes an amount of Physical Responsive Capacity (PRC) for operators to target when determining Load shed amounts in EEA Level 3; and removes the requirement to notify the Southwest Power Pool Reliability Coordinator when an EEA is declared as this is a North American Electric Reliability Corporation (NERC) requirement and is covered in the Operating Procedures. PRS Decision: On 9/10/15, PRS voted to recommend approval of NPRR708 as amended by the 7/15/15 ERCOT comments. There was one opposing vote from the Consumer Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. On 10/15/15, PRS voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR708. There were two abstentions from the Independent Generator and Consumer Market Segments. - NPRR715, Clarification of Generator Modeling in the Market System [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the modeling of Resources and brings the Protocols into better alignment with the current market systems by creating a new defined term, Resource Connectivity Node, and specifying that energy injection is at that node. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR715 as submitted. On 10/15/15, PRS voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR715. There were three abstentions from the IPM and Independent Generator (2) Market Segments. - NPRR716, Corrections to Aggregated Load and Participant Specific Generation Data Requirements [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes duplicative Protocol language and aligns Load and generation data posting requirements with current operating practice. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR716 as submitted. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR716. - NPRR726, Daily Network Operations Model PSS/E File Posting Modification [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes an ERCOT requirement to set ratings for series devices not secured in the Day-Ahead Market (DAM) to zero in the daily Power System Simulator for Engineering (PSS/E) Network Operations Model files. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR726 as submitted. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR726. - NPRR728, Removal of Language Related to NPRR484, Revisions to Congestion Revenue Rights Credit Calculations and Payments, and NPRR554, Clarification of Future Credit Exposure Calculation [Luminant] Proposed Effective Date: Upon system implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Market Information System (MIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes portions of Protocol language, including definitions, introduced by NPRR484 related to Congestion Revenue Rights (CRR) Auction processes, payments and credit calculations, portions of NPRR554 related to the calculation of Future Credit Exposure (FCE), and the report posting requirement for Counter-Party FCE for Point-to-Point (PTP) Options and PTP Obligations. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR728 as submitted. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report as amended by the 10/5/15 Luminant comments and Impact Analysis for NPRR728. - NPRR729, Clarification of Metering Requirements for Resources [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the metering requirements for Resources, specifically Interval Data Recorder (IDR) Meters versus IDRs. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR729 as submitted. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR729. - NPRR731, Changes to Annual Reporting Requirements for RUC Decommitment Payment Amounts [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies a reporting requirement for Reliability Unit Commitment (RUC) Decommitment Payment Amounts to state the report is only required where there is data to report, otherwise no report is posted. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR731 as submitted. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR731. - NPRR732, Alignment of Verifiable Cost Language within Protocols [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises paragraph (11) of Section 5.6.1, Verifiable Costs, to describe how ERCOT will determine Resource costs in the event that a Qualified Scheduling Entity (QSE) or Resource Entity fails to file verifiable costs within 30 days of a request to file such costs, and removes from the Protocols language describing the process for determining the verifiable actual costs as a result of a failed startup or for a RUC cancellation, and instead directs Market Participants to the Verifiable Cost Manual. PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR732 as submitted. On 10/15/15 PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report as amended by the 10/6/15 ERCOT comments and Impact Analysis for NPRR732. - NPRR733, Delete Expiration of Customer Load Data Protected Information Status [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the 180-day expiration of Protected Information status for raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a Customer or Electric Service Identifier (ESI ID). PRS Decision: On 9/10/15, PRS unanimously voted to recommend approval of NPRR733 as revised by PRS. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR733. Revision Requests Rejected None. Revision Requests Withdrawn None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the November 12, 2015 PRS Meeting - SCR786, Retail Market Test Environment [TDTWG] - NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides [ERCOT] - NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process [ERCOT] - NPRR712, Clarification of RUC Process [NRG] - NPRR713, Reactive Power Testing Requirements [Luminant] - NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold [COPS] - NPRR725, Modifications to CDR PUN Capacity Forecasting and PUN Net Capacity Reporting Requirements [ERCOT] - NPRR727, Removal of Language Related to NPRR327, State Estimator Data Redaction Methodology [Calpine/TIEC/Reliant] - NPRR730, Elimination of the RUC Behavioral Pricing Rule [Calpine] - NPRR735, Load Resource Controlled by High-Set Under-Frequency Relay Resource Parameters [ERCOT] - NPRR736, Updates to the Ancillary Service Capacity Monitor Display [ERCOT] - NPRR737, Clarification of SASM Notifications [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 [PDCWG] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA [IDR Meter Protocol Requirement Threshold Workshop] - NPRR720, Update to Settlement Stability Reporting Requirements [COPS] - NPRR734, Digital Attestation Signature Authority Expansion [Brasovan Energy Solutions] New Revision Requests Scheduled for Consideration at the November 12, 2015 PRS Meeting None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr