| NPRR Number | 729 | NPRR Title | Clarification of Metering Requirements for Resources |
| --- | --- | --- | --- |
| Date of Decision |  | October 15, 2015 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | January 1, 2016 |  |
| Priority and Rank Assigned |  | Not applicable. |  |
| Nodal Protocol Sections Requiring Revision |  | 10.9, Standards for Metering Facilities |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the metering requirements for Resources, specifically Interval Data Recorder (IDR) Meters versus IDRs. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | An Advanced Metering System (AMS) meter, or in the case of Non-Opt-In Entities (NOIEs), AMS equivalent, provides the same level of data granularity as an IDR Meter, and is suitable for both telemetry validation and Demand response measurement & verification for Aggregated Load Resources (ALRs). The IDR Meter requirement for verification of performance for ALR is unnecessary and inappropriately restrictive in an era in which a large majority of ERCOT Loads are metered with AMS meters. Rules and procedures for ALR metering are detailed in the Other Binding Document entitled “Requirements for Aggregate Load Resource Participation in the ERCOT Markets”. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR729 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 9/10/15, PRS unanimously voted to recommend approval of NPRR729 as submitted. All Market Segments were present for the vote. On 10/15/15, PRS unanimously voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR729. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 9/10/15, ERCOT confirmed for participants that the proposed language does not add/remove any existing data currently provided to the market. On 10/15/15, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Patterson / Don Tucker |
| E-mail Address | Mark.Patterson@ercot.com / Donald.Tucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3912 / 512-248-3913 |
| Cell Number | 512-569-5539 / 512-560-2378 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Market Rules Notes

None.

Proposed Protocol Language Revision

- 10.9	Standards for Metering Facilities

(1)	For TSP and DSP Metered Entities, an Interval Data Recorder (IDR) Meter is required on any of the following locations/sites:

(a)	All-Inclusive Generation Resources (with the exception of those excluded in this Section);

(b)	Non-Opt-In Entity (NOIE)  or External Load Serving Entity (ELSE) metering points used to determine the total Load for that NOIE or ELSE;

(c)	Service Delivery Points connected to the transmission system (>60 kV); and

(d)	Locations meeting IDR Meter requirements defined in Section 18, Load Profiling.

(2)	For TSP and DSP Metered Entities, an IDR is required on Load Resources participating in the Ancillary Services markets, with the exception of Aggregate Load Resources (ALRs) for which statistical sampling is used to validate telemetry, as detailed in the document titled “Requirements for Aggregate Load Resource Participation in the ERCOT Markets.”