## Slide 1: RDWG Report to ROS
Nov 5, 2015

## Slide 2: RRGRR 007 Adding Solar Registration Inputs
The RDWG met on October 20, and has completed it’s review of RRGRR 007 with the revised Impact Analysis, and is recommending approval with a priority of 2016, and a rank of 1500.

## Slide 3: Resource Limit Use in ERCOT
The RDWG requested ERCOT to provide a list of uses for the various “Resource Limits” found in ERCOT applications/documents.
The purpose of the request was to determine if the various uses of these limits were accurately supported by the RARF Glossary.
The deliverables from this effort will potentially be RRGRR/ NPRR submissions, and/or feedback to internal ERCOT groups.

## Slide 4: Resource Limit Use in ERCOT cont..
Resource Limits:
  RARF
    - Nameplate MVA - Real Power Rating
    - Turbine Rating - Hi/Low Reasonability Limits
    - Seasonal HSL/HEL
  NDCRC - Seasonal HSL/LSL
  COP - HSL
  Telemetry - HSL

## Slide 5: Resource Limit Use in ERCOT cont..
ERCOT Groups/Processes/Applications Impacted
  Network Model Management System (NMMS)
  Resource Integration
  Lodestar
  Meter Engineering
  Market Management System (MMS)
  Outage Coordination
  Operations Support Engineering
  Planning SSWG/SPWG/DWG
  Energy Management System (EMS)
  Resource Adequacy (CDR & SARA)
  Congestion Revenue Rights (CRR)

## Slide 6: Draft RRGRR – NERC Standard Support
ERCOT previewed a draft RRGRR for data needed to support NERC requirements placed on ERCOT/Generators:
  EOP-010-1 Geomagnetic Disturbance Operations
  PRC-025-1 Generator Relay Loadability
Currently undergoing internal review process. Expect official submission Nov/Dec timeframe.