## Slide 1
Item 4: PRS Report
John Varnell
2015 PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 29, 2015
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral
NPRR715, Clarification of Generator Modeling in the Market System*
NPRR716, Corrections to Aggregated Load and Participant Specific Generation Data Requirements*
NPRR726, Daily Network Operations Model PSS/E File Posting Modification*
NPRR728, Removal of Language Related to NPRR484, Revisions to Congestion Revenue Rights Credit Calculations and Payments, and NPRR554, Clarification of Future Credit Exposure Calculation
NPRR729, Clarification of Metering Requirements for Resources*
NPRR731, Changes to Annual Reporting Requirements for RUC Decommitment Payment Amounts*
NPRR732, Alignment of Verifiable Cost Language within Protocols*
NPRR733, Delete Expiration of Customer Load Data Protected Information Status*
(* denotes no impact)
Notes: <number>

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts*
(* denotes no impact)
Notes: <number>

## Slide 4
Revision Requests Recommended
for Approval by PRS
(with Opposing Votes)

## Slide 5: NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts
Purpose (ERCOT) | This NPRR adds the ability for operators to consider whether sufficient Resources are available to recover reserves within an acceptable timeframe following a disturbance before declaring an Energy Emergency Alert (EEA); separates and clarifies the triggers for entering each step of the EEA plan from the operational goals while operating within each level of EEA; formalizes an amount of Physical Responsive Capacity (PRC) for operators to target when determining Load shed amounts in EEA Level 3; and removes the requirement to notify the Southwest Power Pool Reliability Coordinator when an EEA is declared as this is a North American Electric Reliability Corporation (NERC) requirement and is covered in the Operating Procedures.
PRS Vote | On 9/10/15, PRS voted to recommend approval of NPRR708 as amended by the 7/15/15 ERCOT comments. There was one opposing vote from the Consumer Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. On 10/15/15, PRS voted to endorse and forward to TAC the 9/10/15 PRS Report and Impact Analysis for NPRR708. There were two abstentions from the Independent Generator and Consumer Market Segments.
Effective Date/Priority | Upon system implementation of NPRR706, Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity.
ERCOT Impact | No impact.
Business Case Highlights | This NPRR provides clarity to the Market Participant about actions that ERCOT may take during the EEAs; addresses comments and issues raised related to the EEA steps during the three EEA workshops; and provides clarity to all Market Participants regarding ERCOT actions during EEA.

## Slide 6: Additional PRS Items
As a result of discussion from the 10/15/15 PRS meeting, workshops are being arranged for the following NPRRs:
NPRR709, Revisions to Alternative Dispute Resolution Procedure
NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA
NPRR734, Digital Attestation Signature Authority Expansion
Notes: <number>