| NPRR Number | 739 | NPRR Title | Prohibiting Load Resources in Participating as Dynamically Scheduled Resources |
| --- | --- | --- | --- |
| Date |  | November 2, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Patterson/Carrie Bivens |  |
| E-mail Address |  | mark.patterson@ercot.com / Carrie.Bivens@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512.248.3912 / 512.248.6678 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT submits the following comments and proposed language changes to address the concerns raised in this Nodal Protocol Revision Request (NPRR).

ERCOT agrees with the business case presented by the sponsor of this NPRR but proposes the following changes to place the responsibility, of ensuring sites associated with Dynamically Scheduled Resources (DSRs) not participate as a Load Resource, on the Qualified Scheduling Entity (QSE) as opposed to ERCOT.

ERCOT does not currently have the information necessary to make the determination if an offer should be rejected to comply with this NPRR nor are there rules in place that would restrict the use of DSRs. Without rules in place, a QSE could switch to using DSRs after the DA process and therefore make any DA validation invalid.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

- 3.6.1	Load Resource Participation

(1)	A Load Resource may participate by providing:

(a)	Ancillary Service:

(i)	Regulation Up (Reg-Up) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(ii)	Regulation Down (Reg-Down) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(iii)	Responsive Reserve (RRS) Service as a Controllable Load Resource qualified for Security-Constrained Economic Dispatch (SCED) Dispatch and capable of providing Primary Frequency Response, or as a Load Resource controlled by high-set under-frequency relay; and

(iv)	Non-Spinning Reserve (Non-Spin) Service as a Controllable Load Resource qualified for SCED Dispatch;

(b)	Energy in the form of Demand response from a Controllable Load Resource in Real-Time via SCED;

(c)	Emergency Response Service (ERS) for hours in which the Load Resource does not have an Ancillary Service Resource Responsibility; and

(d)	Voluntary Load response in Real-Time.

(2)	Except for voluntary Load response and ERS, loads participating in any ERCOT market must be registered as a Load Resource and are subject to qualification testing administered by ERCOT.

(3)	All ERCOT Settlements resulting from Load Resource participation are made only with the Qualified Scheduling Entity (QSE) representing the Load Resource.

(4)	A QSE representing a Load Resource and submitting a bid to buy for participation in SCED, as described in Section 6.4.3.1, Real-Time Market (RTM) Energy Bids, must represent the Load Serving Entity (LSE) serving the Load of the Load Resource.  If the Load Resource is an Aggregate Load Resource (ALR), the QSE must represent the LSE serving the Load of all sites within the ALR.

(5)	The Settlement Point for a Controllable Load Resource with an RTM Energy Bid is its Load Zone Settlement Point.

(6)	QSEs shall not submit offers for Load Resources containing sites associated with a Dynamically Scheduled Resource (DSR).