Date: 		July 30 & 31, 2015

Time: 		8:30 am – 5:00 pm Thursday (break around 10:15-10:30, lunch noon-1pm, break at 2:45-3:00)

8:30 am – 12:00 pm Friday (break around 10:15-10:30)

Location: 	ERCOT – Austin

Room 168

7620 Metro Center Dr.

Austin, TX  78744

Action Item highlighted in YELLOW.

SPWG Meeting –July 30, Room 168

- Anti-trust Admonition – Clowe (8:30 am)

- Brian Clowe read the anti-trust admonition

- Roster & calendar review/update – Clowe

  - Pass around Membership Roster & Sign-in Sheet

  - Pass around internal SPWG Coordination Roster

  - Self-introductions around the table / on the phone

  - Review SPWG Calendar

- Perry Brown mentioned item #13 was not noticed about the posting on website by ERCOT.  The cases are posted on the website.  Perry Brown mentioned that they were not voted on the cases, others mentioned we have not voted recently.  Perry Brown noted that he feels we are supposed to vote, but others seem to feel we did this informally and this is not a formal part of procedures.

- Change Calendar filename footer to 2015 – Brian Clowe.

- Review & approval of minutes from previous meeting – Clowe

  - Action item review

- Update SPS (Special Protection System) to new term RAS (Remedial Action Scheme) Andrew Mattei to ask Bill Blevins who will make this change – Andrew Mattei to follow up

- Brian Clowe will make contact with BPUB to request participation in SPWG efforts – Brian made contact and updated the BPUB contact information – but they still seem to be not participating

- Brian Clowe sent email to SPWG group that ASPEN v12.5 build #19177, date 1/28/2015, is acceptable for case building efforts going forward

- Table question about PSS/E users till next meeting. – PSS/E is still acceptable to use

- Request older Key Documents be posted in 2015 ERCOT webpage – Brian Clowe

- Minutes motioned/2nd for approval; approved

  - Recap of activity since November 2014 meeting

- NOGRR 142 approved by ROS and TAC – PMUs

- Some discussion around the PRC-023 listings that were sent out

- Perry Brown – question/discussion about TPL-001-4 and ERCOT doing circuit breaker rating studies; Kris Koellner mentioned that ERCOT will be putting this in the RTP report for Spring 2016 and this was put out in May; ERCOT trying to use the SSWG case and add sequence data to that; Perry Brown mentions that you need all buses to do this and the 3-winding xfmrs are an issue; Peter Belkin - the RARF data does not always match physical reality and case builders bear the burden of making the model accurate; Perry Brown discussed the many issues that can be encountered with case building;

- Updates from TRE – Penney

  - 2015 Q1 ERCOT Misoperation Summary

- Trends look good and resolution graph is showing good results.

- Discussion of Washington DC outage of 4/7/2015 – single point of failure issues

  - FERC approval of PRC Standards

- PRC-004-3 and PRC-005-4 were approved; there will be some changes in reporting misops; TRE may require using a portal instead of spreadsheet submittals; does not allow bulk uploads;

    - ERCOT PMU Requests

      - Specifics of the monitoring that ERCOT is expecting –

- Need to ask Bill Blevins about ERCOT plans for PRC-002 for DDR and DME with SPWG

- Bret Burford to get with Bill Blevins on plans for PRC-002-2;

- ERCOT PMU rule (NOGRR 142) is for new installations going forward;

      - Technology being used – SEL400 series, L90, D60 relays will meet needs

- NERC Activities Report to ERCOT SPWG – Francis

- PRC-005 updates (reclosing, reclosing supervision, sudden pressure) and implementation plan reviews

- Project-2007-06 & 06.2; PRC-027 revisions and PRC-001retirement; PRC-001 requirements are moving to TOP/IRO standards

- ERCOT Activity & Updates – ERCOT Personnel

- Windfarm model aggregation methods used by ERCOT was presented

- ERCOT works off an excel format or RAW file submitted by WF

- Peter Belkin mentions that AEP is starting to request an ASPEN model from WF; Perry Brown says AEP has 27 ASPEN models (WF + solar) from developers plus some other future ones

- Perry Brown discussed recent issues with Case Building and the WF models

- Nodal Op Guide – Section 7, CREZ Circuits/Stations

- Kris Koellner asked about new taps on the CREZ lines and how are we handling the fiber loop requirements; temporary until final tap station is built; discussion among several members and agreement that communication of CREZ plans during temporary tap periods should be made to all parties in the CREZ fiber network to minimize possibility of a reliability issue occurring.

- Case-building Guide

- Peter Belkin recommends adding screenshot showing WF/Solar data translation to ASPEN.

- Peter Belkin recommends that we have ERCOT Case-building Guide language to require WF/Solar modelling down to the 35kV detailed level; and we should have some “acceptance method” for the cases.  DWG has this “voting” process.  Also mentioned a process of “release notes with timeline for corrections needed”.

- Peter Belkin working on version 1.8 of Case-building Guide to review at November meeting.

- Peter Belkin introduced a proposal for DWG/SPWG/SSWG Case Updates.  This will be presented at DWG.

- 2015 FY SC Cases Discussion

- Peter Belkin and Perry Brown brought up examples of Case errors/issues that keep recurring at the same locations.  AEP Management is concerned about these case building issues that require the same model corrections each year.

- Misoperations – Reduction Targets

- NERC Misop reduction goal – David Penney mentioned some other Regions are forming teams to address the reduction goal; TRE interested in having SPWG look into 67N misops;

- Kris Koellner & Andrew Mattei will do some research on what is out there already;

- Bret Burford will ask SPP if they are looking at this also;

- Peter Belkin mentions that WECC is a good reliable resource for issues;

- Kris Koellner suggests the scope be “Ground Current Protection” and cover those many issues (67N INST, TOC, DCB, etc.); others worried that scope may be too large; limit this to a “best practices” approach;

- Possible Task Force:  Kris Koellner (chair), Andrew Mattei, Mark Chronister

- Interesting event review (call for volunteers!)

- Kris Koellner presented an proper event where PT neutral had a high resistance issue;

- Bret Burford discussed Weslaco D60 issue and UVLS SER issues;

- Brian Clowe mentioned SEL400 Series advisory.

- Review of items requiring submittal before next SPWG meeting - Clowe

- ERCOT DME report due October 30th;

- 2nd Quarter Misops due August 31st.

Next SPWG Meeting: 	Host: 		ERCOT

Date: 		November 12th & 13th, 2015

Location: 	7620 Metro Center Dr., Austin, TX

Day 1 Attendees:

| Peter Belkin - AEP Bret Burford - AEP Bill Tucker - AEP Keith Fleming - Austin Energy Danny Ee - Austin Energy Thomas Ellis - Blue Bonnet EC Stan Ginsburg - Brazos EC Andrew Mattei - Brazos EC Brian Clowe - Centerpoint Manjula Datta-Barua - Centerpoint Glenn Hargrave - CPS Keith Calle - CPS Jay Teixeira - ERCOT Muhammad Khan - ERCOT Qiuli Yu - ERCOT Ed Geer - ERCOT Muhammad Khan - ERCOT Ivan Ivanov - GP&L Kristian Koellner - LCRA Matt Boecker - LCRA Michael Lampe - LCRA Don Le - Lone Star Mark Chronister - Oncor Dung Nguyen - STEC David Penney - TRE |  | WebEx: Perry Brown - AEP Michael Forcum - AEP Michael Cruz-Montes - Centerpoint Armin Klusman - Centerpoint Bharath Ravulapati - Cross Texas Venkata Viswanadham - Cross Texas Mark Henry - ERCOT Sam Francis - Oncor Darren Curry - TNMP Jorge Canamar – Sharyland Dilan Novosad - Sharyland Brad Woods - |
| --- | --- | --- |