| NPRR Number | 711 | NPRR Title | Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA |
| --- | --- | --- | --- |
| Date |  | September 4, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman / Emily Jolly |  |
| E-mail Address |  | katie.coleman@tklaw.com / ejolly@enochkever.com |  |
| Company |  | Thompson & Knight LLP, on behalf of Texas Industrial Energy Consumers (TIEC) / Enoch Kever, on behalf of Pioneer Natural Resources USA, Inc. (Pioneer) |  |
| Phone Number |  | 512-404-6705 / 512-615-1208 |  |
| Cell Number |  | 512-773-0394 / 214-641-4398 |  |
| Market Segment |  | Consumer |  |

Based on further discussions with TDSP representatives since the last PRS meeting, TIEC and Pioneer submit these comments on NPRR711 to reflect what we believe is an appropriate resolution to these issues.  TIEC and Pioneer’s proposal will maximize the number of Customers that will be using Advanced Metering System (AMS) meter technology, while preserving the current ability of larger Customers to be settled on a 4-Coincident Peak (4-CP) basis.

Despite the language in paragraph (3) of Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements, allowing Customers to request an IDR Meter and be settled based on the IDR Meter data, TIEC has learned that in January 2015, certain TDSPs elected to preclude Customers from requesting an IDR Meter (and be settled on a 4-CP basis) by removing the discretionary charge for Customer-requested IDR Meters from their tariffs.  New Customers in these service areas that are below the threshold for which IDR Meters are required are now unable to obtain 4-CP settlement.  For these service areas, TIEC and Pioneer propose to retain the current 700 kW/kVA thresholds.  For service areas where the TDSP has retained the discretionary charge for a Customer-requested IDR Meter, or the TDSP otherwise allows a Customer below the threshold to be settled on a 4-CP basis, TIEC and Pioneer agree that the threshold can be raised to 1.5 MW/MVA.  If TDSPs that previously removed the discretionary charge for Customer-requested IDR Meter restore that language in their tariffs, those TDSPs will also be eligible to implement the 1.5 MW/MVA threshold.

In addition, TIEC and Pioneer’s language would explicitly grandfather Customers that do not meet the new thresholds but already have an IDR Meter.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements

(1)	Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises where:

(a)	Peak Demand is greater than 1.5 MW (or 1.5 MVA in CenterPoint Energy’s service territory);

(b)	Service is provided at transmission voltage (above 60 kV); or

(c)	Peak Demand is less than 1.5 MW (or 1.5 MVA in CenterPoint Energy’s service territory) but the Customer has requested or authorized installation of an IDR Meter.

(2)	Notwithstanding paragraph (1) above, if a TDSP’s tariff does not allow a Customer (or the Customer’s CR) to request an IDR Meter pursuant to paragraph (1)(c) above, or paragraph (4) below, and the tariff does not otherwise allow Customers below the threshold in paragraph 1(a) above to be settled on a 4-Coincident Peak (4-CP) basis, then IDR Meters shall be required for all Customers in that TDSP’s service area with peak Demand greater than 700kW (or 700kVA in CenterPoint Energy’s service territory).

(3)	For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

(4)	A Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR Meter installed and used for Settlement purposes at any associated Premise.  Except as stated in paragraph (6) below, IDR Meters in place or installed after September 1, 1999 shall be used for Settlement.  Once an IDR Meter is installed at a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Meter Optional Removal.  If a Customer or CR requests installation of an IDR Meter, the same Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(5)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDR Meters under the IDR Meter Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(6)	For Premises not subject to the IDR Meter Mandatory Installation Requirements in paragraph (1) or (2) above:

(a)	IDR Meters installed at the request of ERCOT, a Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR Meter for Settlement purposes; or

(b)	IDR Meters previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR Meter for retail Customer Settlement purposes, provided that the IDR Meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR Meters used for NOIE separation that do not meet the IDR Meter Mandatory Installation Requirements shall not be used for retail Customer Settlement purposes.

(7)	For IDR Meter installation procedures reference Section 10.3.3, TSP or DSP Metered Entities.

(8)	TSPs and/or DSPs responsible for any Load transfer schemes between the ERCOT Region and non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.