## Slide 1
Item 3: PRS Report
John Varnell
2015 PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
November 19, 2015
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
SCR786 , Retail Market Test Environment
NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity*
NPRR705 , Provides Consistency for References to the End Date of the Generation Interconnection Process
NPRR712 , Clarification of RUC Process
NPRR719 , Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold*
NPRR725 , Modifications to CDR PUN Capacity Forecasting and PUN Net Capacity Reporting Requirements
NPRR727 , Removal of Language Related to NPRR327, State Estimator Data Redaction Methodology*
NPRR730 , Elimination of the RUC Behavioral Pricing Rule*
NPRR735 , Load Resource Controlled by High-Set Under-Frequency Relay Resource Parameters*
NPRR736 , Updates to the Ancillary Service Capacity Monitor Display
NPRR737 , Clarification of SASM Notifications
(* denotes no impact)
Notes: <number>

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides
(* denotes no impact)
Notes: <number>

## Slide 4
Revision Requests Recommended
for Approval by PRS
(with Opposing Votes)

## Slide 5: NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides
Purpose (ERCOT) | This NPRR proposes a lost opportunity compensation mechanism for Generation Resources that are issued a High Dispatch Limit (HDL) manual override that results in a real power reduction (subject to certain criteria) by compensating the Qualified Scheduling Entity (QSE) for its lost opportunity relative to its expected Real-Time Market (RTM) position.
PRS Vote | On 10/15/15, PRS voted to endorse the 8/13/15 PRS Report as amended by the 9/30/15 ERCOT comments and requested a revised Impact Analysis be brought back to PRS for consideration. There were two abstentions from the Consumer and Independent Retail Electric Provider (IREP) Market Segments. On 11/12/15, PRS voted to endorse and forward to TAC the 10/15/15 PRS Report as amended by the 11/11/15 Odessa-Ector comments and the revised Impact Analysis for NPRR649 with a recommended priority of 2016 and rank of 1520. There was one opposing vote from the Consumer Market Segment and one abstention from the IREP Market Segment.
Effective Date/Priority | Upon system implementation – Priority – 2016; Rank – 1520
ERCOT Impact | Between $100k and $125k; Settlements and Billing (S&B), Commercial Systems Integration (CSI), Energy Management System (EMS), Enterprise Information Services (EIS), Registration System (REG)
Business Case Highlights | This NPRR is needed to ensure Resources are not financially harmed by following ERCOT reliability instructions. In the past, these instructions have been documented to exceed $300k (PUCT Docket 41790, ODESSA-ECTOR POWER PARTNERS, L.P.'S APPEAL AND COMPLAINT AGAINST ERCOT'S DENIAL OF SETTLEMENT DISPUTES). In the future, with the increase offer caps these losses on a single resource following instructions could be much more significant. This NPRR may reduce costly appeals and arbitration and satisfies ERCOT’s obligations under settlement agreement from PUCT Docket 41790.