Date:	November 19, 2015

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - SCR786, Retail Market Test Environment [TDTWG] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides [ERCOT] - NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process [ERCOT] - NPRR712, Clarification of RUC Process [NRG] - NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold [COPS] - NPRR725, Modifications to CDR PUN Capacity Forecasting and PUN Net Capacity Reporting Requirements [ERCOT] - NPRR727, Removal of Language Related to NPRR327, State Estimator Data Redaction Methodology [Calpine/TIEC/Reliant] - NPRR730, Elimination of the RUC Behavioral Pricing Rule [Calpine] - NPRR735, Load Resource Controlled by High-Set Under-Frequency Relay Resource Parameters [ERCOT] - NPRR736, Updates to the Ancillary Service Capacity Monitor Display [ERCOT] - NPRR737, Clarification of SASM Notifications [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - SCR786, Retail Market Test Environment [TDTWG] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1510 ERCOT Impact Analysis: Between $100k and $150k; 1 additional FTE in IT Commercial Operations ($125k-$135k annually); impacts to Market Participant Identity Manager (MPIM); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This System Change Request (SCR) instructs ERCOT to upgrade the existing Certification (CERT) environment, so that it better mimics the functionality of the production environment. PRS Decision: On 10/15/15, PRS voted to endorse the 8/13/15 PRS Report as amended by the 10/1/15 ERCOT comments and requested a revised Impact Analysis be brought back to PRS for consideration. There was one abstention from the Independent Generator Market Segment. On 11/12/15, PRS voted to endorse and forward to TAC the 10/15/15 PRS Report as revised by PRS and the revised Impact Analysis for SCR786, with a recommended priority of 2016 and a rank of 1510. There were two abstentions from the Municipal Market Segment. - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This Nodal Protocol Revision Request (NPRR) removes the “Peak Period” reference and clarifies the timing and treatment of reporting on Switchable Generation Resource availability in Section 16.5.4, Maintaining and Updating Resource Entity Information. PRS Decision: On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 2/12/15 PRS Report and Impact Analysis for NPRR641. - NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1520 ERCOT Impact Analysis: Between $100k and $125k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B), Commercial Systems Integration (CSI), Energy Management System (EMS), Enterprise Information Services (EIS), Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes a lost opportunity compensation mechanism for Generation Resources that are issued a High Dispatch Limit (HDL) manual override that results in a real power reduction (subject to certain criteria) by compensating the Qualified Scheduling Entity (QSE) for its lost opportunity relative to its expected Real-Time Market (RTM) position. PRS Decision: On 10/15/15, PRS voted to endorse the 8/13/15 PRS Report as amended by the 9/30/15 ERCOT comments and requested a revised Impact Analysis be brought back to PRS for consideration. There were two abstentions from the Consumer and Independent Retail Electric Provider (IREP) Market Segments. On 11/12/15, PRS voted to endorse and forward to TAC the 10/15/15 PRS Report as amended by the 11/11/15 Odessa-Ector comments and the revised Impact Analysis for NPRR649 with a recommended priority of 2016 and rank of 1520. There was one opposing vote from the Consumer Market Segment and one abstention from the IREP Market Segment. - NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Generation Interconnection or Change Request (GINR) Data Repository; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR replaces various terms used to refer to the date on which Generation Resources complete the Resource interconnection process with the proposed defined terms “Commercial Operations Date” and “Resource Commissioning Date” to provide consistency for references to the end of the generation interconnection process. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR705 as amended by the 10/12/15 ROS comments. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and revised Impact Analysis for NPRR705. - NPRR712, Clarification of RUC Process [NRG] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Reliability Unit Commitment (RUC) Display; no impacts to ERCOT business functions; ERCOT grid operations and practices will be updated. Revision Description: This NPRR clarifies certain language regarding the RUC process related to startup times, Commercial Operating Plan (COP) Resource Status, and Security-Constrained Economic Dispatch (SCED). PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR712 as submitted. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and the revised Impact Analysis for NPRR712. - NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold [COPS] Proposed Effective Date: Upon system implementation of Commercial Operations Market Guide Revision Request (COPMGRR) 040, Alignment with NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold. ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the requirement for ERCOT to reduce the DG registration threshold when the aggregated unregistered installed capacity of DG greater than 50 kW in any one Load Zone reaches 10 MW. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR719 as amended by the 10/14/15 COPS comments. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and Impact Analysis for NPRR719. - NPRR725, Modifications to CDR PUN Capacity Forecasting and PUN Net Capacity Reporting Requirements [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR makes improvements to the forecasting of Private Use Network net generation capacity available to the ERCOT Region for use in the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) and other ERCOT Resource adequacy assessments. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR725 as submitted. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and the Impact Analysis for NPRR725. - NPRR727, Removal of Language Related to NPRR327, State Estimator Data Redaction Methodology [Calpine/TIEC/Reliant] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes language pertaining to the development of a redacted State Estimator report from the Protocols. PRS Decision: On 10/15/15, PRS voted to recommend approval of NPRR727 as amended by the 10/8/15 ERCOT comments. There was one abstention from the Investor Owned Utility (IOU) Market Segment. On 11/12/15, PRS voted to endorse and forward to TAC the 10/15/15 PRS Report and Impact Analysis for NPRR727. There was one abstention from the IOU Market Segment. - NPRR730, Elimination of the RUC Behavioral Pricing Rule [Calpine] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR eliminates the now unnecessary behavioral pricing rule that applies to RUC-committed units that places all MWs above the Resource’s Low Sustained Limit (LSL) at the RUC floor price of $1,500/MWh. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR730 as submitted. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and Impact Analysis for NPRR730. - NPRR735, Load Resource Controlled by High-Set Under-Frequency Relay Resource Parameters [ERCOT] Proposed Effective Date: January 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that the COP High Sustained Limit (HSL) for Load Resources controlled by high-set under-frequency relay should be equal to their expected power consumption. In Real-Time telemetry the HSL should equal their consumption. ERCOT can calculate the value for the additional available capacity from Load Resources controlled by high-set under frequency relays with a Responsive Reserve (RRS) Ancillary Service Resource Responsibility from (COP HSL – COP LSL – COP RRS). This value can be used in place of the COP value for additional available capacity from NPRR698, Clarifications to NPRR595, RRS Load Resource Treatment In ORDC. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR735 as submitted. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and Impact Analysis for NPRR735. - NPRR736, Updates to the Ancillary Service Capacity Monitor Display [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 870 ERCOT Impact Analysis: Between $55k and $65k; no impacts to ERCOT staffing; impacts to EMS, EIS, Enterprise Integration (EI), Market Information System (MIS), and Public Dashboards; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR updates the Ancillary Service Capacity Monitor display on the ERCOT website with additional information by adding the On-Line and Off-Line Reserves used for the Operating Reserve Demand Curve (ORDC), HDL, and Low Dispatch Limit (LDL) as new items to the display. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR736 as submitted. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report and Impact Analysis for NPRR736 with a recommended priority of 2016 and rank of 870. - NPRR737, Clarification of SASM Notifications [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; ERCOT grid operations and practices will be updated. Revision Description: This NPRR requires ERCOT to provide notification of a Supplemental Ancillary Services Market (SASM) to all QSEs by ERCOT Hotline call in addition to the current electronic communication. PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR737 as revised by PRS. On 11/12/15, PRS unanimously voted to endorse and forward to TAC the 10/15/15 PRS Report as revised by PRS and the Impact Analysis for NPRR737. Revision Requests Rejected None. Revision Requests Withdrawn None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the December 10, 2015 PRS Meeting - NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 [PDCWG] - NPRR739, Prohibiting Load Resources Associated with a Dynamically Scheduled Resource [MP2 Energy] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA [IDR Meter Protocol Requirement Threshold Workshop] - NPRR713, Reactive Power Testing Requirements [Luminant] - NPRR720, Update to Settlement Stability Reporting Requirements [COPS] - NPRR734, Digital Attestation Signature Authority Expansion [Brasovan Energy Solutions] - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] - NPRR740, Retail Clarification and Cleanup [ERCOT] - NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations [ERCOT] New Revision Requests Scheduled for Consideration at the December 10, 2015 PRS Meeting - SCR787, Maintain NDCRC Data For Generator Transfer Between Resource Entities [Exelon] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr