| RRGRR Number | 007 | RRGRR Title | Adding Solar Resource Registration Inputs |
| --- | --- | --- | --- |
| Date of Decision |  | November 19, 2015 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2016; Rank – 1500 |  |
| Resource Registration Glossary Sections Requiring Revision |  | Section 2, Resource Registration Glossary |  |
| Related Documents Requiring Revision / Related Revision Requests |  | None |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with the Protocols as revised by Nodal Protocol Revision Request (NPRR) 588, Clarifications for PV Generation Resources, which was approved by the ERCOT Board on 6/10/14. It also aligns with NPRR615, PVGR Forecasting, which was approved by the ERCOT Board on 8/12/14. This RRGRR creates new fields to receive information pertinent to PhotoVoltaic Generation Resources (PVGR). These values are integral to establishing the new Short-Term PhotoVoltaic Power Forecast (STPPF) outlined in NPRR615. In addition, this RRGRR is in alignment with the definition of PhotoVoltaic Generation Resource (PVGR), and the clarification of the treatment of such Resources within the Protocols added by NPRR588. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | NPRR615 requires ERCOT to create solar forecasting for PVGRs. This RRGRR will create a placeholder in the Resource Asset Registration Form (RARF) for solar Resources to submit parameters that are necessary to create an accurate solar forecast. |  |
| RDWG Decision |  | On 6/16/15, the Resource Data Working Group (RDWG) was in consensus to table RRGRR007. On 8/18/15, RDWG was in consensus to recommend approval of RRGRR007 as revised by RDWG. On 10/20/15, RDWG was in consensus to endorse and forward to ROS the 8/18/15 RDWG Report and the revised Impact Analysis for RRGRR007 with a recommended priority of 2016 and rank of 1500. |  |
| Summary of RDWG Discussion |  | On 6/16/15, participants agreed additional time for further review of RRGRR007 was necessary. On 8/18/15, participants discussed the proposed language changes of RRGRR007 and recommended additional changes based on feedback from solar experts in the market. On 10/20/15, participants reviewed the revised Impact Analysis. |  |
| ROS Decision |  | On 11/10/15, ROS unanimously voted via e-mail vote to recommend approval of RRGRR007 as recommended by RDWG in the 10/20/15 RDWG Report with a recommended priority of 2016 and rank of 1500. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 11/10/15, there was no discussion. |  |
| TAC Decision |  | On 11/19/15, TAC unanimously voted to recommend approval of RRGRR007 as recommended by ROS in the 11/10/15 ROS Report and as amended by the 11/17/15 ERCOT comments. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 11/19/15, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of RRGRR007. |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins / Sandip Sharma |
| E-mail Address | Bill.Blevins@ercot.com / Sandip.Sharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 / 512-248-4298 |
| Cell Number | 512-912-6314 / 817-371-7773 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |
| Comments Received |  |
| Comment Author | Comment Summary |
| ERCOT 090115 | Requested additional time for development of a revised Impact Analysis. |
| PRS 111615 | Endorsed the ROS recommended priority of 2016 and rank of 1500. |
| ERCOT 111715 | Updated the baseline language to incorporate RRGRR006, Clarification of Descriptions and Alignment with Resource Asset Registration Forms, and made parallel changes to the grey-boxed language. |

Market Rules Notes

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 007RRGRR-13(b) TAC Report 111915.

Please also note the following RRGRR also proposes revisions to Section 2:

- RRGRR008, Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.