## Slide 1
2016 RTP – Study Scope
November 20, 2015

## Slide 2: Outline
Updates to the RTP Scope
Comments and Feedback
Next steps

## Slide 3: Summary of updates to the 2016 RTP Scope
Study years: In 2016 RTP summer peak conditions for year 2 (2018), 3 (2019), 5 (2021) and 6 (2022) will be studied
Hydro Generation dispatch: Hydro-electric Generation Resources in the reliability cases are dispatched up to the Hydro Unit Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate
Wind (WGR) and Solar (PVGR) Generation dispatch outside the study region:
  For a WGR, the maximum Dispatch level is the Seasonal Peak Average Wind Capacity as a Percent of Installed Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.
  For a PVGR, the maximum Dispatch level is the Solar Unit Capacity as defined in Protocol Section 3.2.6.2.2, Total Capacity Estimate.

## Slide 4: Summary of comments
Load levels used in RTP cases and methodology used to address load-gen imbalance
The 300 MW/100 MW threshold used to screen critical contingencies in the multiple element outage study
Generation dispatch in the off peak case

## Slide 5: Next Steps
Case conditioning
Initial start cases, and contingency list ready
Set 1 (P1, P7),
Set 2 (P2, P4, P5) contingency analysis for the base cases
Set 3* (P3: G-1+N-1, part of P6: X-1+N-1) contingency analysis for the base cases
Other reliability studies
(e.g. sensitivity, short circuit, cascading, multiple element outage (P6, EE), long-lead time equipment, constraint management plan, etc.)
Economic case preparation and analysis
2016 RTP Report
Green box: Complete
Yellow box: In progress

## Slide 6: 2016 RTP Next Steps
Request Stakeholders to provide comments on the RTP Scope by December 4 2015
Address comments and finalize the 2016 RTP Scope
2016 RTP Initial case preparation will begin using October 2015 SSWG Cases
Seek TSP feedback regarding the following
  Tier I, II and III projects which are pending ERCOT Independent review and need to be backed out of the Start Cases
  Confirmation of the dynamically rated equipment to be used in Reliability Analysis
  List of FACTs devices not configured to provide steady-state voltage support
  List of long lead time equipment
Prepare 2016 RTP start cases based on the 2016 RTP Scope

## Slide 7: Questions?
Sandeep Borkar
sborkar@ercot.com
512-248-6642
Sun Wook Kang
skang@ercot.com
512-248-4159