## Slide 1
ERCOT – MISO DC Tie Study
Regional Planning Group
November 20, 2015

## Slide 2: Outline
Background
Study Scope
Open Issues
Process

## Slide 3: Background
MISO approached ERCOT about performing a joint study to analyze a DC tie interconnection.
Drivers
Efficiency gains from load and intermittent generation diversity between MISO and ERCOT
Congestion benefits for MISO and ERCOT
MISO South reliability improvement

## Slide 4: Study Assumptions
 | ERCOT | MISO
Process Consistent with | RTP | MTEP
Topology | 2015 RTP 2020 Final Case | MTEP 16 BAU 2020 Case
Demand (Production Cost Model) | 2016 Long-Term Hourly Demand and Energy Forecast (50/50) | MTEP 16 BAU Future
Generation | Existing plus planned generation meeting PG 6.9 minus known retirements | Existing plus BAU resource expansion plan minus known retirements
Wind, solar load shape year | 2006 | 2006
Regions modeled | ERCOT (with five existing asynchronous ties) | MISO, SPP, AECI, Manitoba, MRO, PJM, SERC, and TVA

## Slide 5: Study Scope
MISO and ERCOT will agree on fuel prices prior to analysis
MISO will perform production cost analysis using PROMOD
  ERCOT will conduct sanity check of generation model data
  ERCOT will analyze inputs and results
Study will analyze the following:
  Is a tie project needed?
  If needed, what is the optimal location, size, and technology

## Slide 6: Study Scope cont.
MISO and ERCOT will also conduct reliability “no harm” analysis
Long-Term analysis may also be performed
Sensitivity Analysis?
  Southern Cross
  Potential unit retirements due to increased environmental restrictions (Regional Haze, CPP, etc.)

## Slide 7: Open Issues
Finalize NDAs and CEII agreements
  Post study models on ERCOT MIS Secure
Hurdle rates/ export fees

## Slide 8: Process
MISO-ERCOT Coordinated Study Tasks |  | 
1 | Present concept to stakeholders | November 2015
2 | Stakeholder comments due | December 4, 2015
3 | Finalize scope | December 2015
4 | Model development | January – March 2016
5 | Perform analysis | 2016
6 | Draft joint MISO-ERCOT report | ?