## Slide 1
2016 LTSA Load Forecasts
Calvin Opheim
ERCOT
Manager, Load Forecasting & Analysis
RPG
November 20, 2015

## Slide 2: Outline of Today’s Presentation
Current Trends Load Forecast
High Economic Growth Load Forecast
Environmental Mandate Load Forecast
Questions

## Slide 3
Current Trends

## Slide 4: Current Trends - Assumptions
2006 Weather
  Typical Wind Year
  Typical Load Year
Energy Efficiency/Customer Behavior DR
  1.0% of the total demand in 2017
  3.5% of the total demand by 2031
Rooftop PV
  5% of premises to have rooftop PV
  20% increase per year
  Results in 683 additional MW by 2031

## Slide 5: ERCOT Summer Peak Forecast Comparison

## Slide 6: Current Trends

## Slide 7: Current Trends

## Slide 8
High Economic Growth

## Slide 9: High Economic Growth - Assumptions
2006 Weather
  Typical Wind Year
  Typical Load Year
Energy Efficiency/Customer Behavior DR
  1.0% of the total demand in 2017
  3.5% of the total demand by 2031
Rooftop PV
  5% of premises to have rooftop PV
  20% increase per year
  Results in 683 additional MW by 2031
Load Growth
  Increased by 1% per year
  Plus an additional 600 MW of LNG
Notes: Grid to serve the 600 MW LNG. Assumed to not participate in 4 CP and to not be a price responsive load.

## Slide 10: ERCOT Summer Peak Forecast Comparison

## Slide 11: High Economic Growth

## Slide 12: High Economic Growth

## Slide 13: LNG – High Economic Growth
Brownsville LNG Facilities
  Incremental load was added to the forecast
  300 MW beginning 1/1/2020
  450 MW beginning 1/1/2021
  600 MW beginning
  1/1/2022 on
  No reduction in the
  facility load was
  assumed for 4 CP
  and/or high price
  intervals
Notes: Texas LNG Brownsville, Annova LNG, Rio Grande LNG

## Slide 14
Environmental Mandate

## Slide 15: Environmental Mandate - Assumptions
2006 Weather
  Typical Wind Year
  Typical Load Year
Energy Efficiency/Customer Behavior DR
  1.0% of the total demand in 2017
  7.0% of the total demand by 2031
Rooftop PV
  10% of premises to have rooftop PV
  25% increase per year
  Results in 1,348 additional MW by 2031

## Slide 16: ERCOT Summer Peak Forecast Comparison

## Slide 17: Environmental Mandate

## Slide 18: Environmental Mandate

## Slide 19: Questions?